APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, August 16, 2012 – 9:30 a.m.

Attendance

Members:

| Armke, James | Austin Energy |  |
| --- | --- | --- |
| Bartos, Brian | Bandera Electric Cooperative |  |
| Carpenter, Jeremy | Tenaska Power Services | Alt. Rep. for S. Helyer |
| DeTullio, David | Air Liquide |  |
| Donohoo, Ken | Oncor Electric Delivery |  |
| Garrett, Mark | Direct Energy | Via Teleconference |
| Green, Bob | Garland Power and Light |  |
| Greer, Clayton | Morgan Stanley |  |
| Gutierrez, Fred | BP Energy |  |
| Hatfield, Bill | LCRA |  |
| Holloway, Harry | GDF Suez Energy Marketing |  |
| Jones, Randy | Calpine |  |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Marsh, Tony | MAMO Enterprises |  |
| McDaniel, Rex | Texas-New Mexico Power |  |
| Moore, John | South Texas Electric Cooperative |  |
| Reed, Cyrus | Sierra Club |  |
| Rocha, Paul | CenterPoint Energy |  |
| Ryno, Randy | Brazos Electric Power Cooperative |  |
| Sanz, Ramon | Brownsville PUB | Alt. Rep. for E. Alvarez |
| Wagner, Marguerite | Edison Mission | Alt. Rep. for B. Schwarz |
| Williams, Blake | CPS Energy |  |

The following proxy was assigned:

- Thresa Allen to Marguerite Wagner

Guests:

| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| --- | --- | --- |
| Bern, Allan | Oncor |  |
| Bevill, Jennifer | AEP | Via Teleconference |
| Brockhan, John | CenterPoint Energy | Via Teleconference |
| Brown, Amanda | Xtreme Power |  |
| Brown, Jeff | Shell | Via Teleconference |
| Bruce, Mark | Stratus Energy Group |  |
| Calhoun, Brad | CNP |  |
| Caufield, Dennis | Texas Reliability Entity | Via Teleconference |
| Chessmore, Carol | Oncor | Via Teleconference |
| Collins, Bob | Texas Reliability Entity | Via Teleconference |
| Crews, Curtis | Texas Reliability Entity |  |
| Cruz-Montes, Michael | CenterPoint Energy | Via Teleconference |
| Davidson, Brian | PUCT | Via Teleconference |
| Detelich, David | CPS Energy | Via Teleconference |
| English, Barksdale | Austin Energy |  |
| Evans, Doug | STEC | Via Teleconference |
| Fogarty, Audrey | Xtreme Power | Via Teleconference |
| Fontenot, John | BTU |  |
| Galliguez, Presilo | Brazos Electric | Via Teleconference |
| Garza, Sergio | LCRA TSC |  |
| Grimm, Larry | Navigant Consulting |  |
| Hampton, Brenda | Luminant |  |
| Harris, Doug | CenterPoint Energy |  |
| Henry, Mark | Texas Reliability Entity |  |
| Horvath, Julius | WETT |  |
| John, Ebby | CNP |  |
| Juricek, Michael | Oncor |  |
| Kee, David | CPS Energy |  |
| Kolodziej, Eddie | Customized Energy Solutions |  |
| Krishnaswamy, Vikram | Constellation | Via Teleconference |
| Kroskey, Tony | Brazos Electric | Via Teleconference |
| Lane, Rob | Luminant |  |
| Mathew, Shirley | Lone Star Transmission | Via Teleconference |
| McClellan, Suzi | Good Company Associates |  |
| Mercado, David | CenterPoint Energy | Via Teleconference |
| Moore, John | Stratus Energy |  |
| Myers, Brad | AEP | Via Teleconference |
| Niemeyer, Sydney | NRG Energy | Via Teleconference |
| Owens, Frank | Cross Texas Transmission |  |
| Penney, David | Texas Reliability Entity |  |
| Reid, Walter | Wind Coalition |  |
| Roelse, Chris | PUCT | Via Teleconference |
| Rushing, Bryan | Quanta Technology | Via Teleconference |
| Sandidge, Clint | Noble Energy Solutions | Via Teleconference |
| Santos, Juan | Worley Parsons |  |
| Stephenson, Randa | Lone Star Transmission |  |
| Suarez, John | Regulus Energy | Via Teleconference |
| Turner, David | Lone Star Transmission |  |
| Vo, Trieu | CPS Energy | Via Teleconference |
| Walker, DeAnn | CenterPoint Energy |  |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Blackmer, Kelly |  |  |
| Blevins, Bill |  | Via Teleconference |
| Billo, Jeff |  |  |
| Conto, José |  |  |
| Flores, Isabel |  |  |
| Hanson, Kevin |  | Via Teleconference |
| Hartman, Jimmy |  |  |
| Healy, Jeff |  | Via Teleconference |
| Huang, Fred |  | Via Teleconference |
| Landin, Yvette |  |  |
| Stout, Matt |  |  |
| Thompson, Chad |  | Via Teleconference |
| Villanueva, Leo |  |  |
| White, Steve |  | Via Teleconference |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

2012 ROS Chair Blake Williams called the August 16, 2012 ROS meeting to order at 9:35 a.m.

Antitrust Admonition

Mr. Williams directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

There were no changes to the agenda.

Technical Advisory Committee (TAC) Update (see Key Documents)

Mr. Williams noted that TAC did not meet in August 2012.

ROS Voting Items (see Key Documents)

Draft June 14, 2012 ROS Meeting Minutes

Draft July 12, 2012 ROS Meeting Minutes

David DeTullio moved to approve the June 14 and July 12, 2012 ROS meeting minutes as posted.  Randy Ryno seconded the motion.  The motion carried unanimously.

2012 Goals

Paul Rocha moved to approve two 2012 ROS goals:

- Complete a review of the Guides, Procedures and Protocols to ensure proper alignment between planning and operational realities.

- Monitor the progress of planning go-live and associated system changes. (System Change Request (SCR) 760, Recommended Changes Needed for Information Model Manager and Topology Processor for Planning Models.)

Mr. Ryno seconded the motion.  The motion carried unanimously.

Nodal Operating Guide Revision Request (NOGRR) 034, Rescind Telemetry Performance Calculation Exclusions

Mr. Williams noted that the Protocol Revision Subcommittee (PRS) continues to review uninitiated projects for possible reprioritization.  ERCOT Staff expressed concern with redacting telemetry for planned Outages, and requested the opportunity to work with the Network Data Support Working Group (NDSWG) to consider the approved language.

Mr. Rocha moved to table NOGRR034 and direct NDSWG to review NOGRR034 with ERCOT Staff.  Randy Jones seconded the motion.  The motion carried unanimously.

NOGRR095, Type 2 Special Protection System Submissions

Mr. Williams noted the TAC request that ROS review compliance language regarding Special Protection Systems (SPSs).  Market Participants expressed concern that allowing Resource Entities not registered as Transmission Operators (TOPs) with the North American Electric Reliability Corporation (NERC) to own and operate an SPS will impose additional responsibility and liability on Transmission Service Providers (TSPs); that the Texas Reliability Entity (Texas RE) has concerns with the NOGRR095 as currently proposed; whether certain responsibilities might be assigned via Coordinated Functional Registration (CFR) agreements; and whether a Regional Standard might be proposed.  Market Participants observed that there is increasing concern and discomfort with the use of SPSs; that SPSs ideally serve as a bridge to an increasingly robust transmission system; and that the current regulatory scheme prevents arrangements that would benefit the system.  ERCOT Staff offered to work with interested Market Participants to develop additional language.

Mr. R. Jones moved to table NOGRR095 for one month.  Clayton Greer seconded the motion.  The motion carried unanimously.

NOGRR096, Clarification of RRS Obligation

NOGRR097, New Section 8I, Black Start Resource Availability Test Form

NOGRR098, Change of Facility Submission Time Lines to Align with Protocols

Mr. Rocha moved to recommend approval of NOGRR096, NOGRR097, and NOGRR098 as recommended by OWG in the respective 7/18/12 OWG Reports.  Rick Keetch seconded the motion.  The motion carried unanimously.

Nodal Protocol Revision Request (NPRR) 465, Transmission Planning Analysis to Minimize the Need for RMR Units

James Armke reviewed the 8/9/12 Operations and Planning Synchronization Task Force (OPSTF) comments to NPRR465.  ERCOT Staff expressed support for Option 2 wherein ERCOT may perform transmission reliability analysis over a planning horizon as defined by the available Steady-State Working Group power flow base cases but not to exceed five years, citing reliability needs.  Market Participants expressed support for Option 1, opining that the two year option provides for a more robust model, and that other studies are available for reliability.  Market Participants discussed that it is difficult to predict technology and other developments three to five years out; extending and exiting annual Reliability Must-Run (RMR) contracts; differences between RMR studies and transmission studies; study timelines; and if a three year option might be considered.

Mr. R. Jones moved to endorse NPRR465 as amended by the 8/9/12 OPSTF and as revised by ROS (Option 1).  Harry Holloway seconded the motion.  Market Participants requested that ERCOT prepare an Impact Analysis and its comments regarding study timelines for review at the August 23, 2012 PRS meeting.

Mr. Rocha moved to call for the question.  Mr. Keetch seconded the motion.  The motion carried with one objection from the Investor Owned Utility (IOU) Market Segment.

The motion carried via roll call vote with two objections from the Municipal and IOU Market Segments and two abstentions from the IOU Market Segments.

NPRR473, Process for Submission of Generation Resource Weatherization Information

ERCOT Staff explained that NPRR473 is responsive to the Public Utility Commission of Texas (PUCT) and created a process to accommodate the legislatively mandated submission of generator emergency operations plans.  Market Participants noted understanding of ERCOT’s need, but expressed concern for ambiguous language.  Market Participants discussed that upcoming workshops will inform discussion of NPRR473; that generators have incentives to operate in extreme temperature conditions; and that Entities are interested in assisting ERCOT with streamlining its processes.  ERCOT Staff welcomed Market Participant comments to NPRR473.  ROS took no action regarding NPRR473.

Planning Working Group (PLWG) Recommendation – Modify Data Set B (DSB) Structure from Years 1,2,3,4,5 to 1,2,3,5,7

Sergio Garza presented the PLWG recommendation regarding the structure of DSB and reviewed considerations undertaken in making the recommendation.  ERCOT Staff requested that a seventh year case be constructed.   Market Participants expressed concern for workload; and whether Transmission Information and Tracking (TPIT) should be filed three times per year, rather than four.  Marguerite Wagner expressed sympathy for the work involved in quarterly reporting, but that the TPIT is a valuable tool.  Ken Donohoo recommended sets for years 1,2,3,4,5,6 and then years 1,2,3,4,5,7 the following year, and/or dropping year 1, and offered suggestions for improving the TPIT by producing from the Model on Demand (MOD) data base used for the base cases.  Market Participants discussed necessary revisions to Protocols, Guides, and procedure manuals.  Brad Myers noted that the Steady State Working Group (SSWG) would like to test building sixth and seventh year cases, before those cases are made requirements, to ensure that a useful result can be obtained.

Bob Green moved to modify the DSB structure from years 1,2,3,4 and 5 to years 1,2,3,4,5 and 6; to direct SSWG to create a year 6 power flow case to be published in October 2013; to direct PLWG to propose revisions to TPIT requirements by July 2013; and to direct PLWG to initiate the necessary NPRRs and PGRRs.  Mr. Donohoo seconded the motion.  Mr. Green and Mr. Donohoo accepted Mr. Rocha’s amendment to the motion to reduce TPIT reporting and base case updates from four times per year to three times per year.  Market Participants reiterated concerns for workload as it pertains to TPIT frequency and changes to the DSB structure.  The motion carried with one objection from the Independent Generator Market Segment, and one abstention from the Independent Generator Market Segment.

Seminar Task Force (STF) Reporting to OWG

Brad Calhoun presented the OWG recommendation for the formation of the STF.

Mr. Rocha moved to establish the STF to report to the OWG.  Mr. R. Jones seconded the motion.  The motion carried unanimously.

Mr. Rocha moved to approve the STF scope as presented and to name Allan Allgower as STF Chair.  Mr. R. Jones seconded the motion.  The motion carried unanimously.

NDSWG Vice Chair – Tony Kroskey, BEC

Mr. Green moved to confirm Tony Kroskey as NDSWG Vice Chair.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

September 8, 2011 Southwestern Blackout – Group A & B Recommendations (see Key Documents)

Mark Henry presented the draft report to NERC on the follow-up actions for the September 8, 2011 Southwestern Blackout recommendations.  Mr. Henry noted that, based on discussions with ERCOT stakeholders, Texas RE will continue discussions on several topics to improve understanding of Regional practices and might develop specific recommendations regarding the handling of relay settings in ratings, particularly when these are most limiting series elements; operational use of facility owner’s ratings when different values are not available for continuous, two hour, and 15 minute capability; consideration of overload relay trip times when establishing post-contingency mitigation plans; and a review of processes for coordination of SPS and Under-Voltage Load Shedding (UVLS) with other protection schemes, especially overload relays.

ERCOT Updates (see Key Documents)

Pilot Project for Fast Responding Regulation Service (FRRS)

ERCOT Staff reviewed responses to FRRS pilot project questions and comments and the pilot schedule, and invited additional stakeholder comment and questions.

July System Planning Report

ERCOT Staff presented the July System Planning Report.

July Operations Report

ERCOT Staff presented the July Operations Report.

Load Resources and RRS – Study/Methodology Assessment (see Key Documents)

David Mercado reported DWG consensus that ERCOT’s analysis was thorough and its methodology appropriate; and that should Load response be increased to 70 percent of Responsive Reserve (RRS), additional sensitivity studies may be required.  Market Participants discussed concerns for limited inertia; the need to monitor and document live events for over frequency; and parameters of the study.  David Kee reviewed Performance Disturbance Compliance Working Group (PDCWG) concerns and recommendations regarding the study, and PDCWG recommendations.  Market Participants discussed that ROS will debate the appropriate percentage should a Revision Request be filed.

ROS Working Group/Task Force Reports (Key Documents)

Black Start Working Group (BSWG)

Black Start Training/Resource Testing

ERCOT Staff reported results of recent Black Start training sessions.

Critical Infrastructure Protection Working Group (CIPWG)

Dynamics Working Group (DWG)

Nodal Protocol and Guides Resolution Task Force (NPGRTF)

NDSWG

NERC Reliability Working Group (NRWG)

OWG

OPSTF

System Protection Working Group (SPWG)

Steady State Working Group Report (SSWG)

No questions were offered regarding the posted reports.

PDCWG

Mr. Kee reviewed recent PDCWG activities.  Market Participants requested that ROS review the July 10, 2012 DCS Event, and the PDCWG recommendation that Protocols be clarified as they pertain to the primary frequency obligation that RRS provides, at the September 13, 2012 ROS meeting.

PLWG

Update: Generation Adequacy Task Force (GATF)/PLWG Discussion re Planning Guide Section 8:  Planning Reserve Margin

Mr. Garza reported that an NPRR would be initiated to move language regarding the minimum ERCOT Planning Reserve Margin criteria from the Planning Guides to the Nodal Protocols.

Other Business

After a brief discussion, Mr. Williams noted that a workshop regarding NPRR473 would be held at ERCOT Austin on October 1, 2012.

Ms. Wagner requested that ERCOT Staff bring draft 2013 Ancillary Service procurement guidelines forward at the September  2012 ROS and WMS meetings.

Adjournment

Mr. Williams adjourned the August 16, 2012 ROS meeting at 4:34 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2012/08/20120816-ROS