Planning Working Group Report to Reliability & Operations Subcommittee

September 13, 2012

- PLWG met on August 31, 2012.

- Discussion on the issues assigned by ROS to PLWG as recommended by OPSTF.

  - PLWG continued discussion on item (3f) Consider LTSA results in determination of Five Year Transmission Plan projects.

  - PLWG discussed the action plan to implement ROS direction on item (12b) Consider modifying DSB structure from years 1,2,3,4 and 5 to years 1,2,3,5 and 7. Modifying TPIT filing requirements from quarterly to three times per year was also discussed.

- Planning Guide Development progress (also see Status Bars Report below)

  - PLWG Language Considerations

    - Language review of PGRR 021, Synchronization with NPRR454, Removal of Unfunded Project List Language, and Modification of Administrative PGRR Definition

    - PLWG discussed a potential PGRR addressing contingency submission requirements

    - PLWG discussed a potential PGRR addressing the present ERCOT reliability criteria structure/format.

  - ERCOT Impact Analysis Stage

    - PGRR 021

  - ROS Review

    - N/A

  - TAC Review

    - N/A

  - BoD Review

    - PGGR 18 (approved by TAC at September meeting)

- PLWG discussed language from previous ERCOT Planning Charter that did not make it to the Planning Guide/Protocols. PLWG will review and discuss at September meeting.

- ERCOT (John Adams) discussed modeling and technical requirements associated with Solar, Inverter base and Storage type generation resources in ERCOT.  Currently, ERCOT does not have specific requirements for the Solar, Inverter and Storage type of generation resources modeling in the in the Planning Guides.  There is a need for modeling requirements in terms of steady-state, dynamic and short circuit models.

- Next PLWG meeting scheduled for September 25, 2012

Status Bars Report Rev1.

This chart indicates the progress in addressing new issues to be included in Planning Guide.

| BOD Approval |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TAC Approval |  |  |  |  |  |
| ROS Approval |  |  |  |  |  |
| Impact Analysis Review |  |  |  |  |  |
| Language Considerations |  |  |  |  |  |
| 14-day Comment Period |  |  |  |  |  |
| Market Rules Processing |  |  |  |  |  |
| Develop PGRR |  |  |  |  |  |
| Section | 1 | 6.9 |  |  |  |
| Description | Synchronization with NPRR454, Removal of Unfunded Project List Language | Generation modeling in cases and CDR |  |  |  |
| PGRR Number | 021 | 018 |  |  |  |