| PGRR Number |  | PGRR Title | Contingency Submission Requirements |
| --- | --- | --- | --- |
| Date Posted |  |  |  |

| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Normal |
| --- | --- |
| Planning Guide Section(s) Requiring Revision (Include Section No. and Title) | 6.10 Contingencies (new) |
| Protocol Section(s) Requiring Revision (If applicable) | None. |
| Revision Description | This Planning Guide Revision Request (PGRR) adds a requirement in Planning Guide Section 6 for Transmission Service Providers (TSPs) to submit and annually review a list of contingencies for their system. The language ensures that the appropriate contingencies are being submitted for ERCOT and NERC planning criteria. |
| Reason for Revision | There are currently no requirements in the Protocols or Guides for TSPs to submit their contingency lists. The contingency definitions are critical for planning the ERCOT system. |

Business Case

Business Case instructions:  To allow for comprehensive PGRR consideration, please fill out the Business Case section below and provide as much detailed information as possible.  Wherever possible, please include reasons, explanations, and cost benefit calculation pertaining to the PGRR.  Insert additional rows as needed.

| Business Case | 1 | This PGRR will require TSPs to submit the appropriate contingencies for planning analysis which should ensure reliable planning of the transmission system in ERCOT. |
| --- | --- | --- |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Jeff Billo on behalf of the PLWG |
| E-mail Address | jbillo@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248- 6334 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Guide Language Revision

- 6.10	Contingencies

(1)	Each TSP, or its Designated Agent, shall submit to ERCOT and review annually a list of contingencies corresponding to the steady-state base cases for its respective system.  The list shall contain the following contingencies:

(a) 	All contingencies representing multiple equipment Outaged or interrupted during a single fault;

(b) all contingencies representing the Forced Outage of a double circuit (two circuits on the same structures in excess of 0.5 miles in length);

(c)	the most severe NERC Category C and D contingencies for the TSP’s system.