DRAFT

After a brief presentation and subsequent discussion by ERCOT staff at the August 30th 2012 PLWG meeting, PLWG supports ERCOT’s intent to identify and include requirements for specific technical data and administrative processes in ERCOT binding documents (e.g., RARF, Nodal Protocols, Nodal Operating Guides, and Planning Guide) related to the integration of resources that use emerging technologies in the ERCOT Region. These resources include solar plants and batteries.

Including technical requirements and administrative processes for these types of facilities in binding documents is consistent with present ERCOT requirements placed on other types of technologies such as wind generating facilities and fossil fuel plants.

To ensure specific technical data is available for conducting reliability assessments, PLWG recommends the following:

- ERCOT seek input from the following working groups:

  - Dynamics;

  - System Protection;

  - Steady State;

  - Emerging Technologies;

  - RARF administrator

- Identify the requirements for:

  - Appropriate forecasts under various weather and seasonal scenarios.

  - MW output or input under a variety of system conditions.

  - Devices that will supply reactive support to meet reactive capabilities.

PLWG looks forward to reviewing resulting proposed revisions to the binding documents.