| NPRR Number | 480 | NPRR Title | Removal of Language for Relaxing Transmission Constraints |
| --- | --- | --- | --- |
| Date Posted |  | August 28, 2012 |  |
| Requested Resolution |  | Normal. |  |
| Nodal Protocol Section Requiring Revision |  | 6.5.9.1, Emergency and Short Supply Operation |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) deletes Protocol language that is inconsistent with North American Electric Reliability (NERC) Reliability Standards. |  |
| Reason for Revision |  | The language in paragraph (3) of Section 6.5.9.1 is inconsistent with Attachment 1-EOP-002-2.1, Energy Emergency Alerts, of NERC Standard EOP-002-3, Capacity and Energy Emergencies, which outlines the appropriate actions ERCOT should take in each level of an Energy Emergency Alert (EEA). The NERC Reliability Standards do not allow ERCOT to relax Operating Limits during an Emergency Condition. |  |
| Credit Implications |  | No. |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - Consistency with NERC Reliability Standards. |

| Sponsor |  |
| --- | --- |
| Name | Colleen Frosch |
| E-mail Address | cfrosch@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-4219 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

Proposed Protocol Language Revision

- 6.5.9.1	Emergency and Short Supply Operation

(1)	ERCOT, as the single CAO, is responsible for maintaining reliability in normal and emergency operating conditions.  The Operating Guides are intended to ensure that minimum standards for reliability are maintained.  Minimum standards for reliability are defined by the Operating Guides and the NERC Reliability Standards and include, but are not limited to:

(a)	Minimum operating reserve levels;

(b)	Criteria for determining acceptable operation of the frequency control system;

(c)	Criteria for determining and maintaining system voltages within acceptable limits;

(d)	Criteria for maximum acceptable transmission equipment loading levels; and

(e)	Criteria for determining when ERCOT is subject to unacceptable risk of widespread cascading Outages.

(2)	ERCOT shall, to the fullest extent practicable, utilize the Day-Ahead process, the Adjustment Period process, and the Real-Time process before ordering Resources to specific output levels with Emergency Base Point instructions.  It is anticipated that, with effective and timely communication, the market-based tools available to ERCOT will avert most threats to the reliability of the ERCOT System.  However, these Protocols do not preclude ERCOT from taking any action to preserve the integrity of the ERCOT System.