| NPRR Number | 479 | NPRR Title | Daily Net Outage MW |
| --- | --- | --- | --- |
| Date |  | September 11, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Clayton Greer |  |
| E-mail Address |  | Clayton.greer@morganstanley.com |  |
| Company |  | Morgan Stanley Capital Group |  |
| Phone Number |  | 512-497-2986 |  |
| Cell Number |  |  |  |
| Market Segment |  | Independent Power Marketer |  |

Comments

Morgan Stanley supports NPRR479 and would provide the following clarifying comments.

Revised Proposed Protocol Language

#### 4.2.3.1	Posting Public Forecasted ERCOT System Conditions

(1)	No later than 0600 in the Day-Ahead, ERCOT shall post on the MIS Public Area, and make available for download, the following information for the Operating Day:

(a)	Weather assumptions used by ERCOT to forecast ERCOT System conditions and used in the Dynamic Rating Processor;

(b)	ERCOT System, Weather Zone, and Load Zone Load forecasts for the next seven days, by hour, and a message on update indicating any changes to the forecasts by means of the Messaging System;

(c)	A current list of all Settlement Points that may be used for market processes and transactions;

(d)	A mapping of Settlement Points to Electrical Buses in the Network Operations Model;

(e)	A list of transmission constraints that have a high probability of binding in the Security-Constrained Economic Dispatch (SCED) or DAM; and

(f)	Load forecast distribution factors from which Market Participants can calculate Load at the Electrical Bus level by hour for the next seven days.

[NPRR456: Insert item (g) below upon system implementation:] (g) A mapping of any Electrical Bus to another Electrical Bus for purposes of heuristic pricing as described in paragraph (9) of Section 4.5.1, DAM Clearing Process, and Section 6.6.1, Real-Time Settlement Point Prices.

(2)	ERCOT shall post on the MIS Public Area the net Resource capacity that ERCOT has been notified will be derated or on Outage for each Operating Hour pursuant to the schedule set forth below.  The information provided by ERCOT shall be aggregated on a system-wide basis, separating WGRs and other Resources, and shall include no specific Resource information:

(a)	For the Day-Ahead:

(i)	No later than 1000 of the Day-Ahead; and

(ii)	As soon as possible after the completion of the DRUC; and

(b)	For the current Operating Day:

(i)	No later than 0600; and

(ii)	No later than 1300.