Section 1:

NOGRR091 – Deletion of Criteria for the Selection of Operators

This Nodal Operating Guide Revision Request (NOGRR) deletes the criteria for the selection of operators in the ERCOT Region.

Revised Subsection:  1.5.5

Section 2:

NOGRR096 – Clarification of RRS Obligation

This NOGRR references the Other Binding Document, ERCOT Methodologies for Determining Ancillary Service Requirements, which describes a process that may be used to procure additional Responsive Reserve (RRS) Service; and adds clarifying language affirming that the minimum RRS obligation remains unchanged (2300 MW), but that additional RRS may be procured if there is a reliability need.

Revised Subsection:  2.3.1.1

Section 3:

NOGRR086 – Clarification of Seasonal Unit Capability Testing Requirements

This NOGRR clarifies the Seasonal unit capability testing requirement.

Revised Subsection:  3.3.1

Section 4:

NOGRR103 – Administrative Changes for October 1, 2012 Nodal Operating Guides

This Administrative NOGRR updates the ERCOT Load Shed Table for 2012 which include changes to reflect proper legal Entity names and percentages for Load shed.

Revised Subsection:  4.5.3.4

Section 5:

NOGRR098 – Change of Facility Submission Time Lines to Align with Protocols

This NOGRR clarifies the submission time line for facility reactive capability and other modeling information.

Revised Subsection:  5.1

Section 8:

NOGRR097 – New Section 8I, Black Start Resource Availability Test Form

This NOGRR adds a Black Start Resource availability test form to the Nodal Operating Guides.

New Section:  8I