| NPRR Number | 473 | NPRR Title | Process for Submission of Generation Resource Weatherization Information |
| --- | --- | --- | --- |
| Date |  | September 28, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Henry Durrwachter |  |
| E-mail Address |  | hdurrwachter@luminant.com |  |
| Company |  | Luminant Generation Company LLC |  |
| Phone Number |  | (214) 875-9285 |  |
| Cell Number |  | (214) 437-4622 |  |
| Market Segment |  | Investor-Owned Utility (IOU) |  |

Comments

As noted in the “Revision Description” section of this Nodal Protocol Revision Request (NPRR), NPRR 473 is intended to create a process to accommodate the legislatively mandated submission of generator emergency operations plans under Texas Utilities Code § 186.007(f).  That statute requires electric generation entities to provide copies of their emergency operations plans (EOPs) to ERCOT.  When reading the statute as a whole, it is clear that such copies are intended to be duplicates of the filings made by generation entities to the Public Utility Commission of Texas (PUCT).  Accordingly, NPRR 473 must be consistent with the P.U.C. Substantive Rules on the issue of filing EOPs.

Therefore, Luminant Generation Company LLC (Luminant) believes that certain changes are required to comport the language changes proposed in NPRR 473, Process for Submission of Generation Resource Weatherization Information to the existing language and intent in PUCT Substantive Rule 25.53, Electric Service Emergency Operations Plans. Specifically, PUCT Substantive Rule 25.53(b) requires each market entity to file “a copy of its emergency operations plan or a comprehensive summary of its emergency operations plan (emphasis added)”.  Thus, Luminant proposes to add similar language to Section 3.21, Submission of Emergency Operations Plans, Weatherization Plans, and Attestations of Extreme Weather Preparedness.

Also, to ensure consistency between the ERCOT Nodal Protocols and the PUCT Substantive Rule and to remove the uncertainty surrounding the use of the term “promptly”, Luminant proposes to add a requirement to report any changes to the emergency operations plan no later than 30 days after such changes take effect, which comports with the requirement in PUCT Substantive Rule 25.53(b).

Related to the content of the weatherization plans, Luminant would note that the proposed requirement to provide a “description of the materials and devices used to ensure operation during extreme weather” is both burdensome and unnecessary.  It is burdensome because such a description (which most Generation Resources would likely have to create to comply with this requirement) could be very extensive, because there are literally hundreds of “materials and devices” for each Generation Resource that could be construed to be “used to ensure operation during extreme weather”.  Luminant does not believe it is necessary for ERCOT have such detailed information as long as ERCOT has an attestation from an officer regarding the capability of a Generation Resource to reliably operate during expected summer or winter weather conditions.

Consistent with the paragraph above, Luminant proposes deletion of sub-paragraph (2) of proposed section 3.21, Submission of Emergency Operations Plans, Weatherization Plans, and Attestations of Summer and Winter Weather Preparedness.   Furthermore, Luminant proposes  deletion of the references to the term “extreme weather”, since the term is undefined and because the purpose of weatherization plans is to have generating plant equipment ready to perform in weather conditions expected during the summer or winter load seasons.

Regarding the submission of attestations related to weatherization, Luminant has  included a draft Attestation form in these comments to be added to the Nodal Protocols Section 22 as Attachment K, which reflects the following suggested changes.  First, Luminant recommends language changes to recognize the fact that certain Generation Resources may still be undergoing maintenance outages at the time that an attestation is to be submitted to ERCOT.  Thus, it would not be possible to attest that the work is complete if the Generation Resource is still on maintenance outage.

Second, Luminant recommends delaying submission to the November 15 to December 1 and May 15 to June 1 time periods to allow as much time as possible for completion of maintenance associated with weatherization activities to be completed before the attestation is required.  Third, Luminant believes that it is necessary to require a separate attestation for each season instead of requiring an officer or executive to attest to future weatherization activities (i.e., attesting to summer weatherization in November of the previous year). as contemplated by ERCOT’s original language.  Finally, since there should be two attestations filed with ERCOT each year, Luminant proposes that ERCOT make two reports to the PUC related to any Resource Entity that fails to provide the requested attestations, one for the winter attestation and one for the summer attestation.

As for administrative issues, Luminant believes that the title of the NPRR should be revised to correctly describe the language changes being proposed in the NPRR.

Revised Cover Page Language

| NPRR Number | 473 | NPRR Title | Process for Submission of Emergency Operation Plans and Generation Resource Weatherization Attestations |
| --- | --- | --- | --- |
| Nodal Protocol Sections Requiring Revision |  | 1.3.1.1, Items Considered Protected Information 3.21, Submission of Emergency Operations Plans and Weatherization Attestations of Summer and Winter Weather Preparedness (new) 22 Attachment K: Declaration of Completion of Generation Resource Weatherization Preparations (new) |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) creates a process to accommodate the legislatively mandated submission of generator emergency operations plans. (See Texas Utilities Code § 186.007(f) Weather Emergency Preparedness Report - (“An electric generation entity within the ERCOT power region shall provide the entity’s [emergency operations] plan to ERCOT in its entirety.”)). ERCOT has previously requested these plans pursuant to its authority under paragraph (i)(2)(H) of P.U.C. Subst. R. 25.362, Electric Reliability Council of Texas (ERCOT) Governance , which requires ERCOT to provide “[a]n assessment of the reliability and adequacy of the ERCOT system during extremely cold or extremely hot weather conditions, including information regarding steps to be taken by power generation companies and utilities to prepare their assets for extreme weather events.” Based on its authority under this statute and rule, ERCOT believes it appropriate to create a formal process for submission of emergency operations plans and plan updates; to recognize the confidential status of information contained in these plans. Furthermore, in order to fulfill its regulatory obligation to assess system reliability in extreme weather conditions, ERCOT must ensure that plant operators are in fact following the weatherization procedures described in the submitted weatherization plans. ERCOT therefore proposes two annual weatherization attestations to determine system preparedness. These attestations would represent that the Resource Entity (or other Entity responsible for the physical operation of a Generation Resource) has completed all weatherization preparations described in the weatherization plan for summer and winter operations, and that all plant operators are trained and prepared to address plant conditions that may be expected to occur during extreme weather. Finally, in addition to expanding the categories of Protected Information to include emergency operations plans, ERCOT proposes revisions to paragraph (p) of Section 1.3.1.1 to clarify that all information designated as Protected Information is considered Protected Information, unless it is expressly deemed otherwise by Section 1.3.1.2, Items Not Considered Protected Information, or is no longer confidential, as provided by Section 1.3.3, Expiration of Confidentiality. Existing language could be read to provide that any information a Market Participant is required to submit is not considered Protected Information. Also, the express exclusion of information provided in support of a Reliability Must-Run (RMR) application is redundant of an identical exclusion in paragraph (f) of Section 1.3.1.2. |  |

Revised Proposed Protocol Language

- 1.3.1.1	Items Considered Protected Information

Subject to the exclusions set out in Section 1.3.1.2, Items Not Considered Protected Information, and in Section 3.2.5, Publication of Resource and Load Information, “Protected Information” is information containing or revealing any of the following:

(a)	Base Points, as calculated by ERCOT.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(b)	Bids, offers, or pricing information identifiable to a specific Qualified Scheduling Entity (QSE) or Resource.  The Protected Information status of part of this information shall expire 60 days after the applicable Operating Day, as follows:

(i)	Ancillary Service Offers by Operating Hour for each Resource for all Ancillary Services submitted for the Day-Ahead Market (DAM) or any Supplemental Ancillary Services Market (SASM);

(ii)	The quantity of Ancillary Service offered by Operating Hour for each Resource for all Ancillary Service submitted for the DAM or any SASM; and

(iii)	Energy Offer Curve prices and quantities for each Settlement Interval by Resource.  The Protected Information status of this information shall expire within seven days after the applicable Operating Day if required to be posted as part of paragraph (5) of Section 3.2.5 and within two days after the applicable Operating Day if required to be posted as part of paragraph (6) of Section 3.2.5;

(c)	Status of Resources, including Outages, limitations, or scheduled or metered Resource data.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(d)	Current Operating Plans (COPs).  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(e)	Ancillary Service Trades, Energy Trades, and Capacity Trades identifiable to a specific QSE or Resource.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(f)	Ancillary Service Schedules identifiable to a specific QSE or Resource.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(g)	Dispatch Instructions identifiable to a specific QSE or Resource, except for Reliability Unit Commitment (RUC) commitments and decommitments as provided in Section 5.5.3, Communication of RUC Commitments and Decommitments.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(h)	Raw and Adjusted Metered Load (AML) data (demand and energy) identifiable to a specific QSE, Load Serving Entity (LSE), or Customer.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(i)	Settlement Statements and Invoices identifiable to a specific QSE.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(j)	Number of Electric Service Identifiers (ESI IDs) identifiable to a specific LSE.  The Protected Information status of this information shall expire 365 days after the applicable Operating Day;

(k)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available.  The Protected Information status of this information shall expire when the generation interconnection agreement is executed or a financial arrangement for transmission construction is completed with a Transmission Service Provider (TSP);

(l)	Resource-specific costs, design and engineering data;

(m)	Congestion Revenue Right (CRR) credit limits, the identity of bidders in a CRR Auction, or other bidding information identifiable to a specific CRR Account Holder.  The Protected Information status of this information shall expire as follows:

(i)	The Protected Information status of the identities of CRR bidders that become CRR Owners and the number and type of CRRs that they each own shall expire at the end of the CRR Auction in which the CRRs were first sold; and

(ii)	The Protected Information status of all other CRR information identified above in item (m) shall expire six months after the end of the year in which the CRR was effective.

(n)	Renewable Energy Credit (REC) account balances.  The Protected Information status of this information shall expire three years after the REC Settlement period ends;

(o)	Credit limits identifiable to a specific QSE;

(p)	Any information that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information that is expressly designated not to be Protected Information by Section 1.3.1.2, Items Not Considered Protected Information, or that, pursuant to Section 1.3.3, Expiration of Confidentiality, is no longer confidential

;

(q)	Any information compiled by a Market Participant on a Customer that in the normal course of a Market Participant’s business that makes possible the identification of any individual Customer by matching such information with the Customer’s name, address, account number, type of classification service, historical electricity usage, expected patterns of use, types of facilities used in providing service, individual contract terms and conditions, price, current charges, billing record, or any other information that a Customer has expressly requested not be disclosed (“Proprietary Customer Information”) unless the Customer has authorized the release for public disclosure of that information in a manner approved by the Public Utility Commission of Texas (PUCT).  Information that is redacted or organized in such a way as to make it impossible to identify the Customer to whom the information relates does not constitute Proprietary Customer Information;

(r)	Any software, products of software, or other vendor information that ERCOT is required to keep confidential under its agreements;

(s)	QSE, TSP, and Distribution Service Provider (DSP) backup plans collected by ERCOT under the Protocols or Other Binding Documents;

(t)	Direct Current Tie (DC Tie) information provided to a TSP or DSP under Section 9.17.2, Direct Current Tie Schedule Information;

(u)	Any Texas Standard Electronic Transaction (TX SET) transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This paragraph does not apply to ERCOT’s compliance with:

(i)	PUCT Substantive Rules on performance measure reporting;

(ii)	These Protocols or Other Binding Documents; or

(iii)	Any Technical Advisory Committee (TAC)-approved reporting requirements;

(v)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 3.14.1.9, Generation Resource Return to Service Updates;

(w)	Information provided by Entities under Section 10.3.2.4, Reporting of Net Generation Capacity;

(x)	Alternative fuel reserve capability and firm gas availability information submitted pursuant to Section 6.5.9.3.1, Operating Condition Notice, Section 6.5.9.3.2, Advisory, and Section 6.5.9.3.3, Watch, and as defined by the Operating Guides;

(y)	Non-public financial information provided by a Counter-Party to ERCOT pursuant to meeting its credit qualification requirements as well as the QSE’s form of credit support;

(z)	ESI ID, identity of Retail Electric Provider (REP), and MWh consumption associated with transmission-level Customers that wish to have their Load excluded from the Renewable Portfolio Standard (RPS) calculation consistent with Section 14.5.3, End-Use Customers, and subsection (j) of P.U.C. Subst. R. 25.173, Goal for Renewable Energy; or

(aa)	Generation Resource emergency operations plans.

[NPRR438: Insert the following item (bb) on January 1, 2013:] (bb) Information provided by a Counter-Party under Section 16.16.3, Verification of Risk Management Framework.

3.21	Submission of Emergency Operations Plans and Weatherization Attestations of Summer and Winter Preparedness

(1)	Each Resource Entity must provide ERCOT a complete copy of the emergency operations plan or a comprehensive summary of its emergency operations plan for each Generation Resource under the Resource Entity’s control.  If any significant changes are made to the emergency operations plan, the Resource Entity must provide ERCOT with any updated versions of this plan no later than 30 days after such changes take effect.  Resource Entities shall submit all plans and updates electronically.

(2)	No earlier than November 15 and no later than December 1 of each year, each Resource Entity shall submit the attestation in Section 22, Attachment K, Completion of Generation Resource Weatherization Preparations Attestation,  to ERCOT stating that, at the time of submission, each Generation Resource under the Resource Entity’s control has completed or will complete winter weather preparations applicable to equipment that is critical to the reliable operation of the Generation Resource during the winter Load season (i.e., December through February).  If the work on the equipment that is critical to the reliable operation of the Generation Resource is not complete at the time of filing the attestation, the Resource Entity shall provide a list and schedule of remaining work to be completed.  The attestation must be executed by an officer or executive with authority to bind the Resource Entity and must be notarized.

(3)	No earlier than May 15 and no later than June 1 of each year, each Resource Entity shall submit the attestation in Section 22, Attachment K to ERCOT stating that, at the time of the submission, each Generation Resource under the Resource Entity’s control has completed or will complete summer weather preparations applicable to equipment that is critical to the reliable operation of the Generation Resource during the summer load season (i.e., June through September).  If the work on the equipment that is critical to the reliable operation of the Generation Resource is not complete at the time of filing the attestation, the Resource Entity shall provide a list and schedule of remaining work to be completed.  The attestation must be executed by an officer or executive with authority to bind the Resource Entity and must be notarized.

(4)	On or before January 15 each year, ERCOT shall report to the Public Utility Commission of Texas (PUCT) the names of Resource Entities failing to provide the attestation required by paragraph (2) above.

(5)	On or before July 15 each year, ERCOT shall report to the PUCT the names of Resource Entities failing to provide the attestations required by paragraph (3) above.

ERCOT Nodal Protocols

Section 22

- Attachment K:  Completion of Generation Resource Weatherization Preparations Attestation

Completion of Generation Resource Weatherization Preparations Attestation

Year:  ____________

Season:  ___________ (Winter or Summer)

This attestation is for the following Resource Entities: (list below)

I hereby attest that weatherization preparations, for the season and year stated above, are complete or in the process of being completed for all Generation Resources of the Resource Entities listed. Any outstanding weatherization preparations are summarized in the attached document and include the name of the Generation Resource, a brief description of the remaining weatherization task(s) if any, and an associated target completion date for each task.

The undersigned certifies that I am an officer of the Resource Entities listed above, that I am authorized to execute and submit this attestation on behalf of these Resource Entities, and to the best of my knowledge, that the statements contained herein are true and correct.

______________________________________

Officer Signature

_____________________

Name

_____________________

Title

_____________________

Date