Date: 	September 27, 2012

To:	Technical Advisory Committee (TAC) Representatives

From:	Tom Burke, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs)

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by PRS: - NPRR465, Transmission Planning Analysis to Minimize the Need for RMR Units* - NPRR471, Removal of Language Related to NPRR241* - Parking Deck NPRR153, Generation Resource Fixed Quantity Block (*) denotes no impacts

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. NPRRs Recommended for Approval - NPRR465, Transmission Planning Analysis to Minimize the Need for RMR Units [CenterPoint Energy]. Proposed Effective Date: December 1, 2012 ERCOT Impact Analysis: No budgetary impact; 0.5 Full-Time Equivalent (FTE) that can be absorbed by current ERCOT Staff; no impacts to ERCOT computer systems; ERCOT business functions will be updated; no impacts to ERCOT grid operations and practices. Revision Description: The NPRR modifies provisions that relate to Reliability Must-Run (RMR) analysis to require that transmission planning analysis is performed to ensure reliability while minimizing the need for RMR Units. PRS Decision: On 8/23/12, PRS unanimously voted to recommend approval of NPRR465 as amended by the 8/21/12 ROS comments and as revised by PRS. On 9/20/12, PRS unanimously voted to endorse and forward the 8/23/12 PRS Report and Impact Analysis for NPRR465 to TAC. - NPRR471, Removal of Language Related to NPRR241 [ERCOT]. Proposed Effective Date: December 1, 2012 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes the grey box language associated with NPRR241, Aggregate Incremental Liability (AIL) Calculation and Credit Reports Publish Corrections. PRS Decision: On 8/23/12, PRS voted to recommend approval of NPRR471 as submitted. There was one opposing vote from the Independent Power Marketer (IPM) Market Segment and one abstention from the Independent Generator Market Segment. On 9/20/12, PRS unanimously voted to endorse and forward the 8/23/12 PRS Report and the Impact Analysis for NPRR471 to TAC. Parking Deck Impact Assessments Recommended for Approval - NPRR153, Generation Resource Fixed Quantity Block [Transition Plan Task Force (TPTF)]. Proposed Effective Date: Upon System Implementation – Priority 2013; Rank 790 ERCOT Impact Analysis: $12k - $16k, impacts to Market Management System (MMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR revises existing Ancillary Service Offer criteria to provide for offers of Non-Spinning Reserve (Non-Spin) service in fixed quantity and time blocks from Off-Line Generation Resources similar to that for Load Resources. PRS Decision: On 9/20/12, PRS unanimously voted to endorse and forward the impact assessment for NPRR153 to TAC with a recommended priority of 2013 and rank of 790. Revision Requests Rejected and Failed Motions None. Revision Requests Withdrawn (no TAC action required) None. Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the October 18, 2012 PRS Meeting - NPRR385, Security Violation Analysis and Reporting and Negative Price Floor [Luminant Energy] - NPRR475, EPS Metering Exception for ERS Generation [ERCOT] - NPRR476, Market Submitted Energy Offer Curves Disclosures [MIS User Group (MISUG)] - NPRR478, Extension of DAM QSE Offer and Bid Submission Deadline Due to ERCOT Systems Delays [Calpine] - NPRR479, Daily Net Outage MW [Mercuria Energy] - NPRR480, Removal of Language for Relaxing Transmission Constraints [ERCOT] - NPRR481, Report of Hourly Actual System Load by Weather Zone [MISUG] - NPRR482, Removal of Duplicative Statement of Opportunity Requirements [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT] - NPRR429, HASL Offset Provision [Morgan Stanley] - NPRR444, Supplemental Reliability Deployments [Morgan Stanley] - Urgent - NPRR461, Energy Storage Settlements Consistent With PUCT Project 39917 [ERCOT] - NPRR473, Process for Submission of Generation Resource Weatherization Information [ERCOT] - NPRR474, Clarification of Price Correction Principles and Associated Timelines [ERCOT] New Revision Requests Scheduled for Consideration at the October 18, 2012 PRS Meeting - NPRR483, REC Program Renewable Resource Self-Reporting MWH Production Data and Metering Requirements [ERCOT] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/nprotocols/nprr