# NDSWG Report to ROS

# October 11, 2012

NDSWG last met on a web-ex on September 18, 2012.

ERCOT presented the list of 20 most important busses for State Estimator Reporting. TH Wharton and PH Robinson were added to the list and Bellaire and Norwood Switch were removed from the list. NDSWG agreed with the list and recommends ROS vote to approve.

| STATION_NAME | VOLTAGE_LEVEL | OWNER_NAME | Comments |
| --- | --- | --- | --- |
| ALNSW | 345 | TONCOR | Dallas North |
| AUSTRO | 345 | TAEN | CSC |
| BNBSW | 345 | TONCOR | Dallas West |
| CALAVERS | 345 | TCPSE | San Antonio |
| CBY | 345 | TCNPE | Houston |
| CPSES | 345 | TONCOR | Nuke |
| JEWET | 345 | TONCOR | Dallas South |
| LON_HILL | 345 | TAEPTC | South Texas/Valley |
| MGSES | 345 | TONCOR | West Texas |
| NEDIN | 345 | TAEPTC | BS Sync point |
| PHR | 345 | TCNPE | Houston |
| RIOHONDO | 345 | TAEPTC | Valley |
| RNKSW | 345 | TONCOR | Dallas Northwest |
| SSPSW | 345 | TONCOR | Northeast Texas |
| STP | 345 | TCNPE | Nuke |
| THW | 345 | TCNPE | Houston |
| TMPSW | 345 | TONCOR | BS Sync point |
| VENSW | 345 | TONCOR | Dallas South |
| WLVEE | 345 | TONCOR | Dallas |
| ZORN | 345 | TLCRA | Central Texas |

NDSWG and ERCOT discussed the progress of the NOGRR and NPRR that could replace NOGRR034. ERCOT informed NDSWG that they have been focusing on meeting with the PUCT on NOGRR025. The results of that meeting might impact how ERCOT and the market participants need to act on NOGRR034 and other monitoring NOGRR and NPRR. This is on the Oct NDSWG agenda.

NPRR219 TSP submittal of QSE outages and NOGRR050 reporting issues related to NPRR219 were discussed and added to the October NDSWG agenda.

This last item was not discussed during the Sept 18 web ex.

Since the last ROS approval in October 2011, there have not been any changes made to the Telemetry Criteria and the State Estimator Performance Standard. NDSWG does not have any proposed changes to these two standards and recommends ROS vote to approve.

Next NDSWG meeting October 16, 2012