Meter Working Group Meeting Notes

September 14, 2012

2:00 p.m. – 2:30 p.m.

Conference Call

- Reading of ERCOT Anti-Trust Rules……………………………………….by J. Levine

Jonathan read the ERCOT Anti-Trust admonition to open the meeting.

- Review of SMOGRR- 013 (Synchronization with NPRR454, Removal of Unfunded Project List Language, &Modification of Administrative SMOGRR Definition)….by J. Levine

Similar to several of the recent SMOGRRs that ERCOT has submitted, SMOGRR-013 is mainly just an effort to align the SMOG change process with the Nodal Protocol Revision Request (NPRR) process to reflect changes to the NPRR process that were recently approved by the Board of Directors.  In addition, SMOGRR-013 proposes to amend the definition of “Administrative SMOGRR” so that future SMOGRRs that are submitted solely for the purpose of aligning the SMOG change process with the NPRR process can be treated as Administrative SMOGRRs only.

ERCOT is seeking consensus to recommend approval of the SMOGRR language as submitted.  If MWG recommends approval, SMOGRR-013 will be on the agenda for the October 16, 2012 MWG meeting for consideration of the associated Impact Analysis.

At the MWG meeting,  a consensus has been reached to recommend approval of the SMOGRR language as submitted.

- Agenda for October 16, 2012 MWG meeting….…………………………..by H. Perez

The following topics will be included in the next MWG meeting:

a.) Parallel CT clarification per SMOG 1.3.7 (e)
b.) Loss of potential per SMOG 1.4.7 - define specific threshold voltage
c.) CCVT 5-year re-certification discussion
d.) Nameplate photos of newly-installed instrument transformers
e.) EPS metering sites with provisionally approved status
f.) EPS meter data polling (via telephone line communication vs. IP communication)
g.) Energy Storage Resources (ESR)

4.   Meeting Wrap-up…………………………………………………………….by M. Rollins