# DRAFT

# Market Enhancement Task Force (METF) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

# Tuesday, February 28, 2012 – 9:30 a.m. – 3:30 p.m.

# Attendance

| Blackburn, Don | Luminant |  |
| --- | --- | --- |
| Brandt, Adrianne | Austin Energy |  |
| Brown, Amanda | Xtreme Power |  |
| Burke, Tom | APM |  |
| Carlson, Trent | JP Morgan |  |
| Chakka, Babu | Austin Energy |  |
| Drust, Wendell | Alstum |  |
| Echols, Ed | Oncor |  |
| Frame, Jim | Siemens |  |
| Jones, Dan | Potomac Economics |  |
| Laws, Shane | CoServ |  |
| Lee, Jim | Direct Energy |  |
| Lindberg, Ken | Bryan Texas Utilities |  |
| Looney, Sherry | Luminant Energy |  |
| Mansingh, Ashmin | Siemens |  |
| McClellan, Suzi | Good Company Associates |  |
| Ögelman, Kenan | CPS Energy |  |
| Pieniazek, Adrian | NRG |  |
| Siddiqi, Shams | LCRA |  |
| Whittle, Brandon | Stratus Energy Group |  |
| Wittmeyer, Bob |  |  |

ERCOT Staff:

| Ashbaugh, Jackie |  |  |
| --- | --- | --- |
| Landry, Kelly |  |  |
| Mickey, Joel |  |  |
| Moorty, Sai |  |  |
| Obadina, Diran |  |  |
| Ragsdale, Ken |  |  |
| Wattles, Paul |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

# METF Chair Ken Ragsdale called the meeting to order at 9:34 a.m.

# Antitrust Admonition

Kelly Landry directed attention to the displayed ERCOT Antitrust Admonition and noted the need to comply with these guidelines.  A copy of the guidelines was available for review.

Introduction- METF Webpage and Distribution List

Mr. Landry advised Market Participants of the location of the METF main webpage 
(see, http://www.ercot.com/committees/board/tac/metf/), and noted that links to individual meeting pages are available there.  He stated that the e-mail distribution list established for this group is METF@lists.ercot.com.  Mr. Landry noted that membership in the distribution list is self maintained and that Market Participants may add their e-mail address by going to http://lists.ercot.com.

Discussion- METF Vice Chair

Mr. Ragsdale encouraged Market Participants to volunteer as Vice Chair of METF.

Draft Problem Statement

Mr. Ragsdale reviewed the Draft METF Enhancement Opportunities spreadsheet and noted that ERCOT Staff initiated the document with suggestions that could be revised by METF.  Market Participants reviewed each suggested item and provided revisions.  Mr. Ragsdale directed that the final draft be posted to the 2/28/2012 METF Meeting page.

(See, http://www.ercot.com/content/meetings/metf/keydocs/2012/0228/04_metf_enhancement_opportunities_as__of_feb_28_2012.xls)

Mr. Ragsdale stated that he would present this revised draft document at the 3/1/2012 Technical Advisory Committee (TAC) meeting.

Future Meeting Agenda Items

Market Participants discussed the need to review the potential features that could be included in Look-Ahead Security Constrained Economic Dispatch (SCED).  Mr. Ragsdale directed that this issue be added to the next METF agenda and requested that Dan Jones assist with the discussion.  Mr. D. Jones agreed.

Adjournment

Mr. Ragsdale adjourned the meeting at 11:59 a.m.

# Market Enhancement Task Force (METF) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

# Thursday, March 29, 2012 – 1:00 p.m. – 3:30 p.m.

# Attendance

| Blackburn, Don | Luminant |  |
| --- | --- | --- |
| Brandt, Adrianne | Austin Energy |  |
| Brown, Jeff | Shell Energy | (Via Teleconference) |
| Burke, Tom | APM |  |
| Carter, Kevin | Duke Energy | (Via Teleconference) |
| Chakka, Babu | Austin Energy | (Via Teleconference) |
| Cochran, Seth | DC Energy |  |
| Drust, Wendell | Alstom |  |
| Echols, Ed | Oncor | (Via Teleconference) |
| Frame, Jim | Siemens | (Via Teleconference) |
| Goff, Eric | Reliant |  |
| Hale, Mike | LCRA | (Via Teleconference) |
| Jones, Dan | Potomac Economics |  |
| Jones, Liz | Oncor |  |
| Jones, Mike | Infinite Energy | (Via Teleconference) |
| Jones, Randy | Calpine |  |
| Jordan, Adam | Edison Mission | (Via Teleconference) |
| Juricek, Mike | Oncor |  |
| Joshi, Rahul | Power Costs | (Via Teleconference) |
| Helton, Bob | GSEMNA |  |
| Kapur, Virat | EPE Consulting | (Via Teleconference) |
| Kee, David | CPS Energy | (Via Teleconference) |
| Looney, Sherry | Luminant Energy |  |
| McMurray, Mark | Direct Energy |  |
| McRae, Russ | Alstrom |  |
| Moslehi, Khosrow | Ventyx/ABB | (Via Teleconference) |
| Muñoz, Manuel | CenterPoint Energy |  |
| Ögelman, Kenan | CPS Energy |  |
| Pieniazek, Adrian | NRG |  |
| Pinkston, April | Oncor | (Via Teleconference) |
| Sandidge, Clint | Noble Solutions | (Via Teleconference) |
| Schwarz, Brad | ECRNA |  |
| Shepherd, Scott | Ventyx |  |
| Siddiqi, Shams | LCRA |  |
| Soutter, Mark | Invenergy |  |
| Stanfield, Leonard | CPS Energy |  |
| Starr, Lee | Bryan Texas Utilities | (Via Teleconference) |
| Trefny, Floyd | AMTEC |  |
| Trout, Seth | Customized Energy Solutions | (Via Teleconference) |
| Varnell, John | Tenaska |  |
| Whittle, Brandon | Stratus Energy Group |  |

ERCOT Staff:

| Ashbaugh, Jackie |  |  |
| --- | --- | --- |
| Hui, Hailong |  |  |
| Landry, Kelly |  |  |
| Moorty, Sai |  |  |
| Obadina, Diran |  |  |
| Ragsdale, Ken |  |  |
| Wattles, Paul |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

# METF Chair Ken Ragsdale called the meeting to order at 1:12 p.m.

# Antitrust Admonition

Kelly Landry directed attention to the displayed ERCOT Antitrust Admonition and noted the need to comply with these guidelines.  A copy of the guidelines was available for review.

Consider Approval of Meeting Minutes

Mr. Landry presented the 2/28/2012 METF draft meeting minutes.

Eric Goff moved to approve the 2/28/2012 METF draft meeting minutes as presented.  Tom Burke seconded the motion.  The motion carried unanimously.

2013 Project Funding Plan

Troy Anderson presented ERCOT’s proposed plan for 2013 project funding and the review and approval schedule.  Mr. Anderson noted that review by the Technical Advisory Committee (TAC) is scheduled for 4/5/2012 and by the Public Utility Commission of Texas (PUCT) 5/1/2012.

Market Enhancement Opportunities List

Market Participants reviewed each item of the METF Enhancement Opportunities spreadsheet and provided revisions.  Consensus was that since the item related to the improvement of Security Constrained Economic Dispatch (SCED) and Load Frequency Control (LFC) balance had been assigned to the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) then it should be removed from this list.  Mr. Ragsdale removed the item.  Mr. Ragsdale stated that he would revise the METF Enhancement Opportunities spreadsheet per Market Participant recommendations and directed that it be posted to the 3/29/2012 METF meeting page.  (See http://www.ercot.com/calendar/2012/03/20120329-METF)

Discuss Look-Ahead Security Constrained Economic Dispatch (LA SCED) Information Gathering Process

Mr. Ragsdale noted that various system vendors that could potentially provide contributions to LA SCED development were asked to present an overview of their contributions to other Independent System Operators (ISOs).  He stated that these vendors, as well as representatives from other ISOs, have been invited to the next regular METF meeting to address Market Participant questions.  Mr. Ragsdale stated that the preference is for Market Participants to lead the interaction and discussion.  Sai Moorty presented a draft list of questions to be addressed and requested Market Participants direct additional questions to him for inclusion on the list.  Mr. Ragsdale directed that this list be revised as necessary and posted to the 3/29/2012 METF meeting page.

(See http://www.ercot.com/content/meetings/metf/keydocs/2012/0329/05_questions_for_vendors_and_isos_mar_29_2012_revised.doc)

Review Approach for Short-Term Load Forecast (STLF) Analysis

Hailong Hui reviewed STLF metrics and statistical information on STLF error from 2/19/2012 to 3/26/2012.  Mr. Moorty stated that review of these statistics will be an on-going process and that Market Participants are encouraged to contribute ideas regarding improvements to the metrics.

Review Dynamic Rating Process

Mr. Moorty presented dynamic ratings in a conceptual model and by weather station and zone.  Mr. Moorty reviewed the Real-Time and look-ahead process for developing dynamic ratings.

Update on Over-Mitigation Issue

Dan Jones stated that the issue of over-mitigation in SCED is scheduled to be discussed by the Congestion Management Working Group (CMWG) at its 4/10/2012 meeting and that he would provide details of this discussion at a later date.

Adjournment

Mr. Ragsdale adjourned the meeting at 3:20 p.m.

# Market Enhancement Task Force (METF) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

# Thursday, April 26, 2012 – 9:30 p.m. – 3:30 p.m.

# Attendance

| Abdul-Rahman, Khaled | CAISO | (Via Teleconference) |
| --- | --- | --- |
| Bevill, Jennifer | AEP |  |
| Brandt, Adrianne | Austin Energy |  |
| Brown, Jeff | Shell Energy | (Via Teleconference) |
| Carlson, Trent | JP Morgan |  |
| Cochran, Seth | DC Energy |  |
| Cohen, Art | Ventyx |  |
| Drust, Wendell | Alstom |  |
| Echols, Ed | Oncor | (Via Teleconference) |
| Frame, Jim | Siemens | (Via Teleconference) |
| Gao, Feng | Ventyx | (Via Teleconference) |
| Garza, Beth | Potomac Economics | (Via Teleconference) |
| Goff, Eric | Reliant |  |
| Grimm, Larry | Navigate Consulting |  |
| Hartshorn, Andrew | Edison Mission | (Via Teleconference) |
| Helton, Bob | GSEMNA |  |
| Jackson, Tom | Austin Energy | (Via Teleconference) |
| Jones, Liz | Oncor |  |
| Jones, Randy | Calpine |  |
| Jordan, Adam | Edison Mission | (Via Teleconference) |
| Hastings, David | Hastings | (Via Teleconference) |
| Kee, David | CPS Energy | (Via Teleconference) |
| Looney, Sherry | Luminant Energy |  |
| McClellan, Suzi | Good Company Associates | (Via Teleconference) |
| McMurray, Mark | Direct Energy |  |
| McRae, Russ | Alstrom | (Via Teleconference) |
| Moslehi, Khosrow | Ventyx/ABB |  |
| Muñoz, Manuel | CenterPoint Energy |  |
| Namsingh, Ashmin | Siemens |  |
| Pieniazek, Adrian | NRG |  |
| Pinkston, April | Oncor | (Via Teleconference) |
| Rajagopal, Sankaran | Siemens |  |
| Shepherd, Scott | Ventyx |  |
| Shumatz, Walt | Shumatz and Associates |  |
| Siddiqi, Shams | LCRA |  |
| Stanfield, Leonard | CPS Energy |  |
| Trefny, Floyd | AMTEC |  |
| Trout, Seth | Customized Energy Solutions | (Via Teleconference) |
| Varnell, John | Tenaska |  |
| Wagner, Marguerite | Edison Mission |  |
| Waight, Jim | Siemens | (Via Teleconference) |
| Wang, Xing | Alstom Grid |  |
| Whittle, Brandon | Stratus Energy Group |  |
| Wittmeyer, Bob |  |  |
| Yu, Chien-Ning | Ventyx |  |
| Zhang, Bryan | Potomac Economics | (Via Teleconference) |

ERCOT Staff:

| Ashbaugh, Jackie |  |  |
| --- | --- | --- |
| Cheng, Yong | (Via Teleconference) |  |
| Daniels, Stephen |  |  |
| Day, Betty | (Via Teleconference) |  |
| Geer, Ed | (Via Teleconference) |  |
| Gilbertson, Jeff | (Via Teleconference) |  |
| Hobbs, Kristi | (Via Teleconference) |  |
| Howard, Richard |  |  |
| Hui, Hailong | (Via Teleconference) |  |
| Kettlewell, Bill | (Via Teleconference) |  |
| Landry, Kelly |  |  |
| Li, Helen | (Via Teleconference) |  |
| Li, Katherine | (Via Teleconference) |  |
| Li, Yu | (Via Teleconference) |  |
| Ma, Yong | (Via Teleconference) |  |
| Moorty, Sai |  |  |
| Obadina, Diran |  |  |
| Peljto, Haso |  |  |
| Ragsdale, Ken |  |  |
| Wattles, Paul |  |  |
| Xu, Xiangjun | (Via Teleconference) |  |

Unless otherwise indicated, all Market Segments were present for a vote.

# METF Chair Ken Ragsdale called the meeting to order at 9:30 a.m.

# Antitrust Admonition

Kelly Landry directed attention to the displayed ERCOT Antitrust Admonition and noted the need to comply with these guidelines.  A copy of the guidelines was available for review.

Consider Approval of Meeting Minutes

Mr. Landry presented the 3/29/2012 METF draft meeting minutes.

Sherry Looney moved to approve the 3/29/2012 METF draft meeting minutes as presented.  Jennifer Bevill seconded the motion.  The motion carried unanimously.

Market Enhancement Opportunities List

Ken Ragsdale reviewed the Market Enhancement Opportunities list.  He noted that revisions made during the previous METF meeting had been added and that this revised document was available for viewing at the 3/29/2012 METF meeting page.  (See http://www.ercot.com/calendar/2012/03/20120329-METF)

Look-Ahead Security Constrained Economic Dispatch (LA SCED) Vendor Presentations

Art Cohen reviewed the Ventyx presentation on LA SCED.

(See http://www.ercot.com/content/meetings/metf/keydocs/2012/0426/05_pres_ventyx_abb_ny_iso_rt_market_revised.ppt)

Sankaran Ragagopal, Khaled Abdul-Rahman, and Ashmin Namsingh reviewed the Siemens presentation on LA SCED.

(See http://www.ercot.com/content/meetings/metf/keydocs/2012/0426/06_pres_siemens_implementation_caiso_exp_revised.pdf)

Xing Wang reviewed the Alstom presentation on LA SCED.

(See http://www.ercot.com/content/meetings/metf/keydocs/2012/0426/08_pres_alstom_exp_solutions_la_sced_revised.pdf)

Other Business/Wrap Up

Market Participants discussed potential agenda items for the next METF meeting.  Eric Goff recommended a prioritization of items on the Market Enhancement Opportunities list.  Mr. Ragsdale requested Market Participants send him an e-mail if they identify any additional items.

Adjournment

Mr. Ragsdale adjourned the meeting at 2:40 p.m.

# Market Enhancement Task Force (METF) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

# Thursday, June 26, 2012 – 9:30 p.m. – 3:30 p.m.

# Attendance

| Brandt, Adrianne | Austin Energy |  |
| --- | --- | --- |
| Bruce, Mark | Stratus Energy Group |  |
| Burke, Tom | Aces Power | (Via Teleconference) |
| Carter, Kevin | Duke Energy | (Via Teleconference) |
| Chakka, Babu | Austin Energy |  |
| Drust, Wendell | Alstom |  |
| Gao, Feng | Ventyx | (Via Teleconference) |
| Greer, Clayton | Morgan Stanley | (Via Teleconference) |
| Hale, Mike | LCRA | (Via Teleconference) |
| Hastings, David | D Hast Co. |  |
| Helton, Bob | GSEMNA |  |
| Looney, Sherry | Luminant Energy |  |
| Muñoz, Manuel | CenterPoint Energy |  |
| Ögelman, Kenan | CPS Energy |  |
| Power, David | Public Citizen |  |
| Sandidge, Clint | Noble Solutions | (Via Teleconference) |
| Siddiqi, Shams | LCRA |  |
| Stanfield, Leonard | CPS Energy |  |
| Trout, Seth | Customized Energy Solutions | (Via Teleconference) |
| Wagner, Marguerite | Edison Mission |  |
| Watson, Mark | Platts |  |
| Whittle, Brandon | Stratus Energy Group |  |

ERCOT Staff:

| Landry, Kelly |  |  |
| --- | --- | --- |
| Moorty, Sai |  |  |
| Obadina, Diran |  |  |
| Ragsdale, Ken |  |  |
| Shaw, Pam |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

# METF Chair Ken Ragsdale called the meeting to order at 9:30 a.m.

# Antitrust Admonition

Kelly Landry directed attention to the displayed ERCOT Antitrust Admonition and noted the need to comply with these guidelines.  A copy of the guidelines was available for review.

Market Enhancement Opportunities List

Ken Ragsdale reviewed the Market Enhancement Opportunities list.  He noted that no further revisions have been made since the 3/29/2012 METF meeting and that this revised document was available for viewing at the METF meeting page.  (See http://www.ercot.com/calendar/2012/03/20120329-METF)

Review of Look-Ahead Security Constrained Economic Dispatch (LA SCED) Vendor Presentations

Mr. Ragsdale summarized LA SCED presentations by Ventyx, Siemens, and Alstom.  Sai Moorty noted that most Independent System Operators implementing LA SCED type systems are gravitating towards the commitment of Resources with LA SCED type systems.  Market Participants discussed the potential for increased Resource dispatch and commitment efficiency from LA SCED systems.

Update on Extended Locational Marginal Price (ELMP) Project in the Midwest ISO (MISO)

Mr. Ragsdale provided a high level review of ELMP efforts by MISO and noted that additional information on convex hull pricing and ELMP could be found at the website for a MISO workshop.

(See https://www.midwestiso.org/StakeholderCenter/CommitteesWorkGroupsTaskForces/ELMPTT/Pages/home.aspx)

NPRR444, Supplemental Reliability Deployments – Workshop

Mr. Ragsdale noted that during discussion of NPRR444 during the 6/21/2012 Protocol Revision Subcommittee (PRS) meeting Market Participants decided that a workshop should be conducted to address possible implementation issues.  Mr. Ögelman opined that other efforts to address the 0 to Low Sustained Limit (LSL) issue, particularly LA SCED, may render NPRR444 unnecessary.  Dan Jones observed that the concepts of LA SCED are broad and comprehensive and that it would be more productive to avoid duplication of effort with regard to implementation these two concepts.  Market Participants discussed the appropriate length of the look-ahead period and the implications of that decision on LA SCED development.

Identify Next Steps

Mr. Ragsdale concluded that consensus among Market Participants was for METF to work towards a multi-interval LA SCED.  He noted that the length of the look-ahead period, price formation, and future implementation phases are to be discussed at later METF meetings.  Mr. Ragsdale stated that ERCOT would propose a Real-Time commitment and dispatch approach in a white paper and would provide it to METF.  Market Participants discussed the appropriate forum for the resolution of policy issues.  Mr. Ögelman recommended that such issues be reviewed by METF and the Wholesale Market Subcommittee (WMS) and that participation at METF should be improved.

Adjournment

Mr. Ragsdale adjourned the meeting at 11:49 a.m.

# Market Enhancement Task Force (METF) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

# Thursday, July 26, 2012 – 9:30 p.m. – 3:30 p.m.

# Attendance

| Allen, Thresa | Iberdrola | (Via Teleconference) |
| --- | --- | --- |
| Anklam, Robert | Cargill | (Via Teleconference) |
| Blackburn, Don | Luminant |  |
| Blakey, Eric | TXU Energy | (Via Teleconference) |
| Brandt, Adrianne | Austin Energy |  |
| Bruce, Mark | Stratus Energy Group |  |
| Burke, Tom | Aces Power |  |
| Carlson, Trent | JP Morgan |  |
| Carpenter, Jeremy | Tenaska | (Via Teleconference) |
| Carter, Tim | Constellation |  |
| Chakka, Babu | Austin Energy | (Via Teleconference) |
| Cochran, Seth | DC Energy |  |
| Collins, Bob | TRE | (Via Teleconference) |
| DeTullio, David | Air Liquid | (Via Teleconference) |
| Dittmer, Michael | SWRI | (Via Teleconference) |
| Eckersley, Trevin | Constellation |  |
| Goff, Eric | Reliant |  |
| Greer, Clayton | Morgan Stanley |  |
| Hale, Mike | LCRA | (Via Teleconference) |
| Hastings, David | D Hast Co. | (Via Teleconference) |
| Hellinghausen | EDF Trading | (Via Teleconference) |
| Helton, Bob | GSEMNA |  |
| Jackson, Tom | Austin Energy | (Via Teleconference) |
| Jones, John |  | (Via Teleconference) |
| Krajecki, Jim | CES | (Via Teleconference) |
| Lacey, Frank | Comverg |  |
| Lewin, Doug | EE Partnership | (Via Teleconference) |
| Looney, Sherry | Luminant Energy |  |
| Micek, Kassia | Platts | (Via Teleconference) |
| Muñoz, Manuel | CenterPoint Energy |  |
| Nease, Nelson | Nucor Steel |  |
| Obillo, Joel | Enernoc |  |
| Ögelman, Kenan | CPS Energy |  |
| Payton, Tom | Occidental Chemical Corp. |  |
| Perlman, Brett |  | (Via Teleconference) |
| Pinkston, April | Oncor | (Via Teleconference) |
| Power, David | Public Citizen |  |
| Ross, Courtney | Constellation | (Via Teleconference) |
| Rothschild, Eric | GD Associates | (Via Teleconference) |
| Sandidge, Clint | Noble Solutions | (Via Teleconference) |
| Shaver, Russell | Austin Energy |  |
| Siddiqi, Shams | LCRA |  |
| Stanfield, Leonard | CPS Energy |  |
| Totten, Jess | Comverge |  |
| Trefny, Floyd | Amtec |  |
| Trevino, Melissa | Occidental |  |
| Trout, Seth | Customized Energy Solutions | (Via Teleconference) |
| Varnel, John | Tenaska | (Via Teleconference) |
| Waight, Jim | Siemens | (Via Teleconference) |
| Whittle, Brandon | Stratus Energy Group |  |

ERCOT Staff:

| Bauld, Mandy |  | (Via Teleconference) |
| --- | --- | --- |
| Landry, Kelly |  |  |
| Levine, Jon |  | (Via Teleconference) |
| Obadina, Diran |  |  |
| Ragsdale, Ken |  |  |
| Robinson, Jeff |  |  |
| Wattles, Paul |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

# METF Chair Ken Ragsdale called the meeting to order at 9:37 a.m.

# Antitrust Admonition

Kelly Landry directed attention to the displayed ERCOT Antitrust Admonition and noted the need to comply with these guidelines.  A copy of the guidelines was available for review.

# Review Technical Advisory Committee (TAC) Instructions for METF from June 28th TAC meeting

Mr. Ragsdale reviewed directions to METF given at the 6/28/2012 TAC meeting.  He noted that the directions included instructions for METF to develop a recommendation on the scope of work and approach for a project to provide enhancements to the Real-Time Market that uses the framework of a multi-interval Real-Time Commitment and Real-Time Dispatch and takes into consideration information from the Brattle report and concepts in approved and in-flight Nodal Protocol Revision Requests (NPRRs).  Mr. Ragsdale noted that immediate goal for this METF meeting included the development of the scope of work for a conceptual system design (CSD) document that would be presented at the 10/4/2012 TAC meeting.

# Review Draft Real-Time Market Enhancement Road Map

Mr. Ragsdale presented ERCOT’s Real-Time Market Enhancement Road Map including an outline for development of project documentation.  He stated once the scope of work for the CSD was developed, ERCOT would develop a draft of the CSD and related white papers.  Mr. Ragsdale stated that these documents would be presented for Market Participant review 8/23/2012.  Market Participants inquired into whether this documentation could be presented earlier.  Mr. Ragsdale stated that it would not be ready for review until 8/23/2012 and offered that additional METF meetings could be conducted in September and October 2012 to accommodate further discussion.

# Brief Discussion of the Participation of Loads in the Enhanced Real-Time Market (RTC and RTD)

Paul Wattles stated that Market Participants with Load are encouraged to participate in the efforts to enhance the Real-Time commitment and Real-Time dispatch and to participate in related pilot projects.  Mr. Wattles stated that price responsiveness with regard to Load Resources is an important aspect to this concept.  Market Participants discussed the pros and cons of Load participants in Security Constrained Economic Dispatch (SCED) and the concept of allowing Load Resources to be bid up to a specified megawatt and dollar value.

# Update On The Recent Release To Production of NPRR 351, SCED Look-Ahead Step 1: Pricing: Calculate Non-Binding Prices and Base points for Initial Research into SCED Look-Ahead and allow Consumers to have a Forward Price Projection

Kittipong Methaprayoon presented the initial results of the implementation of NPRR351.  Market Participants discussed the accuracy of the data and the assumptions by ERCOT Staff.  Market Participants requested that a supplemental presentation be provided indicating the assumptions and how the results differ at five, ten, fifteen minutes ahead.  Market Participants also requested further information regarding the accounting for of energy constraints.  Mr. Methaprayoon agreed with providing the additional detail and stated that Market Participant observations regarding any patterns in the data were welcome.

# List the Topics That Need to be addressed by October to meet TAC Expectations

Market Participants reviewed the Draft Real-Time Market Enhancement Road Map and drew from it questions to be addressed prior to the 10/4/2012 TAC meeting.  The complete list of questions is available at the 7/26/2012 METF meeting page.

(See, http://www.ercot.com/content/meetings/metf/keydocs/2012/0726/06_rtm_questions_7_31_2012.doc)

Adjournment

Mr. Ragsdale adjourned the meeting at 1:50 p.m.