Operations Working Group Meeting

Wednesday, 08/15/12

Austin - MET Center

In Attendance:

Brad Calhoun – CNP (TO)

Brenda Hampton – Luminant

Rick Keetch – NRG

Jeff Sims – CPS

Laura Zotter – Austin Energy (TO)

Robert Avila – BPUB

Curtis Graves – Austin Energy

Curtis Crews – TRE

David Penny – TRE

Bob Temple - WETT

Ross Owen – Oncor (TO)

Larry McCoslin – Austin Energy (TO)

Stan Morris - TNMP

Frank Owens - CTT

Matt Carter – GP&L (TO)

Jeremy Carpenter - Tenaska

Larry Grimm – Navigant

Kevin Sills – Oncor

Tony Kroskey – Brazos

Yvette Landin – ERCOT (RC)

Colleen Frosch – ERCOT (RC)

Leo Villanueva – ERCOT (RC)

Vijay Betanabhatla – ERCOT (RC)

Dial-In Attendees:

Henry Wood – STEC

Kathy Scott - CNP (TO)

- Antitrust Admonition – Meeting opened at 9:30 with a review of the Antitrust Admonition by Brad Calhoun.

- ROS Meeting – No new items to report.

- June OWG Meeting Notes - Notes approved.

- NOGRR Reviews

  - 100NOGRR: Extending Manual Time Error Correction Threshold

This NOGRR extends the manual time error correction threshold from +/- 3 seconds to +/- 30 seconds.

Impact analysis: No impact to ERCOT.

Endorsed IA and forwarded to ROS.

  - 101NOGRR Market Transparency for DC Tie Outage Information

This NOGRR provides that ERCOT shall produce a detailed report regarding any outage of a Direct Current Tie (DC Tie) in a timely manner.  Outages of interconnection points between the ERCOT and non-ERCOT Control Areas have market implications on both the ERCOT market and the interconnected market.

ERCOT comment: TSP needs to provide more information (Specific work being done, other outages related to DC tie outage etc) so ERCOT can post the information to MIS.

Recommended approval as amended by the 7/30 Calpine comments and as revised by the 8/13 ERCOT comments.

  - 102NOGRR Synchronization with NPRR454, Removal of Unfunded Project List Language

This NOGRR aligns the Nodal Operating Guides with Nodal Protocol Revision Request (NPRR) 454 (approved by the ERCOT Board on July 17, 2012) which removed language regarding the Unfunded Project List.  This NOGRR also aligns the Nodal Operating Guides with the Protocols by requiring ERCOT’s opinion in the TAC Report for any NOGRR requiring an ERCOT project for implementation; and includes administrative alignment changes

Send out for impact analysis to ERCOT.

Recommended approval as revised by the 8/13 ERCOT comments.

- Monthly Operations Report for June

Vijay reviewed the report, no comments or questions were received.

- Nodal Protocol and Guides Resolution Task Force Report

The resolution task force did not meet.

- Operations Task Force Report

No Updates

- Texas RE Update Report Upcoming events

David and Curtis sent out a list of questions related to references to “emergency” in protocols. Brad will compile all such references and try to answer TRE questions.

- System Operations Report

There were no new ERCOT procedures to review.

- Other

Ross Owen mentioned that there are a lot of units that did not perform the 2 year reactive testing. It is important for all the units to perform and provide the latest test results on NDCRC website so the TOs can easily access the information to perform reliability studies.

Brad will discuss this issue at ROS and ask for direction.

- Future Meeting Date

Wednesday, September 19th

- Meeting Adjourned at 12:25.

Notes compiled by Vijay Betanabhatla