| NOGRR Number | 101 | NOGRR Title | Market Transparency for DC Tie Outage Information |
| --- | --- | --- | --- |

| Date | October 17, 2012 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Bill Blevins |
| E-mail Address | bblevins@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6691 |
| Cell Number |  |
| Market Segment | Not applicable. |

Comments

As a part of the implementation of Nodal Operating Guide Revision Request (NOGRR) (NOGRR)084, Daily Grid Operations Summary Report, ERCOT has determined that DC Tie outage information report cannot be included as part of the Daily Grid Operations Summary Report because it is not available to be automated.  NOGRR084 is being designed to be automated and therefore the information required by NOGRR101 will need to be reported manually.  Additionally the information being supplied by the Transmission Service Provider (TSP) submitting the outage under paragraph (b) of Section 10.1, Direct Current Tie Outage Information, could possibly include Protected Information. Therefore this report cannot come from systems in an automated manner as currently written.

ERCOT defers the filing of an Impact Analysis pending further clarification to Section 10, Market Data Transparency.

Further, ERCOT could provide some additional clarity as to the reason for the outage.  The revised language requires the TSP to indicate whether the DC Tie is being outaged for maintenance or for nearby transmission Outages.  This would address concerns about confidential information while allowing parties impacted by the outages to know the underlying reasons, and to assess whether there may be a sufficient basis for refunds related to the transmission agreements across DC Ties.

Alternately a system change could be made which enables a drop down for the TSP to select in the outage scheduler to indicate whether the outage of the DC Tie is for maintenance or nearby transmission outages. This would provide the information being requested by the NOGRR and would allow for automation but this could not be implemented without system changes in the Outage Scheduler.

Revised Proposed Guide Language

- 10	Market Data Transparency

Information in this section provides reporting transparency for operational level data.  The information in this section is provided in addition to those required in the other sections of the Protocols or these Operating Guides.  Pursuant to Protocol Section 12.2 ERCOT Responsibilities, ERCOT shall post information to the Market Information System (MIS) as directed throughout these Operating Guides.

- 10.1 	Direct Current Tie Outage Information

- (1)	In addition to requirements in Protocol Sections 3.1.4.5, Management of Resource or Transmission Forced Outages or Maintenance Outages, and 3.1.5.1, ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities, Transmission Service Providers (TSPs) shall also enter the following information into the Outage Scheduler:

(a)	Specific work being performed; and

(b)	If the outage is due to work being performed on the DC Tie or if there is a transmission outage which also requires an outage on the DC Tie.

(2)	As soon as practicable, ERCOT shall provide the DC Tie name, start date/time, and end date/time for Forced Outages and Derates on the MIS Public Area.

(3)	One Business Day following the approval or cancellation of a Planned, Maintenance, or Forced Outage, ERCOT shall provide the following information on the MIS Public Area:

(a)	Equipment name;

(b)	Start date and time;

(c)	End date and time;

(d)	General work being performed; and

(e)	If the outage is due to work being performed on the DC Tie or if there is a transmission outage which also requires an outage on the DC Tie..

[NOGRR101: Delete paragraph (3) above, upon system implementation:]

[NOGRR084: Insert Section 10.2, Daily Grid Operations Report, below upon system implementation:] - 10.2 Daily Grid Operations Report For each Operating Day, ERCOT shall post to the Market Information System (MIS) Public Area on the following Business Day, a summary level report of the prior day’s operational information that shall include the following data elements: (a) Peak Load; (b) Peak hour; (c) Planned peak Load from the Day Ahead Load Forecast; (d) Planned peak hour from the Day Ahead Load Forecast; (e) Amount, duration, time deployed and time recalled for each deployment of Responsive Reserve (RRS) from Generation Resources and Controllable Load Resources; (f) Each instance of Verbal Dispatch Instruction (VDI) deployment of Load Resources providing RRS; (g) Amount, duration, time deployed, and time recalled for each Non-Spinning Reserve (Non-Spin) deployment with designation as Off-Line if available; (h) Security-Constrained Economic Dispatch (SCED) offset (including SCED timestamp, offset timestamp and amount); (i) Summary of Reliability Unit Commitment (RUC) intervals for which a RUC commitment or decommitment occurred; (j) Summary of intervals for which Reliability Must-Run (RMR) Resources are committed; (k) List of SCED intervals which reached the Shadow Price cap and constraint associated with each; (l) Number of Resources with manual High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs) manual overrides and a list of the constraints which were the cause of the override; (m) List of Emergency Condition Notifications; and (n) A frequency deviation event equal to or greater than .10 Hz which shall include: (i) ERCOT Load at the time of each event; (ii) Time of each event; (iii) Amount of generation and Load lost contributing to the event; and (iv) Approximate lowest frequency.