POTENTIAL ISSUES (may be Protocols, Operating Guides, Operating Procedures, OBD or other, e.g. white paper):

- In Protocols 8.1.1.4.3, performance criteria based on MB/MA approach:  definition of “baseline” not appropriate for many ALRs.  Define SPC and SPC-plus two approach.

  - Add equivalent of CLREDP applicable to Nonspin (NSLREDP?).

  - Add Portfolio-first event performance requirements (NSLRPEDP).

    - Is portfolio defined as TLAP-wide or Region-wide?   (May need to accommodate locational Nonspin dispatch.)

  - Create a Resource Status for CLR providing Nonspin.(NP3.9.1(4)(iii))

- Clarify SPC-Plus 2 Hours requirement:  is it a single value representing 2 hours out?  Five-minute or 15-minute?

- Dispatch and Recall:

  - What if obligation begins during the Sustained Response Period of an event?

  - What if obligation begins during the Ramp Period?

  - What if obligation expires during Ramp Period?

  - What if obligation expires during Sustained Response Period?

  - Consider process for re-dispatch at the top of an hour?

    - Could also apply to Generators.