| NPRR Number | 483 | NPRR Title | REC Program Renewable Resource Self-Reporting MWH Production Data and Metering Requirements |
| --- | --- | --- | --- |
| Date Posted |  | September 14, 2012 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Section Requiring Revision |  | 14.5.1, Renewable Energy Credit Generators and Renewable Energy Credit Offset Generators |  |
| Market Guide Section Requiring Revision |  | None. |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) provides an option for a renewable All-Inclusive Generation Resource to self-report quarterly MWh production data to ERCOT for use in the Renewable Energy Credit (REC) Program. In addition, this NPRR establishes metering requirements for any renewable All-Inclusive Generation Resource choosing to self-report MWh production data for use in the REC Trading Program. |  |
| Reason for Revision |  | This NPRR aligns the Protocols with P.U.C. Subst. R. 25.173, Goal for Renewable Energy, in regards to awarding RECs to renewable All-Inclusive Generation Resources for MWh production. Metering that is located at the ERCOT Point of Interconnection (POI) records net energy flows and there are instances in which the output from a renewable All-Inclusive Generation Resource serves on-site Load. If generation data is in the ERCOT Settlement systems for a renewable All-Inclusive Generation Resource, current Protocol language has a requirement that the data be utilized for awarding RECs. In instances where on-site Load is being served by the renewable All-Inclusive Generation Resource, the data in ERCOT Settlement systems would not account for all the MWh production data. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Alignment of ERCOT Protocols with P.U.C. Subst. R. 25.173. |
|  | 2 | For Entities certified to produce RECs from landfill gas supplied directly to a gas distribution system operated by a Municipally Owned Utility (MOU), provides option for self-reporting generation data in an electronic format. |
|  | 3 | Provides option for Renewable All-Inclusive Generation Resource Facilities to self-report their Settlement quality MWh production data to ERCOT. |
|  | 4 | Defines metering requirements for Renewable All-Inclusive Generation Resource Facilities that elect to self-report their Settlement quality MWh production data to ERCOT. |

| Sponsor |  |
| --- | --- |
| Name | Don Tucker |
| E-mail Address | dtucker@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3913 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

Proposed Protocol Language Revision

14.5.1	Renewable Energy Credit Generators and Renewable Energy Credit Offset Generators

(1)	All Renewable Energy Credit (REC) generators and REC offset generators must report quarterly MWh production data to ERCOT no later than the 38th day after the last Operating Day of the quarter, in an electronic format prescribed by ERCOT.  The reported MWh quantity shall be solely produced from, and attributable to, a renewable generator as so designated by the Public Utility Commission of Texas (PUCT).  Information relevant to quarterly reporting shall be handled in one of the following processes:

(a)	Renewable All-Inclusive Generation Resource Facilities  that have interval meters, pursuant to Section 10, Metering, and have interval metered generation data provided to ERCOT for energy Settlement will:

(i)	Have the quarterly reporting function performed on their behalf by ERCOT using the Settlement Quality Meter Data extracted from the ERCOT Settlement system; or

(ii)	Self-report their Settlement quality MWh production data to ERCOT, in a format and on a timeline prescribed by ERCOT, based on Metering Facilities that are:

(A)	Installed in a location to only record energy from generation certified by the PUCT to receive RECs;

(B)	Compliant with American National Standards Institute (ANSI) C12, Code for Electricity Metering, metering accuracy standards, and

(C)	Verified for accuracy every six years

(b)	REC aggregation companies shall report production from microgenerator renewable energy Resources that are not interval metered for energy Settlement, in accordance with the methodology approved by the PUCT for the purposes of measuring the REC production of such Resources, in the format prescribed by ERCOT, including applicable supporting documentation;

(c)	All other REC generators, not specifically covered in items (a) and (b) above, must report Settlement quality MWh production data to ERCOT in a format and on a timeline prescribed by ERCOT; provided that REC generators not interconnected to any Transmission and/or Distribution Service Provider (TDSP) may use performance measures for REC production as approved by the PUCT; or

(d)	Entities certified to produce RECs from landfill gas supplied directly to a gas distribution system operated by a Municipally Owned Utility (MOU) shall report the MWh equivalent production data and supporting calculations to ERCOT on a timeline prescribed by ERCOT.

(2)	From time to time, or as determined to be necessary by ERCOT or the PUCT, Entities may be required to submit supporting documentation to allow verification of generation quantities.

(3)	The failure of a REC generator to report generation data in a timely fashion shall result in a delay in the issuance of RECs or Compliance Premiums for that generation facility for that quarter.  RECs or Compliance Premiums delayed by untimely reporting will be awarded during the REC award period next occurring after the required data are reported.  The issue date of such RECs or Compliance Premiums will be based on the quarter in which the RECs or Compliance Premiums were actually generated.