| NPRR Number | 491 | NPRR Title | Updated Distributed Generation and Demand Response Information for ERCOT |
| --- | --- | --- | --- |
| Date Posted |  | October 19, 2012 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 3.10.7.2.1, Reporting of Distributed Generation and Demand Response (new) 3.14.3.4, Emergency Response Service Reporting and Market Communications |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) proposes to provide ERCOT and the market with needed information on Distributed Generation (DG) and demand response. |  |
| Reason for Revision |  | Presently, the market (and possibly ERCOT) has extremely limited information on the MW capability and location of DG and demand response Resources. Given that both existing infrastructure, ERCOT situational awareness, Resource commitment and Locational Marginal Prices (LMPs) can be affected by DG and demand response, this is a gap that needs to be addressed through enhanced reporting. Additionally, ERCOT would benefit from more granular information reported through a standard process to use in Load forecasting and commitment algorithms as well as the Report on the Capacity, Demand, and Reserves in the ERCOT Region and other short and long term analyses. |  |
| Credit Implications |  | None anticipated – focus is market transparency and reporting. |  |

Business Case

| Business Case | 1 | - This NPRR would enhance both ERCOT and Market Participant understanding about the penetration and operation of DG and demand response. Additionally it would provide more details on emergency operations. |
| --- | --- | --- |
|  | 2 | - This NPRR will provide aggregated information to the market on items above. It potentially could save Market Participants time in trying to estimate and gather this information themselves. Further, the reporting provides ERCOT with a glimpse of the operations of DG and demand response which could assist them in Load forecasting, and resource adequacy and longer term reporting. We would propose that the time it saves to ERCOT and some Market Participants is offset by time required of other segments. (see below) |
|  | 3 | - This NPRR will require reporting from some Entities. |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | M Wagner |
| E-mail Address | Mwagner@edisonmisison.com |
| Company | Edison Mission Marketing & Trading |
| Phone Number | 617-529-3127 |
| Cell Number |  |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Ann Boren |
| E-Mail Address | aboren@ercot.com |
| Phone Number | 512-275-7411 |

Proposed Protocol Language Revision

2.1	DEFINITIONS

Off-Peak Hours

Hours that are not On-Peak Hours

3.10.7.2.1	Reporting of Distributed Generation and Demand Response

(1)	No later than February 1 and August 1 of each year, each Entity that receives payment through the ERCOT Settlement process for the provision of energy from a Non-Modeled Generator shall submit to ERCOT, in an ERCOT prescribed format, the following information for each month of the preceding six months:

(a)	The location and MWs (to the nearest 0.1 MW) for each Non-Modeled Generator, total MWhs (to the nearest 0.1 MWh) generated per month, separated out by On-Peak Hours and Off-Peak Hours; and

(b)	On a true-up basis, corrections to actual generation based on final Settlement Statements for previously filed reports.

(2)	No later than February 1 and August 1 of each year, each Entity that receives payment through the ERCOT Settlement process for the provision of energy from demand response shall submit to ERCOT, in an ERCOT prescribed format, the following information for each month of the preceding six months:

(a)	The location and MWs (to the nearest 0.1 MW) for each demand response provider (including Electric Service Identifier (ESI ID) if applicable), total MWhs (to the nearest 0.1 MWh) provided per month, separated out by On-Peak Hours and Off-Peak Hours; and

(b)	On a true-up basis, corrections to actual MWhs provided based on final Settlement Statements for previously filed reports.

(3)	Based on the reporting in paragraphs (1) and (2) above, no later than March 1 and September 1 of each year, ERCOT shall post aggregate MW and MWh results by Weather Zone, by month, for On-Peak Hours and Off-Peak Hours on the MIS Public Area for the preceding 12 months for Non-Modeled Generators and demand response separately.

3.14.3.4	Emergency Response Service Reporting and Market Communications

(1)	ERCOT shall review the effectiveness and benefits of ERS every 12 months from the start of the program and report its findings to TAC no later than April 15 of each calendar year.  The report shall set out separately, MWs from ERS Generators (with aggregated and non-aggregated ERS Generators set forth separately) and MWs from ERS Resources as well as location of MWs by Weather Zone.  The report shall include these values for each ERS Contract Period broken down by Time Of Use (TOU).

(2)	Prior to the start of the first ERS Contract Period in an ERS Standard Contract Term, and no later than the end of the third Business Day following the start of any subsequent ERS Contract Period in an ERS Standard Contract Term, ERCOT shall post on the MIS Public Area the number of MW procured per ERS Time Period, the number and type of ERS Resources selected, and the projected total cost of ERS for that ERS Contract Period.

(3)	ERCOT shall post the following documents to the MIS Certified Area:

(a)	ERS Award Notification;

(b)	ERS Resources Submission Form – Approved;

(c)	ERS Resource Event Performance Evaluation Results;

(d)	ERS Resource Availability Summary for Contract Period;

(e)	ERS Test Portfolio Designation Notification;

(f)	ERS Resource Test Results;

(g)	ERS Pre-populated ERS Resource Identification Forms;

(h)	ERS Resource Group Assignments;

(i)	ERS Resource Submission Form – Error Reports;

(j)	ERS Preliminary Baseline Review Results;

(k)	ERS QSE Portfolio Availability Summary for a Contract Period;

(l)	ERS QSE Portfolio Event Performance Summary for a Contract Period; and

(m)	ERS Meter Data Error Report.

(4)	At least 24 hours before an ERS Contract Period begins, ERCOT shall provide each affected TDSP with:

(a)	A list of ERS Resources and members of aggregated ERS Resources located in the TDSP’s service area that will be participating in ERS during the upcoming ERS Contract Period;

(b)	The name of the QSE representing each ERS Resource;

(c)	All applicable ESI IDs associated with each ERS Resource; and

(d)	The date(s) of the interconnection agreement(s) for each generator in any ERS Generator.

(5)	TDSPs shall maintain the confidentiality of the information provided pursuant to paragraph (4) above.