| NPRR Number | 475 | NPRR Title | EPS Metering Exception for ERS Generation |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | October 18, 2012 |  |  |
| Proposed Effective Date |  | January 1, 2013 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 10.2.2, TSP and DSP Metered Entities 10.2.3, ERCOT-Polled Settlement Meters |  |  |
| Market Guide Section(s) Requiring Revision |  | None |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) allows transmission-connected generators providing Emergency Response Service (ERS) to be exempt from the requirements for ERCOT-Polled Settlement (EPS) Metering if their energy exports to the ERCOT System occur only during ERS deployments or tests; and requires that Transmission Service Provider (TSP) and Distribution Service Provider (DSP) metering be installed to measure any energy exported to the ERCOT Transmission Grid, and that the Transmission and/or Distribution Provider (TDSP) submit data to ERCOT for Settlement. |  |  |
| Reason for Revision |  | This NPRR reduces the market costs for metering associated with transmission-connected generation participating in the ERS program. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR475 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 8/8/12, NPRR475 and an Impact Analysis were posted. - On 8/23/12, PRS considered NPRR475. - On 9/11/12, Oncor comments were posted. - On 9/20/12, PRS again considered NPRR475. - On 10/18/12, PRS considered the 9/20/12 PRS Report and Impact Analysis for NPRR475. |  |  |
| PRS Decision |  | On 8/23/12, PRS voted to table NPRR475 and refer the issue to WMS and to support ERCOT continuing to extend or grant temporary exemptions necessary for ERS Contract Periods while NPRR475 is pending. There was one abstention from the Independent Generator Market Segment. All Market Segments were present for the vote. On 9/20/12, PRS voted to recommend approval of NPRR475 as submitted. There were three abstentions from the Independent Power Marketer (IPM) and Independent Generator (2) Market Segments. All Market Segments were present for the vote. On 10/18/12, PRS voted to endorse and forward the 9/20/12 PRS Report and Impact Analysis for NPRR475 to TAC. There was one abstention from Independent Generator Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 8/23/12, ERCOT Staff explained that there are Market Participants with ERS generation that want to be allowed to offer bids into the ERS program, and this NPRR would allow the generation that is exported to the ERCOT Transmission Grid during an ERS event to be recorded by a TSP meter instead of an EPS Meter; that four sites have been granted temporary exemptions; and that this NPRR addresses ERS Settlement issues only and does not change EPS requirements. Some Market Participants opined that although NPRR475 as submitted addresses Settlement issues, there are telemetry and operational aspects of ERS that can impact reliability that should be addressed through NPRR475, while others argued that telemetry and operational issues should be addressed in a separate NPRR. On 9/20/12, participants again considered whether telemetry and operational issues should be addressed through NPRR475 or in a separate forum. Following this discussion, PRS voted to recommend approval of NPRR475 as submitted. On 10/18/12, there was no discussion. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Reduced market cost for metering generation that will only export energy to the ERCOT Transmission Grid during an ERS deployment. |

| Sponsor |  |
| --- | --- |
| Name | Don Tucker |
| E-mail Address | dtucker@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3913 |
| Cell Number | 512-560-2378 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Oncor 091112 | Endorsed NPRR475 as submitted and provided information on metering of ERS generation sites for Settlement purposes pursuant to NPRR475. |

Comments

Please note that NPRR461, Energy Storage Settlements Consistent With PUCT Project 39917, also proposes revisions to Section 10.2.3.

Proposed Protocol Language Revision

10.2.2	TSP and DSP Metered Entities

(1)	Each Transmission Service Provider (TSP) and Distribution Service Provider (DSP) is responsible for supplying ERCOT with meter data associated with:

(a)	All Loads using the ERCOT System;

(b)	Any All-Inclusive Generation Resource that delivers less than ten MW to the ERCOT System and that is connected directly to the distribution system; a DSP may make some or all such meters ERCOT-Polled Settlement (EPS) compliant and may request that ERCOT poll the meters.  Notwithstanding the foregoing sentence, meter data is not required from:

(i)	Generation owned by a Non-Opt-In Entity (NOIE) and used for the NOIE’s self-use (not serving Customer Load);

(ii)	Distributed Renewable Generation (DRG) with a design capacity less than 50 kW interconnected to a DSP where the owner chooses not to have the out-flow measured in accordance with P.U.C. Subst. R. 25.213, Metering for Distributed Renewable Generation; and

(iii)	Distributed Generation (DG) interconnected to a DSP behind a registered NOIE boundary metering point, not registered as a Generation Resource and with an installed capacity below the DG registration threshold, as determined in Section 16.5, Registration of a Resource Entity, and posted on the Market Information System (MIS) Public Area.

(c)	NOIE points of delivery where metering points are radial Loads and are unidirectionally metered.  A TSP or DSP has the option of making some or all such meters EPS compliant and to request that ERCOT poll the meters; and

(d)	Generation participating in a current Emergency Response Service (ERS) Contract Period, where such generation only exports energy to the ERCOT System during an ERS deployment or ERS test.

(2)	Each TSP and DSP is responsible for the following:

(a)	Compliance with the procedures and standards in this Section, the Settlement Metering Operating Guide (SMOG) and the Operating Guides;

(b)	Installation, control, and maintenance of the Settlement Metering Facilities, as more fully described in this Section and the SMOG, which includes meters, recorders, instrument transformers, wiring, and miscellaneous equipment required to measure electrical energy;

(c)	Costs incurred in the installation and maintenance of these Metering Facilities and communications except for incremental costs incurred for functions not required for the Settlement of the Load or All-Inclusive Resource.  These incremental costs shall be borne by the Entities requesting the service pursuant to the TSP or DSP tariffs;

(d)	Installation, maintenance, data collection, and related communications, telemetry for the Metering Facilities, and related services necessary to meet the mandatory Interval Data Recorder (IDR) Meter requirements detailed in this Section, Section 18, Load Profiling, and the SMOG; and

(e)	Providing ERCOT with any data required by ERCOT for reporting purposes on unregistered DG.

(i)	NOIE DSP reporting requirements:

(A)	Details of this data requirement are located in the Commercial Operations Market Guide (COPMG).

(B)	Reporting is limited to DG resources over 50 kW and capable of flowing excess energy onto the DSP system.

10.2.3	ERCOT-Polled Settlement Meters

(1)	ERCOT shall poll Metering Facilities that meet any one of the following criteria:

(a)	Generation connected directly to the ERCOT Transmission Grid, unless the generation is participating in a current ERS Contract Period and the generation only exports energy to the ERCOT Transmission Grid during an ERS deployment or ERS test;

(b)	Auxiliary meters used for generation netting by ERCOT;

(c)	Generation delivering ten MW or more to the ERCOT System;

(d)	Generation participating in any Ancillary Service market;

(e)	NOIE points connected bi-directionally to the ERCOT System; and

(f)	Direct Current Ties (DC Ties).

(2)	Additionally, ERCOT shall poll any All-Inclusive Generator or NOIE metering point at the request of such Entity, provided the Metering Facility meets all requirements and approvals associated with EPS Metering requirements of this Section and the SMOG.  Load Resources of ten MW or more on the ERCOT System, may, at their option have an EPS Meter.