Date: 	October 25, 2012

To:	Technical Advisory Committee (TAC) Representatives

From:	Tom Burke, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs)

##### Issue: ##### Consideration of the following Revision Requests recommended for approval by PRS: - NPRR475, EPS Metering Exception for ERS Generation* - NPRR476, Market Submitted Energy Offer Curves Disclosures - NPRR478, Extension of DAM QSE Offer and Bid Submission Deadline Due to ERCOT Systems Delays* - NPRR479, Daily Net Outage MW - NPRR480, Removal of Language for Relaxing Transmission Constraints* - NPRR481, Report of Hourly Actual System Load by Weather Zone - NPRR482, Removal of Duplicative Statement of Opportunity Requirements* - NPRR485, Clarification for Fuel Adder Provisions - Urgent (*) denotes no impacts

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. NPRRs Recommended for Approval - NPRR475, EPS Metering Exception for ERS Generation [ERCOT]. Proposed Effective Date: January 1, 2013 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR allows transmission-connected generators providing Emergency Response Service (ERS) to be exempt from the requirements for ERCOT-Polled Settlement (EPS) Metering if their energy exports to the ERCOT System occur only during ERS deployments or tests; and requires that Transmission Service Provider (TSP) and Distribution Service Provider (DSP) metering be installed to measure any energy exported to the ERCOT Transmission Grid, and that the Transmission and/or Distribution Provider (TDSP) submit data to ERCOT for Settlement. PRS Decision: On 9/20/12, PRS voted to recommend approval of NPRR475 as submitted. There were three abstentions from the Independent Power Marketer (IPM) and Independent Generator (2) Market Segments. On 10/18/12, PRS voted to endorse and forward the 9/20/12 PRS Report and Impact Analysis for NPRR475 to TAC. There was one abstention from the Independent Generator Market Segment. - NPRR476, Market Submitted Energy Offer Curves Disclosures [MISUG]. Proposed Effective Date: Upon System Implementation – Priority 2013; Rank 800. ERCOT Impact Analysis: $45k - $60k; no impacts to ERCOT staffing; impacts to Information Systems Master (ISM) and Market Information System (MIS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR provides for the addition of as submitted and extended Energy Offer Curves to the existing 60-Day Security-Constrained Economic Dispatch (SCED) Disclosure Report; and extended Energy Offer Curves to the 7-Day Event Trigger Posting when the Locational Marginal Price (LMP) exceeds 50 times the Fuel Index Price (FIP) Report. PRS Decision: On 9/20/12, PRS voted to recommend approval of NPRR476 as amended by the 8/22/12 ERCOT comments and as revised by PRS. There was one abstention from the Cooperative Market Segment. On 10/18/12, PRS voted to endorse and forward the 9/20/12 PRS Report as amended by the 10/16/12 ERCOT comments and Impact Analysis for NPRR476 to TAC with a recommended priority of 2013 and rank of 800. There was one abstention from the Cooperative Market Segment. - NPRR478, Extension of DAM QSE Offer and Bid Submission Deadline Due to ERCOT Systems Delays [Calpine]. Proposed Effective Date: January 1, 2013 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR extends the submission deadline for Qualified Scheduling Entities’ (QSEs’) bids and offers in the Day-Ahead Market (DAM) subsequent to a system-wide delay caused by a failure of ERCOT’s market applications. PRS Decision: On 9/20/12, PRS unanimously voted to recommend approval of NPRR478 as amended by the 9/10/12 ERCOT comments. On 10/18/12, PRS voted to endorse and forward the 9/20/12 PRS Report and Impact Analysis for NPRR478 to TAC. There was one abstention from the Independent Generator Market Segment. - NPRR479, Hourly Reporting of Resource Outaged Capacity (formerly “Daily Net Outage MW”) [Mercuria Energy]. Proposed Effective Date: Upon System Implementation – Priority 2013; Rank 795. ERCOT Impact Analysis: $50k - $60k; no impacts to ERCOT staffing; impacts to Outage Scheduler (OS), Current Day Reports (CDR), and MIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR modifies the information provided by ERCOT to Market participants regarding net daily Outage MWs. PRS Decision: On 9/20/12, PRS voted via roll call vote to recommend approval of NPRR479 as amended by the 9/13/12 WMS comments and as revised by PRS. There were three opposing votes from the Independent Generator, Independent Retail Electric Provider (IREP) and Municipal Market Segments and five abstentions from the Consumer, Independent Generator, IPM and Investor Owned Utility (IOU) (2) Market Segments. On 10/18/12, PRS voted to endorse and forward the 9/20/12 PRS Report as amended by the 10/15/12 ERCOT comments and Impact Analysis for NPRR479 to TAC with a recommended priority of 2013 and rank of 795. There was one abstention from the IREP Market Segment. - NPRR480, Removal of Language for Relaxing Transmission Constraints [ERCOT]. Proposed Effective Date: January 1, 2013 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR deletes Protocol language that is inconsistent with North American Electric Reliability Corporation (NERC) Reliability Standards. PRS Decision: On 9/20/12, PRS unanimously voted to recommend approval of NPRR480 as submitted. On 10/18/12, PRS voted to endorse and forward the 9/20/12 PRS Report and Impact Analysis for NPRR480 to TAC. There was one abstention from the Independent Generator Market Segment. - NPRR481, Report of Hourly Actual System Load by Weather Zone [MISUG]. Proposed Effective Date: Upon System Implementation – Priority 2013; Rank 810. ERCOT Impact Analysis: $25k - $35k; no impacts to ERCOT staffing; impacts to CDR and MIS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR provides for a report of the hourly actual system Load for each Weather Zone for the previous Operating Day. PRS Decision: On 9/20/12, PRS unanimously voted to recommend approval of NPRR481 as submitted. On 10/18/12, PRS unanimously voted to endorse and forward the 9/20/12 PRS Report and Impact Analysis for NPRR481 to TAC with a recommended priority of 2013 and rank of 810. - NPRR482, Removal of Duplicative Statement of Opportunity Requirements [ERCOT]. Proposed Effective Date: January 1, 2013 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes statement of opportunity language in the Protocols that is duplicative of requirements in P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability Council of Texas Power Region. ERCOT will continue to comply with the Public Utility Commission of Texas (PUCT) rule by retaining the posting requirement in the Protocols. PRS Decision: On 9/20/12, PRS voted to recommend approval of NPRR482 as submitted. There was one abstention from the Independent Generator Market Segment. On 10/18/12, PRS voted to endorse and forward the 9/20/12 PRS Report and Impact Analysis for NPRR482 to TAC. There was one abstention from the Independent Generator Market Segment. - NPRR485, Clarification for Fuel Adder Provisions [Luminant] - Urgent. Proposed Effective Date: To be determined. ERCOT Impact Analysis: To be determined. Revision Description: This NPRR will provide for consistent application of the fuel adder that is meant to compensate Resources for the actual cost of transporting and purchasing fuel on the spot market across Mitigated Offer Caps and Reliability Unit Commitment (RUC) instructions, as well as, allow for Resource-specific verifiable costs to be submitted and verified by ERCOT. PRS Decision: On 10/18/12, PRS voted to grant NPRR485 Urgent status. There were three opposing votes from the Consumer Market Segment and one abstention from the IPM Market Segment. PRS then voted to recommend approval of NPRR485 as submitted and to forward NPRR485 to TAC. There was one opposing vote from the Consumer Market Segment and one abstention from the Municipal Market Segment. Revision Requests Rejected and Failed Motions None. Revision Requests Withdrawn (no TAC action required) None. Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the November 15, 2012 PRS Meeting - NPRR385, Negative Price Floor (formerly “Security Violation Analysis and Reporting and Negative Price Floor”) [Luminant Energy] - NPRR473, Process for Submission of Generation Resource Weatherization Information [ERCOT] - NPRR483, REC Program Renewable Resource Self-Reporting MWH Production Data and Metering Requirements [ERCOT] - NPRR484, Revisions to Congestion Revenue Rights Credit Calculations and Payments [Luminant Energy] - NPRR487, QSGR Dispatch Adjustment [Luminant Energy] - Urgent - NPRR488, Resource Entity and LSE QSE Designation or Change [ERCOT] - NPRR489, Planning Reserve Margin [NRG Energy] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT] - NPRR429, HASL Offset Provision [Morgan Stanley] - NPRR444, Supplemental Reliability Deployments [Morgan Stanley] - Urgent - NPRR461, Energy Storage Settlements Consistent With PUCT Project 39917 [ERCOT] - NPRR474, Clarification of Price Correction Principles and Associated Timelines [ERCOT] - NPRR486, Calculation of Generation to be Dispatched [Luminant Energy] - NPRR490, Clarification of TSP Definition and Confidentiality Obligations [ERCOT] New Revision Requests Scheduled for Consideration at the November 15, 2012 PRS Meeting - NPRR491, Updated Distributed Generation and Demand Response Information for ERCOT [Edison Mission] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/nprotocols/nprr