| NPRR Number | 444 | NPRR Title | Supplemental Reliability Deployments |
| --- | --- | --- | --- |
| Date |  | March 27, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Katie Coleman |  |
| E-mail Address |  | kcoleman@andrewskurth.com |  |
| Company |  | Andrews Kurth, LLP on behalf of Texas Industrial Energy Consumers (TIEC) |  |
| Phone Number |  | 512-320-9226 |  |
| Cell Number |  | 512-773-0394 |  |
| Market Segment |  | Consumer |  |

Comments

TIEC is aware that the Commission has expressed interest in addressing any adverse pricing effects that result from 0-LSL energy.  However, the current proposal in NPRR 444 goes far beyond this narrow objective and would cause significant damage to the market and consumers.  This proposal is based on several incorrect assumptions, is not consistent with cost-causation principles, is discriminatory against Load Resources, and inappropriately shifts risks to market participants that have no ability to hedge against or manage those risks.

First, energy from Load Resources is not 0-LSL energy, and should not be treated as if it were.  To include it as 0-LSL energy would discriminate against load resources and is inconsistent with sound market principles.  Second, to the extent that 0-LSL energy has been shown to distort market prices, TIEC believes that this impact should be addressed in the least intrusive manner possible.  NPRR 444 should therefore be limited solely to correcting any pricing impacts of 0-LSL energy.  Proposals to pay Generation Resources for energy they did not produce or to serve loads that are not on the system should be rejected.  There is no rational basis for creating a parallel universe in which prices and base points are divorced in order to increase generator revenues, and then creating additional mechanisms to protect Generation Resources against potential risks they have created through this artificial pricing process.  Instead, as has been done in other contexts, any pricing issues should be directly addressed without the need to create the artifice of a “make-believe” dispatch (with all its attendant costs and risks).  If re-pricing the market as proposed by NPRR 444 creates financial risks between the Real-Time and Day-Ahead market, these risks can be properly accounted for by Resources in their DAM (or other forward market) offers.  This risk is no different from many other risks that Resources factor into forward offers.  Shifting this risk entirely to loads in the Real-Time Market—who have no ability to manage or hedge against those costs—is inappropriate.

Finally, if any “Supplemental Reliability Deployment Payments” are included in this NPRR, despite TIEC’s objections, TIEC opposes the “broad brush” approach of uplifting all costs on a Load Ratio Share.  Costs from reliability deployments that are caused primarily by short QSEs, like RUC, should be uplifted in the same manner as RUC costs.  The appropriate allocation needs to be determined for each service to reflect cost causation.

These issues are discussed in further detail below.

Energy From Load Resources Should Not Be Added Back To The Actual Load

NPRR 444 proposes to add all MWs of energy provided by Load Resources back to the actual Load in a given interval to establish reference LMPs under SCED Step 1 and Shadow Prices and LMPs under Step 3.  This treatment is discriminatory because it effectively treats load resources differently than other Resources providing the same service.  It also changes the economics of Load Resources by making deployment of Load Resources more costly than the equivalent Generation Resource, which will create an inappropriate bias against demand response and Load participation in ancillary services.   Further it, has the effect of treating energy from Load Resources—which is substitutable for generation—as load that needs to be served for purposes of setting market prices.  There is no justification for this treatment and it will lead to improper results, including inappropriately discriminating against market-based load participation in the market.

Load Resources do not have an LSL, and therefore do not cause price-taking energy to come online prior to their actual deployment.  Instead, the energy provided by Load Resources during an EILS or RRS deployment is equivalent to dispatching a generation unit above its LSL.  There is no legitimate basis for distinguishing between the energy provided by Load Resources and Generation Resources.  Treating energy from Load Resources in the manner proposed will create additional costs to the market when Load Resources are deployed, which will bias the market against Load participation in ancillary services.  This treatment is discriminatory and will place Load Resources at a competitive disadvantage in providing ancillary services.

Stakeholders should also reject the argument that generators should be paid for load that they “would have served” if demand response did not exist.  Generators should only be compensated for load that they actually serve.  It is not a valid assumption that Load Resources would need to be served if they were not providing ancillary services.  Instead, many of these loads would curtail in response to price.  As an example, consistent with the performance metrics for EILS, there is historical data to demonstrate that many EILS Loads curtail in response to high prices before they are deployed by ERCOT.  This demonstrates that is absolutely incorrect to assume that these loads would be on the system regardless of market prices.  Moreover, many Load Resources providing other services (such as Responsive Reserve Service) are similarly price responsive, and many would curtail in response to price if not for their obligation to provide ancillary services.  It is incorrect to assume  that Loads associated with Load Resource deployments would need to be served by Generation Resources.

Treating the energy provided by Load Resources in the manner proposed by this NPRR is inappropriate, discriminatory, and unjustified..  TIEC has provided revised language below to remove the requirement to incorrectly add energy from Load Resources back to the actual Load in setting LMPs.

Generation Resources Should Not Be Paid for Energy They Did Not Provide, and Would Not Provide in a Truly Efficient Market

If 0-LSL energy is improperly impacting Real-Time prices, any proposal to address this issue should be narrowly tailored to address those pricing impacts, and should cause the least possible interference with other aspects of the market.  A simple mechanism to adjust prices to account for the effects of 0-LSL energy would address any potential price suppression.  However, NPRR 444 goes far beyond this by proposing “Supplemental Reliability Deployment Payments,” which would effectively pay Generation Resources for energy they “would have provided” if the need had not been met by 0-LSL energy.  This feature of NPRR 444 is based on incorrect assumptions, is inconsistent with PURA, and will create significant and damaging market distortions.

As a fundamental rule, Resources should not be paid for energy they did not provide.  In a truly efficient, competitive market, the generators receiving the “Supplemental Reliability Deployment Payments” may not have provided the energy anyway.  The Reliability Deployments that bring LSL energy online are driven by market inefficiencies like disparities between actual and forecasted load, or inefficient operational decisions by market participants.  If the inefficiencies that cause reliability deployments did not exist, enough generation would be self-committed and there would be no 0-LSL problem.  There is no way to know whether the 0-LSL energy associated with reliability deployments would have been provided by the Generation Resources receiving the Supplemental Reliability Deployments Payment, or some other market participant.  The quantity of energy for which Generation Resources would be “made-whole” does not represent energy those units would have provided, but is solely an artifact of the mechanism for revising LMPs under this NPRR.

It is wholly inappropriate to create such a parallel universe, and then create financial entitlements as if this make-believe dispatch were reality.  As an example of the outrageousness of this proposal, a generation resource would be paid a full market price for energy that it never produced, and for which it incurred no costs (i.e., it burned no fuel).  This would be phantom energy paid at 100% profit.  It would be the most profitable “energy” that any generator would ever be paid for.  Such a result is wholly improper, creates perverse incentives for generators, is harmful to consumers, and violates PURA’s requirement that ERCOT “ensure that electricity production and delivery are accurately accounted for among the generators and wholesale buyers and sellers in the region.”

Some generators have argued that the ”Supplemental Reliability Deployment Payments” are necessary to protect Generation Resources against the risks associated with potential discrepancies between DAM obligations and the Real-Time base points and LMPs that would be created by this NPRR.  Essentially, these generators argue that a Generation Resource that was selected in the DAM could be financially harmed in Real Time because the price has increased (as a result of this NPRR), but the Resource cannot deploy its generation to fulfill its DAM obligation, which would effectively increase its costs for providing the hedge it committed to in the DAM.  This argument is a red herring and does not support the costly supplemental payments proposed by this NPRR.  First, the supplemental payments are not limited to Generation Resources that have DAM (or other forward) obligations that would be impacted by the proposed re-pricing.  As a result, the proposal goes far beyond any reasonable justification based on this argument.  Moreover, any discrepancy between DAM obligations and Real-Time Market prices can be much more efficiently taken into account by Generation Resources through their DAM offers.  This approach would keep risk associated with the DAM in the DAM, rather than causing uplifts in the Real-Time Market, and would appropriately place this risk on the entities that are able to manage it (i.e., by pricing this risk into their offers).

Generators have also argued that these Supplemental Reliability Deployment payments are necessary because it is difficult to quantify and price the risk associated with the re-pricing that would occur under NPRR 444.  Yet, this self-imposed financial risk is no different from many other risks that are effectively and efficiently priced into the market.  For example, a Resource providing Regulation Up runs the risk that prices will be high at the time the Resource is required to return to its baseline by producing less energy (for a Generation Resource) or consuming additional energy (for a Load Resource).  This risk is not compensated through any kind of “make-whole” or other payment borne by the market, but is priced into Regulation offers.  Further, Resources in the market are in a much better position to quantify and manage this risk than loads.  Uplifting the costs to all loads as proposed by NPRR 444 will shift this financial risk to loads, who have no ability to manage or hedge against those costs.  This proposal should be rejected.

Any Costs of Supplemental Reliability Deployment Payments Should Be Allocated To Short LSEs, Not Uplifted On A Load Ratio Share Basis

As discussed above, TIEC opposes the “Supplemental Reliability Deployment Payments” to compensate Generation Resources for the energy they “would have provided” if their base points matched the revised LMPs based on excluding 0-LSL energy.  TIEC’s language changes below remove the provisions creating these payments, so there is no need to address the allocation of the payments.

Notwithstanding, TIEC opposes the WMS recommendation to uplift all Supplemental Reliability Deployment Payments on a Load Ratio Share basis.  Instead, the appropriate allocation should be examined on a service-by-service basis to track cost-causation.  It is clear (and the market has previously accepted) that RUC deployments are caused by short QSEs.  At a minimum, any “Supplemental Reliability Deployment Payments” associated with the 0-LSL energy from RUC deployments should be allocated first to the short QSEs.  The same type of cost-causation analysis needs to be done for all of the services that are being considered in this NPRR, rather than uplifting all costs in the same manner irrespective of causation.

Please note that TIEC’s proposed language changes were made to the March 6, 2012 ERCOT Comments.

Revised Cover Page Language

None.

Revised Proposed Protocol Language

4.4.9.3	Energy Offer Curve

(1)	The Energy Offer Curve represents the QSE’s willingness to sell energy at or above a certain price and at a certain quantity in the DAM or its willingness to be dispatched by SCED in Real-Time Operations.

(2)	A QSE may submit Resource-specific Energy Offer Curves to ERCOT.  Such Energy Offer Curves will be bounded in the DAM for each Operating Hour by the LSL and HSL of the Generation Resource specified in the COP. Energy Offer Curves will be bounded in SCED by the LSL and HSL of the Generation Resource as shown by telemetry except for the following Generation Resources, which shall be bounded in SCED by zero MW and the HSL:

(a)	RMR Resources;

(b)	RUC Resources; and

(c)	Off-Line Non-Spin Resources.

(3)	Energy Offer Curves remain active for the offered period until either:

(a)	Selected by ERCOT; or

(b)	Automatically inactivated by the software at the offer expiration time selected by the QSE.

(4)	For any Operating Hour, the QSE for a Resource may submit or change Energy Offer Curves in the Adjustment Period and a QSE may withdraw an Energy Offer Curve if:

(a)	An Output Schedule is submitted for all intervals for which an Energy Offer Curve is withdrawn; or

(b)	The Resource is forced Off-Line and notifies ERCOT of the Forced Outage by changing the Resource Status appropriately and updating its COP.

(5)	For any Operating Hour that is a RUC-Committed Interval or a DAM-Committed Interval for a Resource, a QSE for that Resource may not change a Startup Offer or Minimum-Energy Offer.

(6)	If a valid Energy Offer Curve or an Output Schedule does not exist for a Resource that has a status of On-Line at the end of the Adjustment Period, then ERCOT shall notify the QSE and set the Output Schedule equal to the then current telemetered output of the Resource until an Output Schedule or Energy Offer Curve is submitted in a subsequent Adjustment Period.

4.4.9.3.1	Energy Offer Curve Criteria

(1)	Each Energy Offer Curve must be reported by a QSE and must include the following information:

(a)	The selling QSE;

(b)	The Resource represented by the QSE from which the offer would be supplied;

(c)	A monotonically increasing offer curve for both price (in $/MWh) and quantity (in MW) with no more than ten price/quantity pairs;

(d)	The first and last hour of the Offer;

(e)	The expiration time and date of the offer;

(f)	List of Ancillary Service Offers from the same Resource;

(g)	Inclusive or exclusive designation relative to other DAM offers; and

(h)	Percentage of FIP and percentage of FOP for generation above LSL subject to the sum of the percentages not exceeding 100%.

(2)	An Energy Offer Curve must be within the range of -$250.00 per MWh and the SWCAP in dollars per MWh unless otherwise specified.  The software systems must be able to provide ERCOT with the ability to enter Resource-specific Energy Offer Curve floors and caps.

(3)	The minimum amount per Resource for each Energy Offer Curve that may be offered is one MW.

(4)	Generation Resources providing the following services shall set the first price/quantity pair of the Energy Offer Curve of the Resource at or above the floor price designated for the service and zero MWs:

(a)	RMR Service;

(b)	RUC; and

(c)	Off-Line Non-Spin Service.

4.4.11	System-Wide Offer Caps

(1)	The SWCAP is as follows:

(a)	The low system-wide offer cap (LCAP) is set on a daily basis at the higher of:

(i)	$500 per MWh for energy and $500 per MW per hour for Ancillary Services; or

(ii)	Fifty times the FIP of the previous Operating Day, expressed in dollars per MWh for energy and dollars per MW per hour for Ancillary Services.

(b)	The high system-wide offer cap (HCAP) shall be $3,000 per MWh for energy and $3,000 per MW per hour for Ancillary Services.

(c)	At the beginning of each annual resource adequacy cycle, the SWCAP shall be set equal to the HCAP and maintained at this level as long as the peaker net margin (PNM) during an annual resource adequacy cycle is less than or equal to $175,000 per MW.  During an annual resource adequacy cycle, the SWCAP shall be as set forth in item (b) above, unless the PNM has exceeded $175,000 per MW by the date specified.  If the PNM exceeds $175,000 per MW during an annual resource adequacy cycle, on the next Operating Day, the SWCAP shall be reset to the LCAP for the remainder of that annual resource adequacy cycle.

(2)	Any offers that exceed the current SWCAP shall be rejected by ERCOT.

6.3	Adjustment Period and Real-Time Operations Timeline

(1)	The figure below highlights the major activities that occur in the Adjustment Period and Real-Time operations:

(2)	Activities for the Adjustment Period begin at 1800 in the Day-Ahead and end one full hour before the start of the Operating Hour.  The figure above is intended to be only a general guide and not controlling language, and any conflict between this figure and another section of the Protocols is controlled by the other section.

(3)	ERCOT shall monitor Real-Time Locational Marginal Prices (LMPs), Supplemental Ancillary Services Market (SASM) Market Clearing Prices for Capacity (MCPCs), and Real-Time Settlement Point Prices for errors and if there are conditions that cause the price to be questionable, ERCOT shall notify all Market Participants that the Real-Time LMPs, SASM MCPCs, and Real-Time Settlement Point Prices are under investigation as soon as practicable.

(a)	If it is determined that the Real-Time Settlement Point Prices are erroneous and correcting such prices will not affect the Base Points that were received by Qualified Scheduling Entities (QSEs), then ERCOT shall correct the prices before the prices are considered final in paragraph (4) below.

(b)	If it is determined that correcting the Real-Time Settlement Point Prices will affect the Base Points that were received by QSEs, then ERCOT shall correct the prices before the prices are considered final in paragraph (4) below and settle the Security-Constrained Economic Dispatch (SCED) executions as failed in accordance with Section 6.5.9.2, Failure of the SCED Process.

(c)	If the Base Points received by QSEs are inconsistent with the Real-Time Settlement Point Prices and this is not due to setting the Low Sustained Limit (LSL) and Low Dispatch Limit (LDL) for certain Generation Resources to zero under paragraph (5) of Section 6.5.7.3, Security Constrained Economic Dispatch, then ERCOT shall consider those Base Points as due to manual override from the ERCOT Operator and settle the relevant Settlement Interval(s) in accordance with Section 6.6.9, Emergency Operations Settlement.

(4)	All Real-Time LMPs, SASM MCPCs, and Real-Time Settlement Point Prices are final at 1600 of the next Business Day after the Operating Day.  After Real-Time LMPs, SASM MCPCs, and Real-Time Settlement Point Prices are final, if ERCOT determines that prices are in need of correction, it shall notify Market Participants and describe the need for such correction.  Real-Time LMPs, SASM MCPCs, and Real-Time Settlement Point Prices cannot be changed unless the ERCOT Board finds that the Real-Time LMPs, SASM MCPCs, or Real-Time Settlement Point Prices are significantly affected by a software or data error.

6.5.1.2	Centralized Dispatch

(1)	ERCOT shall centrally Dispatch Resources and Transmission Facilities under these Protocols, including deploying energy by establishing Base Points, and Emergency Base Points, and by deploying Regulation Service, Responsive Reserve (RRS) service, and Non-Spinning Reserve (Non-Spin) service to ensure operational security.

(2)	ERCOT shall verify that either an Energy Offer Curve providing prices for the Resource between its High Sustained Limit (HSL) and Low Sustained Limit (LSL) or zero MW when applicable or an Output Schedule has been submitted for each On-Line Resource an hour before the end of the Adjustment Period for the upcoming Operating Hour.  ERCOT shall notify Qualified Scheduling Entities (QSEs) that have not submitted an Output Schedule or Energy Offer Curve through the Market Information System (MIS) Certified Area.

(3)	ERCOT is the regional security coordinator for the ERCOT Region and is responsible for all regional security coordination as defined in the NERC Operating Manual and applicable ERCOT operating manuals or Operating Guides.

(4)	ERCOT may only issue Dispatch Instructions for the Real-Time operation of Transmission Facilities to a Transmission Service Provider (TSP), for the Real-Time operation of distribution facilities to a Distribution Service Provider (DSP), or for a Resource to the QSE that represents it.

(5)	ERCOT shall post shift schedules on the MIS Secure Area.

6.5.7.3	Security Constrained Economic Dispatch

(1)	The SCED process is designed to simultaneously manage energy, the system power balance and network congestion through Resource Base Points and calculation of LMPs every five minutes.  The SCED process uses a three-step methodology described in paragraph (5) below that applies mitigation prospectively to resolve network Non-Competitive Constraints for the current Operating Hour.  The SCED process evaluates Energy Offer Curves and Output Schedules to produce a least cost dispatch of On-Line Generation Resources to the total current generation requirement determined by LFC, subject to power balance and network constraints.  The SCED process uses the Resource Status provided by SCADA telemetry under Section 6.5.5.2, Operational Data Requirements, and validated by the Real-Time Sequence, instead of the Resource Status provided by the COP.

[NPRR257: Replace paragraph (1) above with the following upon system implementation:] (1) The SCED process is designed to simultaneously manage energy, the system power balance and network congestion through Resource Base Points and calculation of LMPs every five minutes. The SCED process uses a three-step methodology described in paragraph (5) below that applies mitigation prospectively to resolve Non-Competitive Constraints for the current Operating Hour. The SCED process evaluates Energy Offer Curves and Output Schedules to produce a least cost dispatch of On-Line Generation Resources to the total current generation requirement determined by LFC, subject to power balance and network constraints. The SCED process uses the Resource Status provided by SCADA telemetry under Section 6.5.5.2, Operational Data Requirements, and validated by the Real-Time Sequence, instead of the Resource Status provided by the COP.

(2)	The SCED solution must monitor cumulative deployment of Regulation Services and ensure that Regulation Services deployment is minimized over time.

(3)	For use as SCED inputs, ERCOT shall use the available capacity of all committed Generation Resources by creating proxy Energy Offer Curves for certain Resources as follows:

(a)	Non-WGRs and Dynamically Scheduled Resources (DSRs) without Energy Offer Curves

ERCOT shall create a monotonically increasing proxy Energy Offer Curve as described below for:

(i)	Each non-WGR for which its QSE has submitted an Output Schedule instead of an Energy Offer Curve; and

(ii)	Each DSR that has not submitted Incremental and Decremental Energy Offer Curves.

| MW | Price (per MWh) |
| --- | --- |
| HSL | System-Wide Offer Cap (SWCAP) |
| Output Schedule MW plus 1 MW | SWCAP minus $0.01 |
| Output Schedule MW | -$249.99 |
| LSL | -$250.00 |

(b)	DSRs with Energy Offer Curves

For each DSR that has submitted incremental and decremental Energy Offer Curves, ERCOT shall create a monotonically increasing proxy Energy Offer Curve.  That curve must consist of the incremental Energy Offer Curve that reflects the available capacity above the Resource’s Output Schedule to its HSL and the decremental Energy Offer Curve that reflects the available capacity below the Resource’s Output Schedule to the LSL.  The curve must be created as described below:

| MW | Price (per MWh) |
| --- | --- |
| Output Schedule MW plus 1 MW to HSL | Incremental Energy Offer Curve |
| LSL to Output Schedule MW | Decremental Energy Offer Curve |

(c)	Non-WGRs without full-range Energy Offer Curves

For each non-WGR for which its QSE has submitted an Energy Offer Curve that does not cover the full range of the Resource’s available capacity, ERCOT shall create a proxy Energy Offer Curve that extends the submitted Energy Offer Curve to use the entire available capacity of the Resource using the SWCAP above the highest point on the Energy Offer Curve to the Resource’s HSL and the offer floor from the lowest point on the Energy Offer Curve to its LSL, using these points:

| MW | Price (per MWh) |
| --- | --- |
| HSL (if more than highest MW in Energy Offer Curve) | SWCAP |
| 1 MW above highest MW in Energy Offer Curve (if less than HSL) | SWCAP minus $0.01 |
| Energy Offer Curve | Energy Offer Curve |
| 1 MW below lowest MW in Energy Offer Curve (if more than LSL) | -$249.99 |
| LSL (if less than lowest MW in Energy Offer Curve) | -$250.00 |

(d)	WGRs

(i)	For each WGR that has not submitted an Energy Offer Curve, ERCOT shall create a monotonically increasing proxy Energy Offer Curve as described below:

| MW | Price (per MWh) |
| --- | --- |
| HSL | SWCAP |
| HSL minus 1 MW | -$249.99 |
| LSL | -$250.00 |

(ii)	For each WGR for which its QSE has submitted an Energy Offer Curve, ERCOT shall create a monotonically increasing proxy Energy Offer Curve as described below:

| MW | Price (per MWh) |
| --- | --- |
| HSL (if more than highest MW in Energy Offer Curve) | SWCAP |
| 1 MW above highest MW in Energy Offer Curve (if less than HSL) | SWCAP minus $0.01 |
| Energy Offer Curve | Energy Offer Curve |
| 1 MW below lowest MW in Energy Offer Curve (if more than LSL) | -$249.99 |
| LSL (if less than lowest MW in Energy Offer Curve) | -$250.00 |

(4)	The Entity with decision making authority, as more fully described in Section 3.19.1, Annual Competitiveness Test, over how a Resource or Split Generation Resource is offered or scheduled, shall be responsible for all offers associated with each Resource, including offers represented by a proxy Energy Offer Curve.

[NPRR240: Insert paragraph (5) and renumber accordingly upon system implementation:] (5) Energy Offer Curves that were constructed in whole or in part with proxy Energy Offer Curves shall be so marked in all ERCOT postings or references to the energy offer.

(5)	The three-step SCED methodology referenced in paragraph (1) above is:

(a)	Step 1 – To execute the SCED process to determine Reference LMPs.  In this step, ERCOT executes SCED using the full Network Operations Model while only observing limits of Competitive Constraints.  Step 1 must:

(i)	Use Energy Offer Curves for all On-Line Generation Resources, whether submitted by QSEs or created by ERCOT to determine Reference LMPs; and

(ii)	Set the LSL and LDL of Generation Resources that are On-Line Quick Start Generation Resources (QSGRs), have been committed by RUC, or are providing RMR Service or Off-Line Non-Spin Service to zero when the LDL equals the LSL for the Resource

.

(b)	Step 2 – To execute the SCED process to produce Base Points subject to security constraints (including Competitive and Non-Competitive Constraints) and other Resource constraints.  Step 2 must:

(i)	Use Energy Offer Curves for all On-Line Generation Resources, whether submitted by QSEs or created by ERCOT.  Each Energy Offer Curve must be capped at the greater of the Reference LMP (from Step 1) at the Resource Node or the appropriate Mitigated Offer Cap and bounded at the lesser of the Reference LMP (from Step 1) at the Resource Node or the appropriate Mitigated Offer Floor; and

(ii)	Observe all Competitive and Non-Competitive Constraints.

(c)	Step 3 – To execute the SCED process to produce Shadow Prices and LMPs, subject to security constraints (including Competitive and Non-Competitive Constraints) and other Resource constraints.  Step 3 must:

(i)	Use Energy Offer Curves for all On-Line Generation Resources, whether submitted by QSEs or created by ERCOT.  Each Energy Offer Curve must be capped at the greater of the Reference LMP (from Step 1) at the Resource Node or the appropriate Mitigated Offer Cap and bounded at the lesser of the Reference LMP (from Step 1) at the Resource Node or the appropriate Mitigated Offer Floor;

(ii)	Observe all Competitive and Non-Competitive Constraints; and

(iii)	Set the LSL and LDL of Generation Resources that are On-Line QSGRs, have been committed by RUC, or are providing RMR Service or Off-Line Non-Spin Service to zero when the LDL equals the LSL for the Resource.

(6)	ERCOT shall archive information and provide monthly summaries of security violations and any binding transmission constraints identified in Steps 2 and 3 of the SCED process.  The summary must describe the limiting element (or identified operator-entered constraint with operator’s comments describing the reason and the Resource-specific impacts for any manual overrides).  ERCOT shall provide the summary to Market Participants on the MIS Secure Area and to the Independent Market Monitor (IMM).

[NPRR351: Insert paragraph (7) below with the following upon system implementation:] (7) For each SCED process, in addition to the binding Base Points and LMPs, ERCOT shall calculate a non-binding projection of the Base Points and Resource Node LMPs, Hub LMPs and Load Zone LMPs at a frequency of every five minutes for at least 15 minutes into the future based on the same inputs to the SCED process as described in this Section, except that the Resource’s HDL and LDL and the total generation requirement will be as estimated at future intervals. The Resource’s HDL and LDL will be calculated for each interval of the projection based on the ramp rate capability over the study period. ERCOT shall estimate the projected total generation requirement by calculating a Load forecast for the study period. ERCOT shall post the projected non-binding Base Points for each Resource for each interval study period on the MIS Certified Area and the projected non-binding LMPs for Resource Nodes, Hub LMPs and Load Zone LMPs on the MIS Public Area pursuant to Section 6.3.2, Activities for Real-Time Operations.

Σy

Σy

Σy

Σy

Σr

j=ml−1

j=ml−1

Σq

Σq

Σy

Σy

Σq

Σq

In addition, all RRS energy now has to be offered at the cap, so there is no price-suppressing effect caused by Loads providing RRS.

PURA § 39.151(a)(4).