| NPRR Number | 479 | NPRR Title | Hourly Reporting of Resource Outaged Capacity (formerly “Daily Net Outage MW”) |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | November 1, 2012 |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | Priority – 2013; Rank – 795 |  |  |
| Nodal Protocol Sections Requiring Revision |  | 3.2.3, System Adequacy Reports 4.2.3.1, Posting Public Forecasted ERCOT System Conditions |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) modifies the information provided by ERCOT to Market Participants regarding net daily Outage MWs. |  |  |
| Reason for Revision |  | This NPRR will provide a needed increase in data transparency regarding Outage MWs in a manner that enhances data transparency and market efficiency without releasing Resource-specific information. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR479 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 8/21/12, NPRR479 was posted. - On 9/11/12, Morgan Stanley comments were posted. - On 9/11/12, Luminant Energy comments were posted. - On 9/13/12, WMS comments were posted. - On 9/20/12, PRS considered NPRR479. - On 10/15/12, ERCOT comments were posted. - On 10/17/12, an Impact Analysis was posted. - On 10/18/12, PRS considered the 9/20/12 PRS Report and Impact Analysis for NPRR479. - On 10/25/12, a revised Impact Analysis was posted. - On 11/1/12, TAC considered NPRR479. |  |  |
| PRS Decision |  | On 9/20/12, PRS voted via roll call vote to recommend approval of NPRR479 as amended by the 9/13/12 WMS comments and as revised by PRS. There were three opposing votes from the Independent Generator, Independent Retail Electric Provider (IREP) and Municipal Market Segments and five abstentions from the Consumer, Independent Generator, Independent Power Marketer (IPM) and Investor Owned Utility (IOU) (2) Market Segments. All Market Segments were present for the vote. On 10/18/12, PRS voted to endorse and forward the 9/20/12 PRS Report as amended by the 10/15/12 ERCOT comments and Impact Analysis for NPRR479 to TAC with a recommended priority of 2013 and rank of 795. There was one abstention from the IREP Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 9/20/12, participants discussed whether data regarding Intermittent Renewable Resources (IRRs) or Wind-powered Generation Resources (WGRs) should be separated out from the remainder of Generation Resources; and whether information on deratings could allow Resource-specific information to be derived. On 10/18/12, ERCOT Staff reviewed the 10/15/12 ERCOT comments, which were intended to promote efficiency. |  |  |
| TAC Decision |  | On 11/1/12, TAC voted to recommend approval of NPRR479 as recommended by PRS in the 10/18/12 PRS Report. There was one abstention from the Independent Generator Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 11/1/12, it was noted that the requested report would be comprised of new data, such as system-wide Resource Outage capacity. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR479 recognizing the benefits of added transparency and clarity for the health of the market. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Improves transparency of Outage MWs on a “generic net” basis. |
|  | 2 | No negative impacts to security of the ERCOT System or operation of Resources within the ERCOT System. |
|  | 3 | No negative impacts to any Market Segment. As this information is already available on ERCOT systems, minimal cost and impact to ERCOT resources and systems is expected. |

| Sponsor |  |
| --- | --- |
| Name | David Hastings |
| E-mail Address | david@dhast.com |
| Company | Mercuria Energy |
| Phone Number | 317-217-9563 |
| Cell Number |  |
| Market Segment | IPM |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Morgan Stanley 091112 | Expressed support for NPRR479 and proposed clarifying revisions. |
| Luminant Energy 091112 | Expressed support for NPRR479 and proposed clarifying revisions. |
| WMS 091312 | Endorsed NPRR479 as amended by the 9/11/12 Morgan Stanley comments and as revised by WMS. |
| ERCOT 101512 | Proposed revisions to simplify the reporting requirements and reduce implementation costs while increasing the frequency and reporting window of the report. |

Proposed Protocol Language Revision

- 3.2.3	System Adequacy Reports

(1)	ERCOT shall publish system adequacy reports to assess the adequacy of Resources and Transmission Facilities to meet the projected Demand.  ERCOT shall provide reports on a system-wide basis and by Forecast Zone, where applicable.

(2)	ERCOT shall generate and post a “Medium-Term System Adequacy Report” on the MIS Secure Area.  ERCOT shall update the report monthly using the latest aggregate Generation Resource capacity and Load Resource capacity.  The data will be provided for each week, starting with the second week, of a rolling 36-month period.  The Medium-Term System Adequacy Report will provide:

(a)	Generation Resource capacity at the time of forecasted weekly peak Demand;

(b)	Load Resource capacity at the time of the forecasted weekly peak Demand;

(c)	Weekly peak forecast Demand described in Section 3.2.2, Demand Forecasts;

(d)	Calculated system reserve, highlighting any deficiency hours, that excludes Load Resource capacity;

(e)	Calculated system reserve, highlighting any deficiency hours, that includes Load Resource capacity shown as a reduction in forecast Demand;

(f)	Ancillary Service requirements; and

(g)	Transmission constraints that have a high probability of being binding in the Security-Constrained Economic Dispatch (SCED) or Day-Ahead Market (DAM) given the forecasted system conditions for each week excluding the effects of any transmission or Resource Outages.

(3)	ERCOT shall generate and post a “Short-Term System Adequacy Report” on the MIS Public Area.  ERCOT shall update this report hourly following updates to the Seven-Day Load Forecast and on detection of a change to Resource Status that changes the availability of a Resource.  The Short-Term System Adequacy Report will provide:

(a)	For Generation Resources, the available On-Line Resource capacity for each hour, using the COP for the first seven days;

(b)	ERCOT shall post a total system-wide capacity of Resource Outages as reflected in the Outage Scheduler that are accepted or approved.  The Resource Outage capacity amount shall be based from each Resource’s current Seasonal High Sustained Limit (HSL) and posted each hour for the top of each Operating Hour for the next 168 hours.  The information provided by ERCOT shall be aggregated on a system-wide basis separating Intermittent Renewable Resources (IRRs) from other Resources, and shall include no specific Resource information, and will exclude Outages related to Mothballed Generation Resources;

(c)	For Load Resources, the available capacity for each hour using the COP;

(d)	Forecast Demand for each hour described in Section 3.2.2;

(e)	Ancillary Service requirements for the Operating Day and subsequent days; and

(f)	Transmission constraints that have a high probability of being binding in SCED or DAM given the forecasted system conditions for each week including the effects of any transmission or Resource Outages.  The binding constraints may not be updated every hour.

#### 4.2.3.1	Posting Public Forecasted ERCOT System Conditions

No later than 0600 in the Day-Ahead, ERCOT shall post on the MIS Public Area, and make available for download, the following information for the Operating Day:

(a)	Weather assumptions used by ERCOT to forecast ERCOT System conditions and used in the Dynamic Rating Processor;

(b)	ERCOT System, Weather Zone, and Load Zone Load forecasts for the next seven days, by hour, and a message on update indicating any changes to the forecasts by means of the Messaging System;

(c)	A current list of all Settlement Points that may be used for market processes and transactions;

(d)	A mapping of Settlement Points to Electrical Buses in the Network Operations Model;

(e)	A list of transmission constraints that have a high probability of binding in the Security-Constrained Economic Dispatch (SCED) or DAM; and

(f)	Load forecast distribution factors from which Market Participants can calculate Load at the Electrical Bus level by hour for the next seven days.

[NPRR456: Insert item (g) below upon system implementation:] (g) A mapping of any Electrical Bus to another Electrical Bus for purposes of heuristic pricing as described in paragraph (9) of Section 4.5.1, DAM Clearing Process, and Section 6.6.1, Real-Time Settlement Point Prices.