Planning Working Group Report to Reliability & Operations Subcommittee

November 08, 2012

- PLWG met on October 25, 2012.

- Discussion on the issues assigned by ROS to PLWG as recommended by OPSTF.

  - PLWG continued discussion on item (3f) Consider LTSA results in determination of Five Year Transmission Plan projects.

  - PLWG discussed the action plan to implement ROS direction on item (12b) Consider modifying DSB structure from years 1,2,3,4 and 5 to years 1,2,3,5 and 7. Modifying TPIT filing requirements from quarterly to three times per year was also discussed.

- Planning Guide Development progress (also see Status Bars Report below)

  - PLWG Language Considerations

    - Language review of PGRR022, Removal of Planning Reserve Margin Calculation Methodology (initiated by GATF)

    - Language review of PGRR 023, Contingency Filing Requirements

    - PGRR024 language development on ERCOT reliability criteria structure/format.

    - PGRR025 language development on 345/138-kV autotransformer unavailability

  - ERCOT Impact Analysis Stage

    - PGRR022

    - PGRR023

  - ROS Review

    - PGRR021

  - TAC Review

    - N/A

  - BoD Review

    - PGRR018

- PLWG discussed language from previous ERCOT Planning Charter that did not make it to the Planning Guide/Protocols. PLWG will review and discuss at December meeting.

- ERCOT (John Adams) discussed modeling and technical requirements associated with SSR/SSI to include in Planning Guide.

- Next PLWG meeting scheduled for December 4, 2012

Status Bars Report Rev1.

This chart indicates the progress in addressing new issues to be included in Planning Guide.

| BOD Approval |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| TAC Approval |  |  |  |  |  |  |
| ROS Approval |  |  |  |  |  |  |
| Impact Analysis Review |  |  |  |  |  |  |
| Language Considerations |  |  |  |  |  |  |
| 14-day Comment Period |  |  |  |  |  |  |
| Market Rules Processing |  |  |  |  |  |  |
| Develop PGRR |  |  |  |  |  |  |
| Section | 1 | 6.9 | 8 | 6.9 | 2.1, 4.1 | 4.1.1.2 |
| Description | Synchronization with NPRR454, Removal of Unfunded Project List Language | Generation modeling in cases and CDR | Removal of Planning Reserve Margin Calculation Methodology | Contingency Filing Requirements | Clarify Planning Assumptions and Performance Criteria | Addition of Criteria for Autotransformer Unavailability |
| PGRR Number | 021 | 018 | 022 | 023 | 024 | 025 |