| NPRR Number | 153 | NPRR Title | Generation Resource Fixed Quantity Block |  |
| --- | --- | --- | --- | --- |
| Timeline | N/A | Action |  | Recommended Approval of Impact Assessment |
| Date of Decision |  | October 4, 2012 |  |  |
| Effective Date |  | Upon System Implementation |  |  |
| Priority and Rank Assigned |  | Priority – 2013; Rank – 790 |  |  |
| Nodal Protocol Section Grey-Boxed |  | 4.4.7.2.1, Ancillary Service Offer Criteria |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) revises existing Ancillary Service Offer criteria to provide for offers of Non-Spinning Reserve (Non-Spin) service in fixed quantity and time blocks from Off-Line Generation Resources similar to that for Load Resources. |  |  |
| Procedural History |  | - On 1/19/10, the ERCOT Board considered NPRR153. - On 9/13/12, a revised Impact Analysis was posted. - On 9/20/12, PRS considered the impact assessment for NPRR153. - On 10/4/12, TAC considered the impact assessment for NPRR153. |  |  |
| PRS Decision |  | On 9/20/12, PRS unanimously voted to endorse and forward the impact assessment for NPRR153 to TAC with a recommended priority of 2013 and rank of 790. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 9/20/12, ERCOT Staff presented the revised Impact Analysis. Participants agreed that the changes proposed in NPRR153 are still necessary and recommended implementation in 2013. |  |  |
| TAC Decision |  | On 10/4/12, TAC unanimously voted to recommend approval of the impact assessment for NPRR153 as recommended by PRS in the 9/20/12 PRS Report – Impact Assessment. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 10/4/12, there was no discussion. |  |  |
| Board Decision |  | On 1/19/10, the ERCOT Board approved NPRR153 as recommended by TAC in the 1/6/10 TAC Report. |  |  |
| ERCOT Opinion |  | ERCOT supports Market Participants’ desire for the option to offer Non-Spin service in fixed quantity and time blocks from Off-Line Generation Resources. |  |  |

Business Case

| Business Case | 1 | - It is expected that principles that apply to Load Resources would be extended to this NPRR. However, the cost if any is to be determined by ERCOT. |
| --- | --- | --- |
|  | 2 | - This NPRR may result in lower offers for Non-Spin Ancillary Service from Off-Line Resources, as these Resources will be able to recover their fixed costs over a fixed quantity block size (if selected). This NPRR is expected to result in a more efficient market design. |
|  | 3 | - In the current design ERCOT can procure in the Day-Ahead Market (DAM) a single MW from block offers from Off-Line Resources participating in Non-Spin markets; this will result in high offers from these Resources (in order to recover fixed costs over the discrete quantity that could be a low as one MW); and may preclude these Resources from participating in the Non-Spin product market. This NPRR is expected to result in a more robust Non-Spin market. |

| Sponsor |  |
| --- | --- |
| Name | Stacy Bridges on behalf of the Transition Plan Task Force (TPTF) |
| Company | ERCOT |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | (512) 248-6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |