|  |  |  |  | System Planning |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Monthly Status Report October 2012 |  |  |
|  |  | Report Highlights |  |  |  |  |  |  |
|  | - ERCOT is currently tracking 143 active generation interconnection requests totaling over 40,000 MW. This includes almost 21,000 MW of wind generation. |  |  |  |  |  |  |  |
|  | - ERCOT is currently reviewing proposed transmission improvements with a total cost of $228.9 Million - Transmission Projects endorsed in 2012 total $596.8 Million - All projects (in engineering, routing, licensing and construction) total approximately $9.68 Billion. - Transmission Projects energized in 2012 total about $732.2 million. |  |  |  |  |  |  |  |

Table of Contents

1.	Generation Interconnection	1

1.1	Signed Generation Interconnection Agreements	1

1.2	New Generation Registering for Commercial Operations	1

1.3	Summary of Generation Interconnection Requests	1

1.4	Projects with Interconnection Agreements	4

1.5	Generation Projects Undergoing Full Interconnection Studies with Confidentiality Waived by Developer	4

1.6	Generation Projects Undergoing Full Interconnection Studies	5

1.7	Wind Generation Capacity Installed by Year	6

2.	Regional Planning Group Project Reviews	7

3.	Congestion Costs	8

4.	Wind Generation as a Percent of Load	11

5.	Planning Model Activities	12

6.	Other Notable Activities	13

# 1.	Generation Interconnection

Additional information regarding detailed generation interconnection and impact studies is contained in the “Generation Project Interconnection Information” folder in the “Operations and System Planning” area on the ERCOT website:  http://planning.ercot.com/login/login.

## Signed Generation Interconnection Agreements

08INR0049 – Bobcat Bluff  – 113 MW of Wind in Clay County

## New Generation Registering for Commercial Operations - none

The total installed wind capacity is now reported as 10,035 MW by the resource owners through the registration process. Capacity by North, South and West is 519 MW,  2,283 MW, and 7,233 MW respectively. 850 MW is able to switch between the West and South zones and is currently shown in the South zone.

## Summary of Generation Interconnection Requests

| GENERATION INTERCONNECTION REQUESTS CURRENTLY UNDER REVIEW |  |  |  |  |
| --- | --- | --- | --- | --- |
| Currently tracking 154 generation interconnection or change requests |  |  |  |  |
| As of October 31, 2012 |  |  |  | Total |
| Security Screening Study | 9 |  |  |  |
| SSS Completed | 18 |  |  |  |
| Full Interconnect Study | 75 |  |  |  |
| FIS Completed | 14 |  |  |  |
| Suspended Studies | 11 |  |  |  |
| Capacity of Suspended Study Projects | 7,862 |  |  |  |
| Interconnect Agreement Completed | 27 |  |  |  |
| Capacity under Interconnection Agreements | 11,146 |  |  |  |
| Capacity for Grid, MW | 40,032 |  |  |  |
| Wind Capacity, MW | 20,941 |  |  |  |

| Fuel Type | Confidential Projects (MW) | Projects Under Full Study (MW) | Public Projects (MW) | Suspended Studies (MW) | Grand Total (MW) |
| --- | --- | --- | --- | --- | --- |
| Gas-AllOther |  |  |  |  | 2,693 |
| Gas-CombinedCycle |  |  | 5,686 |  | 11,606 |
| Total Gas | 5,402 | 3,211 | 5,686 |  | 14,299 |
| Nuclear |  |  |  | 3,200 | 3,200 |
| Coal |  | 850 | 1,165 |  | 2,015 |
| Wind | 3,263 | 14,800 | 2,879 | 4,623 | 25,565 |
| Solar | 664 | 657 | 60 | 38 | 1,419 |
| Biomass |  |  |  |  |  |
| Storage |  | 40 | 36 |  | 76 |
| Petroleum Coke |  |  | 1,320 |  | 1,320 |
| Grand Total | 9,329 | 19,558 | 11,146 | 7,862 | 47,894 |

County Location of Installed Generation and Interconnection Requests (all fuels)

## Projects with Interconnection Agreements

| Generation Interconnections as of October 31, 2012 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| INR | Site Name | County | COD | Fuel | MW For Grid | Change from Last Report |
| 12INR0076 | Notrees Battery Storage | Winkler | Nov-12 | Storage | 36 | Date |
| 12INR0075 | Blue Summit Windfarm | Wilbarger | Nov-12 | Wind | 135 |  |
| 08INR0011 | Senate Wind Project | Jack | Dec-12 | Wind | 150 |  |
| 11INR0091 | Whitetail Wind Energy Project | Webb | Dec-12 | Wind | 92 |  |
| 12INR0072 | Anacacho Windfarm | Kinney | Dec-12 | Wind | 100 |  |
| 09INR0061 | WKN Mozart | Kent | Dec-12 | Wind | 30 |  |
| 11INR0033 | Los Vientos | Cameron | Dec-12 | Wind | 400 |  |
| 08INR0049 | Bobcat Bluff (Briar Creek) | Clay | Dec-12 | Wind | 163 | Capacity |
| 09INR0001 | Sandy Creek 1 | McLennan | Apr-13 | Coal | 925 | Date |
| 11INR0086 | RRE Austin Solar | Travis | Oct-13 | Solar | 60 |  |
| 06INR0022c | Penascal Wind Farm 3 | Kenedy | Dec-13 | Wind | 202 |  |
| 11INR0013 | Goldthwaite Wind Energy | Mills | Dec-13 | Wind | 150 |  |
| 11INR0054 | Midway Farms Wind | San Patricio | Dec-13 | Wind | 161 |  |
| 12INR0034 | Stephens-Borlynn Wind Project | Borden | Dec-13 | Wind | 378 |  |
| 13INR0021 | Ferguson Replacement Project | Llano | Jul-14 | Gas-CC | 116 |  |
| 10INR0021 | Panda Sherman Power | Grayson | Aug-14 | Gas-CC | 809 | Date,Capacity |
| 10INR0020a | Panda Temple Power | Bell | Aug-14 | Gas-CC | 809 | Date,Capacity |
| 11INR0050 | Moore Wind 1 | Crosby | Aug-14 | Wind | 149 |  |
| 10INR0023 | Baker Ranch | Haskell | Sep-14 | Wind | 400 |  |
| 09INR0051 | Mesquite Creek | Borden | Mar-15 | Wind | 249 |  |
| 06INR0006 | Cobisa-Greenville | Hunt | May-15 | Gas-CC | 1,792 |  |
| 08INR0018 | Gunsight Mountain | Howard | Aug-15 | Wind | 120 | Date |
| 13INR0023 | Texas Clean Energy Project | Ector | Jan-16 | Coal | 240 |  |
| 10INR0020b | Panda Temple Power | Bell | May-16 | Gas-CC | 780 | Date |
| 10INR0022 | Pondera King Power Project | Harris | Jun-16 | Gas-CC | 1,380 |  |
| 12INR0016a | Las Brisas Energy Center | Nueces | May-18 | PetCoke | 660 | Capacity |
| 12INR0016b | Las Brisas Energy Center | Nueces | May-18 | PetCoke | 660 | Capacity |

## Generation Projects Undergoing Full Interconnection Studies with Confidentiality Waived by Developer

None

## Generation Projects Undergoing Full Interconnection Studies

| INR | County | Grid | COD | Fuel |  | INR | County | Grid | COD | Fuel |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11INR0093 | San Patricio | 41 | Dec-12 | Wind |  | 13INR0040 | Harris | 0 | Jan-13 | Gas |
| 13INR0054 | Bexar | 0 | Jan-13 | Gas |  | 13INR0010a | Parmer | 200 | Jan-13 | Wind |
| 13INR0045 | Castro | 288 | Apr-13 | Wind |  | 11INR0094 | Kent | 100 | Apr-13 | Solar |
| 12INR0070 | Knox | 300 | Apr-13 | Wind |  | 12INR0086 | Fort Bend | 89 | May-13 | Gas |
| 10INR0089 | Harris | 40 | May-13 | Storage |  | 13INR0020a | Glasscock | 200 | May-13 | Wind |
| 13INR0058 | Bexar | 50 | May-13 | Solar |  | 12INR0045 | Kleberg | 135 | Jun-13 | Wind |
| 13INR0032 | Andrews | 30 | Jun-13 | Solar |  | 13INR0057 | Archer | 65 | Jun-13 | Wind |
| 13INR0049 | Harris | 352 | Jul-13 | Gas |  | 13INR0025 | Randall | 150 | Sep-13 | Wind |
| 13INR0046 | Limestone | 71 | Sep-13 | Wind |  | 13INR0005 | Carson | 600 | Oct-13 | Wind |
| 13INR0059 | Castro | 499 | Oct-13 | Wind |  | 12INR0071 | Caldwell | 30 | Nov-13 | Wind |
| 13INR0028 | Hale | 392 | Nov-13 | Gas |  | 14INR0030a1 | Carson | 322 | Nov-13 | Wind |
| 14INR0030a2 | Carson | 322 | Nov-13 | Wind |  | 12INR0002a | Briscoe | 200 | Dec-13 | Wind |
| 10INR0009 | Castro | 300 | Dec-13 | Wind |  | 11INR0062 | Nueces | 178 | Dec-13 | Wind |
| 11INR0085 | Nolan | 106 | Dec-13 | Wind |  | 12INR0054 | Jones | 200 | Dec-13 | Wind |
| 12INR0059 | Pecos | 50 | Dec-13 | Solar |  | 13INR0007 | Pecos | 200 | Dec-13 | Wind |
| 13INR0026 | Oldham | 201 | Dec-13 | Wind |  | 13INR0036 | Hidalgo | 200 | Dec-13 | Wind |
| 13INR0038 | Swisher | 300 | Dec-13 | Wind |  | 13INR0050 | Comanche | 200 | Dec-13 | Wind |
| 13INR0052 | Starr | 200 | Dec-13 | Wind |  | 13INR0055 | Zapata | 250 | Dec-13 | Wind |
| 13INR0056 | Scurry | 366 | Dec-13 | Wind |  | 12INR0079 | Kenedy | 200 | Dec-13 | Wind |
| 11INR0057 | Cameron | 165 | Dec-13 | Wind |  | 12INR0068 | Jim Hogg | 80 | Dec-13 | Wind |
| 12INR0088 | Crosby | 201 | Dec-13 | Wind |  | 13INR0048 | Oldham | 161 | Dec-13 | Wind |
| 14INR0024 | Kinney | 42 | Dec-13 | Solar |  | 12INR0055 | Baylor | 40 | Jan-14 | Wind |
| 12INR0084 | Randall | 242 | Jan-14 | Wind |  | 13INR0006 | Gray | 750 | Jan-14 | Wind |
| 14INR0013 | Cameron | 103 | Jan-14 | Wind |  | 14INR0014 | Val Verde | 100 | Jan-14 | Solar |
| 13INR0010b | Parmer | 500 | Jan-14 | Wind |  | 12INR0060 | Schleicher | 58 | Apr-14 | Wind |
| 13INR0020b | Glasscock | 150 | May-14 | Wind |  | 14INR0027 | Guadalupe | 471 | May-14 | Gas |
| 14INR0015 | Harris | 192 | Jun-14 | Gas |  | 14INR0016 | Harris | 190 | Jun-14 | Gas |
| 08INR0019a | Gray | 250 | Jun-14 | Wind |  | 08INR0019b | Gray | 250 | Jun-14 | Wind |
| 08INR0019c | Gray | 250 | Jun-14 | Wind |  | 14INR0011 | Swisher | 270 | Jun-14 | Gas |
| 14INR0012 | Gray | 401 | Jun-14 | Wind |  | 14INR0031 | Harris | 0 | Jun-14 | Gas |
| 12INR0085 | Stonewall | 24 | Jul-14 | Wind |  | 14INR0025 | Floyd | 500 | Jul-14 | Wind |
| 12INR0042a | Deaf Smith | 265 | Sep-14 | Wind |  | 12INR0042b | Deaf Smith | 135 | Sep-14 | Wind |
| 09INR0034 | Coryell | 200 | Oct-14 | Wind |  | 11INR0065 | Nueces | 350 | Oct-14 | Wind |
| 13INR0031 | Austin | 30 | Oct-14 | Solar |  | 10INR0085 | Ector | 40 | Dec-14 | Solar |
| 12INR0002b | Briscoe | 200 | Dec-14 | Wind |  | 11INR0081 | Live Oak | 72 | Dec-14 | Wind |
| 11INR0082A | Val Verde | 50 | Dec-14 | Wind |  | 11INR0082B | Val Verde | 150 | Dec-14 | Wind |
| 14INR0009 | Kent | 248 | Dec-14 | Wind |  | 14INR0020 | Floyd | 150 | Dec-14 | Wind |
| 14INR0023 | Briscoe | 361 | Dec-14 | Wind |  | 11INR0079a | Clay | 200 | Dec-14 | Wind |
| 08INR0031 | Childress | 120 | Dec-14 | Wind |  | 12INR0029 | Swisher | 500 | Dec-14 | Wind |
| 13INR0010c | Parmer | 500 | Jan-15 | Wind |  | 12INR0057 | Ector | 40 | Apr-15 | Solar |
| 15INR0013 | Anderson | 324 | Oct-15 | Gas |  | 15INR0014 | Matagorda | 280 | Oct-15 | Gas |
| 12INR0002c | Briscoe | 350 | Dec-15 | Wind |  | 14INR0018 | Nolan | 35 | Dec-15 | Solar |
| 15INR0015 | Pecos | 140 | Dec-15 | Solar |  | 12INR0018 | Gray | 500 | Dec-15 | Wind |
| 16INR0003 | Brazoria | 11 | Jun-16 | Gas |  | 11INR0040 | freestone | 640 | Mar-18 | Gas |
| 14INR0003 | Nolan | 850 | Jun-18 | Coal |  |  |  |  |  |  |

Note:  Projects that are classified as “Cancelled” or “Suspended” are excluded from this table.

## Wind Generation Capacity Installed by Year

# Regional Planning Group Project Reviews

- AEPSC has submitted the Airline/North Padre Island Area Improvements project. This project is submitted as a revision to the Barney Davis to Laguna 138 kV line (AEPSC Corpus Christi Improvements Project ) that was endorsed by ERCOT in November 2009. This is a Tier 1 project that is estimated to cost approximately $58.1 million. This project is currently under ERCOT independent review.

- CPS Energy has submitted the TCC Transmission project to support load growth on the west side of San Antonio.  The project is Tier 2 project estimated to cost $10.9 million.  This project is currently under ERCOT independent review.

- Sharyland has submitted the Atlas-Driver Load Integration project, this is a Tier 2 project that is estimated to cost approximately $15.4 million. This project is currently under ERCOT independent review.

- American Electric Power Service Corporation (AEPSC) has submitted the Sinton-Beeville-Kenedy Area Improvements project to accommodate load additions due to Eagle Ford Shale development in South Texas.  This is a Tier 1 project that is estimated to cost $89.2 million. This project is currently under ERCOT independent review.

- South Texas Electric Cooperative (STEC) has submitted the Coy City Load Addition project to accommodate load additions due to Eagle Ford Shale development in South Texas. This is a Tier 3 project that is estimated to cost $11.65 million. This project has completed the RPG review and ERCOT has sent the RPG acceptance letter.

- CenterPoint Energy has submitted the Fort Bend Area Upgrades project. This is a Tier 3 project that is estimated to cost approximately $16.9 million. This project has completed the RPG review and ERCOT has sent the RPG acceptance letter.

- Texas Municipal Power Agency (TMPA) has submitted the Gibbons Creek Transformer Replacement & Reactor Re-location project. This is a Tier 3 project that is estimated to cost approximately $17.3 million. This project has completed the RPG review and ERCOT has sent the RPG acceptance letter.

- LCRA TSC, Guadalupe Valley Electric Cooperative (GVEC), American Electric Power (AEP), and South Texas Electric Cooperative (STEC) have jointly submitted the Kenedy Switch to Nixon to Seguin Line Upgrade. This is a Tier 1 project that is estimated to cost approximately $55.3 million. This project is currently under ERCOT independent review.

# Congestion Costs

Dollars shown in RUC Make Whole payment graph are of settlement quality.

RUC net Make Whole payment in $mm

Monthly Average LMP

Binding Constraints – Year to Date

| Contingency | Binding Element | Number of 5-min intervals | Shadow Price Range $/MWh | Estimated Congestion Rent $ (Shadow Price*Limit) | Transmission Project |
| --- | --- | --- | --- | --- | --- |
| Amoco North Cowden Tap - Moss 138kV | Odessa North 138/69 kV Autotransformer | 16929 | 0 - 2800 | 134,066,150 | 5YTP [2010-R7, R8] 12TPIT0214, 13TPIT0136 |
| Quail Switch - Odessa EHV 345 kV & Longshore Switch - Odessa EHV 345 kV; Golden Switch - Sun Switch 138 kV; Falcon Seaboard - Midland East 345 kV; etc. | China Grove - Bluff Creek 138 kV | 2650 | 0 - 3500 | 61,898,847 | 13TPIT0098, 13TPIT0093 |
| BASE CASE | West to North Stability Limit | 8408 | 0 - 436 | 27,824,327 | CREZ |
| Batesville Switching Station - Paloduro Substation 138 kV; Batesville 138/69 kV Autotransformer; West Batesville - Uvalde 138 kV; etc | Moore Switching Station - Downie Switching Station 138 kV | 1971 | 0 - 3500 | 20,422,574 | 08TPIT0018 |
| Midland East - Odessa EHV 345 kV; or Moss Switch 345/138 kV Autotransformer | Odessa - Odessa North 138 kV | 609 | 0 - 3500 | 18,830,852 | 14TPIT0054 |
| Twin Buttes 345/138 kV Autotransformer | San Angelo Red Creek 345/138 kV Autotransformer 2 | 113 low-side; and 262 high-side | 19 - 3500 low-side; and 2 - 4500 high-side | 18,360,051 | 14TPIT0067 |
| Kyle - San Marcos 138 kV; or Lytton Spring - Zorn 345 kV & Austrop - Zorn 345 kV | Turnersville - Buda 138 kV | 568 | 0 - 3500 | 17,352,442 | 09TPIT0060 |
| Lewisville Switch - Carrollton Northwest 345 kV; or Lewisville Switch - Carrollton Northwest 345 kV double-circuit | Lewisville Switch - Jones Street TNP 138 kV | 4666 | 0 - 3500 | 17,099,428 | 12TPIT0209, 12TPIT0210 |
| Morgan Creek SES 345/138 kV Autotransformer 1 | Morgan Creek SES 345/138 kV Autotransformer 4 high-side | 150 | 3 - 4500 | 14,673,592 |  |
| Salado- Killeen 345 kV double-circuit | Belton - Belton Southwest 138 kV | 258 | 0 - 3500 | 14,490,150 |  |

Binding Constraints – Oct 2012

| Contingency | Binding Element | Number of 5-min intervals | Shadow Price Range $/MWh | Estimated Congestion Rent $ (Shadow Price*Limit) | Transmission Project | Comments |
| --- | --- | --- | --- | --- | --- | --- |
| Golden Switch - Sun Switch 138 kV; or Morgan Creek SES - Sun Switch 138 kV | China Grove - Bluff Creek 138 kV | 1059 | 0 - 3500 | 30,319,996 | 13TPIT0098, 13TPIT0093 | 345 kV Circuit Breaker outages at Quail Switch; 138 kV line outages of Snyder to Sacroc, Aspermont to Paint Creek, and Sun Switch to Sacroc |
| Morgan Creek SES 345/138 kV Autotransformer 1 | Morgan Creek SES 345/138 kV Autotransformer 4 high-side | 150 | 3 - 4500 | 14,673,592 |  | 138 kV Bus outage at Morgan Creek SES; Morgan Creek SES 345/138 kV Autotransformer 2 outage |
| Salado- Killeen 345 kV double-circuit | Belton - Belton Southwest 138 kV | 225 | 4 - 3500 | 14,467,241 |  | 138 kV line outages of Killeen Switch to Killeen Elm, Killeen Elm to Killeen Taft Street, and Killeen Elm to Killeen Taft Street |
| Falcon Seaboard - Morgan Creek SES 345 kV; or Morgan Creek SES - Longshore 345 kV & Morgan Creek SES - Quail Switch 345 kV | Midland West - Windwood 138 kV | 643 | 5 - 3500 | 4,953,444 | 14TPIT0011 | 345 kV Circuit Breaker outages at Quail Switch; 138 kV line outages of Snyder to Sacroc, Aspermont to Paint Creek, and Sun Switch to Sacroc |
| Falcon Seaboard - Midland East 345 kV; Morgan Creek 345/138 kV Autotransformer 4; or Quail Switch - Longshore Switch | Morgan Creek SES 345/138 kV Autotransformer 1 | 266 high-side; 20 low-side | 2-4500 high-side; 51-3500 low-side | 2,570,457 |  | 345 kV Circuit Breaker outages at Quail Switch; 138 kV line outages of Snyder to Sacroc, Aspermont to Paint Creek, and Sun Switch to Sacroc |
| Leon Switch - Cisco - Putnam 138 kV | Leon Switch - Putnam 138 kV | 557 | 0 - 1466 | 1,716,533 |  | High west wind |
| Ennis Creek Switch - Brand 138 kV; or Morgan Creek SES - China Grove 138 kV double-circuit | Morgan Creek SES - Sun Switch 138 kV | 492 | 0 - 3500 | 1,535,014 |  | 345 kV Circuit Breaker outages at Quail Switch; 138 kV line outages of Snyder to Sacroc, Aspermont to Paint Creek, and Sun Switch to Sacroc |
| Contingency | Binding Element | Number of 5-min intervals | Shadow Price Range $/MWh | Estimated Congestion Rent $ (Shadow Price*Limit) | Transmission Project | Comments |
| Greens Bayou 345/138 kV Autotransformer A1; Greens Bayou - King 345 kV double-circuit; Northbelt - King 345 kV & Northbelt - Cedar Bayou 345 kV; or base case | Greens Bayou 345/138 kV Autotransformer A2 | 351 | 0 - 5000 | 1,292,813 | 13TPIT0102 | Greens Bayou 345/138 kV Autotransformer A1 outage |
| South Channel - Shell 138 kV & Esbelt - Pair 138 kV | Conial - Waburn 138 kV | 520 | 0 - 3500 | 1,178,918 |  | Multiple line outages |
| Meadow - PH Robinson 345 kV | Hastings - Friendswood 138 kV | 179 | 2 - 3500 | 1,133,766 | 15TPIT0015 | Alvin TNP to Freeway Park 138 kV line outage |

# Wind Generation as a Percent of Load

One-hour average of total wind power output as a percentage of ERCOT load.

# Planning Model Activities

- Data Set B work began on August 1, 2012 with a Topology Processor case extracted from NMMS with a build date of January 1, 2013.  Process is underway with creation of Pass 1 cases on Aug 31, 2012.

- The short term calendar of major planning model events follows:

  - Nov 16, 2012	Post Sept TPIT update to 12 DSA and 13 DSA cases.

  - Nov 30, 2012	Begin Contingency database update for 13 DSA and DSB cases.

  - Dec 19, 2012	Post Contingency database update for 13 DSA and DSB cases.

- Status update on SCR760, Changes Needed for Information Model Manager and Topology Processor for Planning Models, which was approved by the ERCOT Board in March 2011.

  - Bundle 1 (Items 3, 7 and 8): In Production.

  - Bundle 2 (Items 2a, 4, 9):  In Production.

  - Bundle 3 (Item 5, 2b, 2c):  In Production

  - Bundle 4 (Items 1, 6):  Item 1 considered to be in production.  The first draft of Requirements for Item 6 have been completed by ERCOT, reviewed by SSWG, and sent to vendor for review.

| SCR Sub Part | SCR Description | Status |
| --- | --- | --- |
| SCR760-1 | Upgrade to PSS/E v32 | Production |
| SCR760-2 | Distribution Capacitor banks | Production |
| SCR760-3 | Zero Impedance Line Ratings | Production |
| SCR760-4 | Associate Loads and Capacitor banks with the correct CNG | Production |
| SCR760-5 | Additional Transformer Data for Planning | Production |
| SCR760-6 | FACTS Devices | Planning |
| SCR760-7 | Assign valid PSSE IDs to Breakers/ Switches/ Series Devices | Production |
| SCR760-8 | Phase shift of Autos for short circuit studies | Production |
| SCR760-9 | Multisection Line Grouping | Production |

Table 1:  In the following table:

- Red will be used to show status of Not Submitted, meaning that the SCR sub part has not been submitted to Siemens as a Service Request.

- Yellow will indicate that the SCR sub part has been submitted.  The color will remain yellow and the status will change in order to Submitted, Planning (Requirements, SOW, Code Writing), Release (Siemens produces first code to test), and Testing (code has completed internal test and is moving through release management).

- Green will indicate that the code has been tested and installed on the machines that ERCOT uses to produce Topology Processor output for Planning and CRR.

# Other Notable Activities

- All of the n-1 reliability projects for the 2012 Five-Year Transmission Plan have been identified and the results posted at the ERCOT POI. The ERCOT 5YTP team is current working on the g-1 + n-1 screening studies and the start case for the economic analysis.