DRAFT

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, September 13, 2012 – 9:30 a.m.

Attendance

Members:

| Aars, Alton | Texas-New Mexico Power | Alt. Rep. for R. McDaniel |
| --- | --- | --- |
| Allen, Thresa | Iberdrola Renewables | Via Teleconference |
| Alvarez, Eli | Brownsville PUB |  |
| Armke, James | Austin Energy |  |
| Bertin, Suzanne | Reliant Energy Retail Services | Alt. Rep. for R. Keetch |
| DeTullio, David | Air Liquide |  |
| Donohoo, Ken | Oncor Electric Delivery |  |
| Garrett, Mark | Direct Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Helyer, Scott | Tenaska Power Services |  |
| Holloway, Harry | GDF Suez Energy Marketing |  |
| John, Ebby | CenterPoint Energy | Alt. Rep. for P. Rocha |
| Kroskey, Tony | Brazos Electric Power Cooperative | Alt. Rep. for R. Ryno |
| Kunkel, Dennis | AEP Service Corporation |  |
| Moore, John | South Texas Electric Cooperative |  |
| Reed, Cyrus | Sierra Club |  |
| Schwarz, Brad | E.ON Climate and Renewables |  |
| Warren, John | LCRA | Alt. Rep. for B. Hatfield |
| Williams, Blake | CPS Energy |  |

The following proxies were assigned:

- Thresa Allen to Brad Schwarz

- Bob Green to James Armke

- Randy Jones to Brad Schwarz

Guests:

| Albers, David | Brazos Electric | Via Teleconference |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Anklam, Robert | Cargill | Via Teleconference |
| Beckmann, Dwight | Brazos Electric | Via Teleconference |
| Bern, Allan | Oncor |  |
| Brazell, James | Priority Power |  |
| Burke, Tom | ACES Power | Via Teleconference |
| Burkhalter, Bob | ABP |  |
| Chen, Hongru | Exelon | Via Teleconference |
| Choi, Kevin | CenterPoint Energy | Via Teleconference |
| Cook, Tim | Cross Texas | Via Teleconference |
| DiPastena, Philip |  | Via Teleconference |
| Ee, Danny | SPWG |  |
| Evans, Doug | STEC | Via Teleconference |
| Gibbens, David | CPS Energy |  |
| Golden, Phillip | Pro-Star Energy | Via Teleconference |
| Hampton, Brenda | Luminant |  |
| Hastings, David | DHastCo | Via Teleconference |
| Henry, Jack | Siemens Industry |  |
| Henry, Mark | Texas Reliability Entity |  |
| Holland, Mike | Oncor | Via Teleconference |
| Hudson, Tony | TNMP |  |
| Jones, Liz | Oncor |  |
| Juricek, Michael | Oncor |  |
| Kee, David | CPS Energy |  |
| Kelly, Matt | Topaz Power Group | Via Teleconference |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Kolodziej, Eddie | Customized Energy Solutions |  |
| Looney, Sherry | Energy Future Holdings | Via Teleconference |
| Mathew, Shirley | Lone Star Transmission | Via Teleconference |
| McNeill, Steve | CenterPoint Energy | Via Teleconference |
| Miller, Jake | EDF Trading | Via Teleconference |
| Mincemoyor, Phillip | Direct Energy |  |
| Moore, Matt | GSEC | Via Teleconference |
| Myers, Brad | AEP |  |
| Niemeyer, Sydney | NRG Energy | Via Teleconference |
| Owens, Frank | Cross Texas Transmission | Via Teleconference |
| Pieniazek, Adrian | NRG |  |
| Scott, Kathy | CenterPoint Energy |  |
| Stephenson, Randa | Lone Star Transmission |  |
| Vo, Trieu | CPS Energy | Via Teleconference |
| Whittle, Brandon |  | Via Teleconference |
| Wilms, Jerry | Lone Star Transmission | Via Teleconference |
| Wagner, Marguerite | EMMT |  |
| Zhou, Cecilia | Edison Mission | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Blevins, Bill |  |  |
| Billo, Jeff |  |  |
| Culberson, JC |  |  |
| Flores, Isabel |  |  |
| Healy, Jeff |  |  |
| Huang, Fred |  | Via Teleconference |
| Landin, Yvette |  |  |
| Opheim, Calvin |  | Via Teleconference |
| Potluri, Tejaswi |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Sharma, Sandip |  | Via Teleconference |
| Thompson, Chad |  | Via Teleconference |
| Villanueva, Leo |  |  |
| Wise, Joan |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

2012 ROS Chair Blake Williams called the August 16, 2012 ROS meeting to order at 9:43 a.m.

Antitrust Admonition

Mr. Williams directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

There were no changes to the agenda.

Technical Advisory Committee (TAC) Update (see Key Documents)

Mr. Williams reviewed the disposition of Revision Requests considered at the September 7, 2012 TAC meeting and noted that while updates regarding System Change Request (SCR) 760, Recommended Changes Needed for Information Model Manager and Topology Processor for Planning Models, will be suspended until completion of Item 6, FACTS Devices, TAC requested updates regarding Operations and Planning Synchronization Task Force (OPSTF) activities as issues warrant.

ROS Voting Items (see Key Documents)

Draft August 16, 2012 ROS Meeting Minutes

David DeTullio moved to approve the August 16, 2012 ROS meeting minutes as posted.  Clayton Greer seconded the motion.  The motion carried unanimously.

Nodal Operating Guide Revision Request (NOGRR) 034, Rescind Telemetry Performance Calculation Exclusions

ROS took no action on this item.

NOGRR095, Type 2 Special Protection System Submissions

ERCOT Staff noted that draft language was circulating internally regarding the use of Remedial Action Plans (RAPs) or Special Protection Schemes (SPSs) by a generator.  Market Participants discussed whether language proposed in NOGRR095 might be modified, or if a separate NOGRR should be filed; and whether the sponsor of NOGRR095 might withdraw the item.  ERCOT Staff noted that it is not requesting that the item be withdrawn; and that ERCOT Staff continues to communicate with the sponsor of NOGRR095.

Harry Holloway moved to table NOGRR095.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

NOGRR100, Extending Manual Time Error Correction Threshold

Mr. Holloway moved to recommend approval of NOGRR100 as recommended by the Operations Working Group (OWG) in the 8/15/12 OWG Report.  Mark Garrett seconded the motion.  The motion carried unanimously.

Nodal Protocol Revision Request (NPRR) 219, Resolution of Alignment Items A33, A92, A106, and A150 and NOGRR050, Resolution of Reporting Issues Related to NPRR219

ERCOT Staff noted that NPRR219 and NOGRR050 are both Nodal Parking Deck items, and that the Protocol Revision Subcommittee (PRS) requested ROS review the items.  Market Participants discussed whether certain gray boxed sections still need to be implemented; that other gray boxed language addresses metrics; and whether an SCR might be filed to implement some elements of proposed language.

Ebby John moved to refer NPRR219, Section 3.1.5.1, ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities, and NPRR219, Section 3.3.2.1, Information to Be Provided to ERCOT, to the OWG and to refer NPRR219, Section 3.1.3.1, Transmission Facilities, and NOGRR050 to the Network Data Support Working Group (NDSWG).  Ken Donohoo seconded the motion.  The motion carried unanimously.

OPSTF Issue #7: Long-term Unavailability of Autotransformers

James Armke presented OPSTF Issue #7, Long-term unavailability of autotransformers, and the OPSTF recommendation to ROS.

John Warren moved to endorse the OPSTF recommendation:

Change the ERCOT Planning Criteria to require that with any single 345/138 kV transformer unavailable followed by system adjustments, the loss (with or without a three-phase fault with normal clearing) of a single generator, transmission line circuit, transformer, shunt device, FACTS device, or double circuit transmission line (two circuits sharing a tower for 0.5 miles or greater) all facilities shall be within their applicable ratings, the system shall be stable with no cascading or uncontrolled islanding, and there shall be no non-consequential load loss.  Also, a RAP or SPS may be planned on a permanent basis to resolve a performance deficiency under this condition.

OPSTF further recommends that this proposal be referred to the Planning Working Group (PLWG) to develop a Planning Guide Revision Request with an implementation schedule that allows sufficient time for establishing TSP and ERCOT process(es), conducting assessments, developing plans, and implementing solutions.

Mr. Donohoo seconded the motion.  The motion carried with three abstentions from the Independent Power Marketer (IPM) (2) and Independent Retail Electric Provider (IREP) Market Segments.

Performance Disturbance Compliance Working Group (PDCWG) Report – Disturbance Compliance Standard (DCS) Events – Analysis and Discussion (see Key Documents)

David Kee presented PDCWG analysis of the July 10 and July 30, 2012 DCS events, and PDCWG recommendations.  Market Participants discussed that the Nodal Market is very efficient and makes for a lean market at times; ERCOT’s recent survey regarding Power Augmentation; Responsive Reserve (RRS) and Primary Frequency Response (PFR) requirements; interaction with North American Electric Reliability Corporation (NERC) Standard Resource and Demand Balancing (BAL) 001, Real Power Balancing Control Performance; and that PDCWG should consider a joint meeting with the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG).

Discussion of West Texas Congestion and Solutions (see Key Documents)

Mr. Donohoo reviewed data pertaining to Odessa North congestion, interim actions taken, and planned projects underway.

NERC Update (see Key Documents)

Mr. Donohoo outlined an action plan for responding to Federal Energy Regulatory Commission (FERC) Order 754.

ERCOT Updates (see Key Documents)

2013 Ancillary Service Procurement Methodology

ERCOT Staff reported that the Ancillary Service Procurement Methodology was last reviewed and approved in April 2012, meeting the annual requirement; and that ERCOT Staff is awaiting the resolution of multiple open items before presenting any proposed revision to, or reaffirmation of, the methodology.

August System Planning Report

ERCOT Staff presented the August 2012 System Planning Report.

ERCOT Planning Generation Interconnect Agreements

ERCOT Staff reminded Market Participants that per paragraph (3) of Planning Guide Section 5.5.1, Standard Generation Interconnection Agreement, TSPs must transmit a copy of the signed Standard Generation Interconnection Agreement (SGIA) to ERCOT within ten Business Days of execution and to the Public Utility Commission of Texas (PUCT) within 30 days of execution.   ERCOT Staff reminded Market Participants to send the information to the GNIR@ercot.com email address.

August Operations Report

ERCOT Staff presented the August 2012 Operations Report.

Operating Guide and Planning Guide Revision Request (see Key Documents)

Mr. Williams identified issues within language of the Nodal Operating and Planning Guides, and reviewed proposed ROS Chair directives to PLWG and NDSWG.  After discussion among Market Participants, there were no objections to Mr. Williams’ directives:

ROS Chair Directive to PLWG:

Continue efforts to reformat the Transmission Planning Criteria in Section 4 of the Planning Guide:

- Credible Single Contingency

  - Eliminate the use of Credible Single Contingency for Transmission Planning by explicitly stating system conditions, contingencies and performance requirements in the Planning Guide; or

  - Modify the definition to accurately state the contingencies.  Consider renaming the defined term from Credible Single Contingency to Planning Contingencies.

- Structure the criteria such that it is clearly understood and can easily be modified to incorporate ROS-directed OPSTF Issues.

Only substantive changes to reflect current practices should be included.

ROS Chair Directive to NDSWG:

Work with ERCOT and OWG to revise the Nodal Operating Guides:

- Modify the definition of Credible Single Contingency for Operations Planning to accurately state the contingencies.  Consider changing the defined term from Credible Single Contingency to Credible Contingencies or Operations Contingencies.

- Explicitly state applicable operations studies or analyses.  Consider use of defined terms.  Also consider revising applicable sections of the Nodal Protocols for consistency.

- Explicitly state applicable operations contingencies or use newly defined Credible Single Contingency term.  Also consider revising applicable sections of the Nodal Protocols for consistency.

- Explicitly state applicable reliability criteria or reference Section 2.2.2, Security Criteria.  Also consider revising applicable sections of the Nodal Protocols for consistency.

- Consider removing the redundantly stated security criteria in Section 4.3, Operation to Maintain  Transmission System Security.

- Consider expansion of Section 2.4, Outage Coordination to provide guidance/requirements for outage studies.

- Consider addition of requirements for TSP provision of contingencies in Section 5.1, System Modeling Information.

Only substantive changes to reflect current practices should be included.

ROS Working Group/Task Force Reports (Key Documents)

Black Start Working Group (BSWG)

Critical Infrastructure Protection Working Group (CIPWG)

Dynamics Working Group (DWG)

Nodal Protocol and Guides Resolution Task Force (NPGRTF)

NDSWG

NERC Reliability Working Group (NRWG)

OWG

OPSTF

PDCWG

PLWG

System Protection Working Group (SPWG)

Steady State Working Group Report (SSWG)

No questions were offered regarding the posted reports.

Other Business

Mr. Williams reminded Market Participants of the NPRR473, Process for Submission of Generation Resource Weatherization Information, Workshop scheduled for October 1, 2012.

Adjournment

Mr. Williams adjourned the September 13, 2012 ROS meeting at 1:05 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2012/09/20120913-ROS