## Slide 1: PDCWG Report to ROS
David Kee Chair
CPS Energy
Sydney Niemeyer Vice Chair
NRG Energy

## Slide 2: October 31st meeting
Meeting was moved to Nov. 2 and combined with QMWG
Topics
  NPRR486 & the regulation bias that is the main driver of the NPRR
  Review of NOGRR & NPRR draft for RRS language
    Not ready for ROS discussion
    Will focus on developing language to address concerns of PDCWG

## Slide 3: NPRR486
Discussed at November 2nd meeting
Regulation offset phenomena was illustrated and discussed
Contributing elements were identified as
  Generation deviation
  HSL errors
  Load Forecast Errors
  Operator Offset values
  Frequency deviations
  Wind variability
ERCOT analysis focused on Generator issues
  More analysis is needed to identify all drivers

## Slide 4: NPRR 486
Requirement for metrics and reports to evaluate effectiveness of tuning efforts
Action item to define metrics and develop report
GTBD options were discussed
  No consensus from group
  GTBD2 was favored with modifications to add a dynamic factor based on time
ERCOT will draft SCR to recommend GTBD 2
Group did reach consensus to recommend Tabling NPRR 486 until the SCR is drafted and submitted.

## Slide 5: NOGRR 105
Generation Resource Frequency Response Test Procedure
Adds Governor test form for Controllable Load Resources
Corrects typographical errors in equations
OWG to consider language at November meeting

## Slide 6: Looking Forward
Focus on RRS language

## Slide 7
Questions?