Operations Working Group Meeting

Wednesday, 10/17/12

Austin - MET Center

In Attendance:

Frank Owens - CTT

Brenda Hampton – Luminant

Bob Temple - WETT

John Blackwell - LST

Kevin Morly – CNP

John Warren - LCRA

Jerry Willms - LST

Larry McCoslin – Austin Energy (TO)

Curtis Graves – Austin Energy

Laura Zotter – Austin Energy (TO)

Tip Tipton - Brazos

Larry Parr – CPS

Larry L. Helms – DME

Robert Bailey – NRG

Marguerite Wagner - EMMT

Mark Henry – TRE

Yvette Landin – ERCOT (RC)

Colleen Frosch – ERCOT (RC)

Vijay Betanabhatla – ERCOT (RC)

Dial-In Attendees:

Allan Allgower – ERCOT

David Hastings – Mercuria

Hugo Mena – EPE

Ross Owen – Oncor (TO)

Woody Rickerson – ERCOT

Bobby Reed – ERCOT

Raj Rajagopalan - ERCOT

Doug Evans - STEC

Isabel Flores - ERCOT

- Antitrust Admonition – Meeting opened at 9:30 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting –

Seminar Task force was approved and ROS provided direction on scope and leadership for the task force.

- August OWG Meeting Notes - Notes approved.

- NOGRR Reviews

  - 102NOGRR Synchronization with NPRR454, Removal of Unfunded Project List Language

This NOGRR aligns the Nodal Operating Guides with NPRR 454 which removed language regarding the Unfunded Project List.

This NOGRR also aligns the Nodal Operating Guides with the Protocols by requiring ERCOT’s opinion in the TAC Report for any NOGRR requiring an ERCOT project for implementation; and includes administrative alignment changes

Impact analysis: No impact to ERCOT.

Endorsed IA and forwarded to ROS.

  - 101NOGRR Market Transparency for DC Tie Outage Information

This NOGRR provides that ERCOT shall produce a detailed report regarding any outage of a Direct Current Tie (DC Tie) in a timely manner.  Outages of interconnection points between the ERCOT and non-ERCOT Control Areas have market implications on both the ERCOT market and the interconnected market.

ERCOT Comment: Earlier it was proposed to be included in the Daily Grid Operations report. But it has to be done separately as some parts of it cannot be completely automated (need to review and delete confidential information).

OWG agrees with ERCOT comments. Agreed to send out for impact analysis to ERCOT.

- Monthly Operations Report for June

Vijay reviewed the report. Marguerite asked a question about the Odessa Switching plan and why it was not in the August report. The answer for this is it is not a MP/TOAP/PCAP and hence not listed under that section of the report. It is a switching plan for which outages were submitted in the Outage Scheduler.

- Nodal Protocol and Guides Resolution Task Force Report

The resolution task force did not meet.

- Operations Task Force Report

No Updates

- Seminar Task Force Report

Alan provided the updates. He mentioned that the task force met twice and discussed the agenda for future meetings. He presented an overview of topics that will be covered in the 2013 Operations seminar and also listed the presenters for the different topics. He needs a volunteer (experienced generation personnel) for plant weatherization presentation.

- Texas RE Update Report

Mark discussed the San Diego event and wanted to get OWG’s input on the clarity and adequacy of Operating Guides and other documents related to the items below, as well as consistency of practices associated with such documents

- Coordination of relay settings in ratings, particularly when these are most limiting series elements

- Operational use of facility owner ratings when different values are not available for continuous, 2 hours, and 15 minute capability

- Consideration of overload relay trip times when establishing post-contingency mitigation plans

- Use of Mitigation Plans vs TOAPs versus RAPS and consistency of definitions and practices associated with these plans

- Review process for coordination of SPS and UVLS with other protection schemes

- Procedural documents related to System Operating Limits (SOLs) and ratings.

Mark also mentioned that there are Protocol and Operating Guide audits coming up.  OWG requested that Paula Muller come talk to the group.

- System Operations Report

Colleen stated that there were no new ERCOT procedures to review.   She did mention that the Time Error correction was changing on November 1st from 3 seconds to 30 seconds.

Other

NPRR 219

ERCOT suggested that the 3 gray boxes (related to ERCOT submitting the transmission outage information for the generators) be removed. Cost benefit analysis shows that it is cost effective to follow the current process (generator calls ERCOT outage scheduler who enters the outages for the generator).

After much discussion, OWG Recommendation: Do not remove the gray boxes. Discuss project priorities at ROS and pursue the project to update the Outage scheduler so the generators can enter the outages.

Biennial Reactive test data in NDCRC

Ross Owen mentioned that there are a lot of units that did not perform the 2 year reactive testing. It is important for all the units to perform and provide the latest test results on NDCRC website so the TOs can easily access the information to perform reliability studies.

Isabel Flores said that a market notice was sent out to the generators to perform their tests as required. There was a lot of response and many Resources have completed their tests.  A few extensions were given to wind Resources.

- Future Meeting Date

Wednesday, November 14th

- Meeting Adjourned at 12:30.

Notes compiled by Vijay Betanabhatla