| NPRR Number | 485 | NPRR Title | Clarification for Fuel Adder Provisions |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Approved |
| Date of Decision |  | November 13, 2012 |  |  |
| Effective Date |  | December 1, 2012. |  |  |
| Priority and Rank Assigned |  | Priority –2014; Rank – 920 for automated solution. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 4.4.9.4.1, Mitigated Offer Cap 5.6.1.1, Verifiable Startup Costs 5.6.1.2, Verifiable Minimum-Energy Costs |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) will provide for consistent application of the fuel adder that is meant to compensate Resources for the actual cost of transporting and purchasing fuel on the spot market across Mitigated Offer Caps and Reliability Unit Commitment (RUC) instructions, as well as allow for Resource-specific verifiable costs to be submitted and verified by ERCOT. The Verifiable Cost Manual has been updated to provide for consistent application of the value of X across Mitigated Offer Caps and RUC instructions, where the value of X is meant to compensate Resources for the actual cost of transporting and purchasing fuel purchased on the spot market. The fuel adder ($/MMBtu) cost may be submitted for each Resource and verified by ERCOT. The current default value of $0.50/MMBtu will continue to be used by ERCOT when no specific fuel adder has been provided for a Resource. Slight clean-up language is included to point to the Verifiable Cost Manual for the methodology used to verify those costs, and to define the methodologies used to account for the fuel costs above the Houston Ship Channel price. |  |  |
| Reason for Revision |  | Clarifies the Protocol language to allow for consistent application of fuel adders as provided to ERCOT through the verifiable cost process. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR485 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 10/1/12, NPRR485 was posted. - On 10/12/12, Calpine comments were posted. - On 10/18/12, PRS considered NPRR485. - On 10/25/12, the Impact Analysis was posted. - On 11/1/12, TAC considered NPRR485. - On 11/13/12, the ERCOT Board considered NPRR485. |  |  |
| PRS Decision |  | On 10/18/12, PRS voted to grant NPRR485 Urgent status. There were three opposing votes from the Consumer Market Segment and one abstention from the Independent Power Marketer (IPM) Market Segment. PRS then voted to recommend approval of NPRR485 as submitted and to forward NPRR485 to TAC. There was one opposing vote from the Consumer Market Segment and one abstention from the Municipal Market Segment. All Market Segments were present for the votes. |  |  |
| Summary of PRS Discussion |  | On 10/18/12, it was explained that NPRR485 would affect fuel adders for all Resources; that the proposed changes are necessary to effectuate WMS-approved changes to the Verifiable Cost Manual; and that the proposed changes related to fuel adders will remain grey-boxed in the Verifiable Cost Manual until NPRR485 is implemented. |  |  |
| TAC Decision |  | On 11/1/12, TAC unanimously voted to recommend approval of NPRR485 as recommended by PRS in the 10/18/12 PRS Report with a recommended priority 2014 and rank 920. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 11/1/12, ERCOT Staff explained that the language proposed by NPRR485 can become effective upon ERCOT Board approval however, related changes that were made to the Verifiable Cost Manual will have differing implementation timelines. ERCOT can manually implement the changes to consider a fuel adder that compensates Quick Start Generation Resources (QSGRs) for the transportation and purchasing of spot fuel in the Mitigated Offer Cap as well as verifiable start-up and minimum energy costs. System changes will be required to calculate the like for all other types of Resources. ERCOT Staff confirmed that the $0.50 adder was maintained for Resources that do not submit Verifiable Costs in the transition of language from the Protocols to the manual. ERCOT Staff also noted that it would submit an NPRR to implement a change control process for the Verifiable Cost Manual similar to other market guides to escalate the approval authority of the document. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of NPRR485 acknowledging that the changes proposed are intended to align the Protocols and the Verifiable Cost Manual, while leaving the more detailed description and calculations in the Verifiable Cost Manual. Additionally, ERCOT supports these changes because they could provide the ERCOT systems with a more accurate reflection of Resource costs for start- up and minimum energy. |  |  |
| Board Decision |  | On 11/13/12, the ERCOT Board approved NPRR485 as recommended by TAC in the 11/1/12 TAC Report. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | The Verifiable Cost Manual will provide the details with regard to the documentation of fuel adder costs required for determining an appropriate all-in fuel cost for use in calculating the appropriate daily mitigated offer curve. The changes proposed in this NPRR are intended to align both the Protocols and the Verifiable Cost Manual, while leaving the more detailed calculations in the Verifiable Cost Manual. |

| Sponsor |  |
| --- | --- |
| Name | Sherry Looney |
| E-mail Address | Sherry.looney@luminant.com |
| Company | Luminant Energy Company, LLC |
| Phone Number | 214-875-9278 |
| Cell Number | 469-688-7607 |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Calpine 101212 | Supported correcting fuel inputs to reflect the true costs associated with running a Generation Resource after mitigation, and for re-evaluating the purposes and need for caps on startup and minimum energy values rather than changing the unit-specific caps on those values. |

Proposed Protocol Language Revision

4.4.9.4.1	Mitigated Offer Cap

Energy Offer Curves may be subject to mitigation in Real-Time operations under Section 6.5.7.3, Security Constrained Economic Dispatch, using a Mitigated Offer Cap.  The “Mitigated Offer Cap” is:

(a)	For a Resource contracted by ERCOT under paragraph (2) of Section 6.5.1.1, ERCOT Control Area Authority, ERCOT shall increase the O&M cost such that every point on the Mitigated Offer Cap curve (cap vs. output level) is greater than the SWCAP in $/MWh.

- (b)	For a Generation Resource that commences commercial operation after January 1, 2004, ERCOT shall construct an incremental Mitigated Offer Cap curve (Section 6.5.7.3) such that each point on the Mitigated Offer Cap curve (cap vs. output level) is the greater of:

(i)	14.5 MMBtu/MWh times the FIP; or

(ii)	The Resource’s verifiable incremental heat rate (MMBtu/MWh)  plus consideration of a fuel adder that compensates for the transportation and purchasing of spot fuel as described in the Verifiable Cost Manual for the output level multiplied by ((Percentage of FIP * FIP) + (Percentage of FOP * FOP))/100, as specified in the Energy Offer Curve, plus verifiable variable O&M cost ($/MWh) times a multiplier described in paragraph (e) below.

- (c)	For all other Generation Resources, each point on the Mitigated Offer Cap curve (cap vs. output level) is the greater of:

(i)	10.5 MMBtu/MWh times the FIP; or

(ii)	The Resource’s verifiable incremental heat rate (MMBtu/MWh) plus consideration of a fuel adder that compensates for the transportation and purchasing of spot fuel as described in the Verifiable Cost Manual for the output level multiplied by ((Percentage of FIP * FIP) + (Percentage of FOP * FOP))/100, as specified in the Energy Offer Curve, plus verifiable variable O&M cost ($/MWh) times a multiplier described in paragraph (e) below.

(d)	Notwithstanding paragraphs (b)(ii) and (c)(ii) above, the Mitigated Offer Cap verifiable variable O&M cost ($/MWh) for Quick Start Generation Resources (QSGRs) shall incorporate the generic or verifiable O&M cost to start the Resource from first fire to LSL including the startup fuel, plus a minimum energy component to account for LSL commitment costs, and consideration of a fuel adder that compensates for the transportation and purchasing of spot fuel as described in the Verifiable Cost Manual.

- (e)	The multipliers for paragraphs (b)(ii) and (c)(ii) above are as follows:

(i)	1.10 for Resources running at a ≥ 50% capacity factor for the previous 12 months;

(ii)	1.15 for Resources running at a ≥ 30 and < 50% capacity factor for the previous 12 months;

(iii)	1.20 for Resources running at a ≥ 20 and < 30% capacity factor for the previous 12 months;

(iv)	1.25 for Resources running at a ≥ 10 and < 20% capacity factor for the previous 12 months;

(v)	1.30 for Resources running at a ≥ 5 and < 10% capacity factor for the previous 12 months;

(vi)	1.40 for Resources running at a ≥ 1 and < 5% capacity factor for the previous 12 months; and

(vii)	1.50 for Resources running at a less than 1% capacity factor for the previous 12 months.

- (f)	The previous 12 months’ capacity factor must be updated by ERCOT by the 20th day of each month using the most recent data for use in the next month.  ERCOT shall post to the MIS Secure Area the capacity factor for each Resource before the start of the effective month.

- (g)	The process for developing the Mitigated Offer Cap in paragraphs (a), (b), (c), and (d) above must be described by ERCOT in a procedure approved by the appropriate Technical Advisory Committee (TAC) subcommittee, and posted to the MIS Secure Area within one Business Day after initial approval, and after each approved change.

5.6.1.1	Verifiable Startup Costs

The unit-specific verifiable costs for starting a Resource for each cold, intermediate, and hot start condition, as determined using the data submitted under Section 5.6.1, Verifiable Costs, and the Resource Parameters for the Resource are:

(a) 	Actual fuel consumption rate per start (MMBtu/start) multiplied by a resource fuel price plus consideration of a fuel adder that compensates for the transportation and purchasing of spot fuel as described in the Verifiable Cost Manual;

(b) 	Unit-specific verifiable or standard O&M expenses; and

(c)	NIS to operate the Resource from breaker close to its LSL, as described in the Verifiable Cost Manual.

5.6.1.2	Verifiable Minimum-Energy Costs

(1)	The unit-specific verifiable minimum-energy costs for a Resource are:

(a)	Actual fuel cost to operate the unit at its LSL including a fuel adder that compensates for the transportation and purchasing of spot fuel as described in the Verifiable Cost Manual; plus

(b)	Verifiable or standard variable O&M expenses; plus

(c)	NIS to operate the unit at its LSL.

(2)	The QSE must submit the Resource’s cost information by Season if the Resource’s costs vary by Season.  For gas-fired units, the actual fuel costs must be calculated using the actual Seasonal heat rate (which must be supplied to ERCOT with Seasonal heat-rate test data) multiplied by fuel price plus consideration of a fuel adder that compensates for the transportation and purchasing of spot fuel as described in the Verifiable Cost Manual.  For coal- and lignite-fired units, the actual fuel costs must be calculated using the actual Seasonal heat rate multiplied by a deemed fuel price of $1.50 per MMBtu.  For fuel oil-fired operations, the number of gallons burned must be multiplied by the FOP.