| NPRR Number | 473 | NPRR Title | Process for Submission of Generation Resource Weatherization Information |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | October 18, 2012 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 1.3.1.1, Items Considered Protected Information 3.21, Submission of Emergency Operations Plans, Weatherization Plans, and Declarations of Summer and Winter Weather Preparedness (new) 22K, Declaration of Completion of Generation Resource Weatherization Preparedness (new) |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) creates a process to accommodate the legislatively mandated submission of generator emergency operations plans. (See Texas Utilities Code § 186.007(f) Weather Emergency Preparedness Report - (“An electric generation entity within the ERCOT power region shall provide the entity’s [emergency operations] plan to ERCOT in its entirety.”)). ERCOT has previously requested these plans pursuant to its authority under paragraph (i)(2)(H) of P.U.C. Subst. R. 25.362, Electric Reliability Council of Texas (ERCOT) Governance , which requires ERCOT to provide “[a]n assessment of the reliability and adequacy of the ERCOT system during extremely cold or extremely hot weather conditions, including information regarding steps to be taken by power generation companies and utilities to prepare their assets for extreme weather events.” Based on its authority under this statute and rule, ERCOT believes it appropriate to create a formal process for submission of emergency operations plans and plan updates; to recognize the confidential status of information contained in these plans. ERCOT also proposes to require separate submission of weatherization plans for each Generation Resource, as the bulk of the emergency operations plans previously submitted do not pertain to weatherization, and requiring ERCOT to sort through lengthy plans to identify parts that may or may not be intended to apply to weatherization procedures imposes a substantial administrative burden. ERCOT expects that some Resource Entities may prefer to simply extract and submit the existing weatherization portions of existing emergency operations plans, while other Resource Entities may wish to create new plans providing greater detail of weatherization practices. Furthermore, in order to fulfill its regulatory obligation to assess ERCOT System reliability in extreme weather conditions, ERCOT must ensure that plant operators are in fact following the weatherization procedures described in the submitted weatherization plans. ERCOT therefore proposes a semi-annual weatherization declaration to determine ERCOT System preparedness. This declaration would represent that the Resource Entity (or other Entity responsible for the physical operation of a Generation Resource) has completed all weatherization preparations for the upcoming summer and winter season. Finally, in addition to expanding the categories of Protected Information to include emergency operations plans and weatherization plans, ERCOT proposes revisions to paragraph (p) of Section 1.3.1.1 to clarify that all information designated as Protected Information is considered Protected Information, unless it is expressly deemed otherwise by Section 1.3.1.2, Items Not Considered Protected Information, or is no longer confidential, as provided by Section 1.3.3, Expiration of Confidentiality. Existing language could be read to provide that any information a Market Participant is required to submit is not considered Protected Information. Also, the express exclusion of information provided in support of a Reliability Must-Run (RMR) application is redundant of an identical exclusion in paragraph (f) of Section 1.3.1.2. |  |  |
| Reason for Revision |  | ERCOT is obligated by statute and by P.U.C. Subst. R. 25.362 to collect emergency operations plans and to assess reliability of the ERCOT System during extreme weather. This NPRR removes the need for future Market Notices and will provide greater transparency of ERCOT’s collection and intended use of this information. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 8/8/12, NPRR473 and the associated Impact Analysis were posted. - On 8/16/12, WMS comments were posted. - On 8/23/12, PRS considered NPRR473. - On 8/31/12, Calpine comments were posted. - On 9/28/12, Luminant comments were posted. - On 10/9/12, ERCOT comments were posted. - On 10/17/12, CPS Energy comments were posted. - On 10/18/12, Topaz comments were posted. - On 10/18/12, PRS again considered NPRR473. |  |  |
| PRS Decision |  | On 8/23/12, PRS unanimously voted to table NPRR473 and to refer the issue to WMS. All Market Segments were present for the vote. On 10/18/12, PRS voted to recommend approval of NPRR473 as amended by the 10/9/12 ERCOT comments and as revised by PRS. There was one abstention from the Independent Generator Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 8/23/12, there was no discussion. On 10/18/12, the 10/9/12 ERCOT comments, 10/17/12 CPS Energy comments, and 10/18/12 Topaz comments were discussed. There was concern regarding the confidentiality of weatherization plans specifically whether ERCOT could share best practices; the timeframe for which the weatherization declaration applies for Resources that are in mothballed status or on Outage; and clarification that weatherization preparedness will be completed in accordance with the Resource Entity’s weatherization plan. Concerns were also raised regarding the consistency of the proposed language with prudent industry practice in relation to weatherization practices in the more temperate regions within ERCOT. ERCOT Staff noted that best practices can be shared in an appropriate forum; and that it is the responsibility of the Resource Entity to declare that its unit(s) are prepared and are abiding by their weatherization plans. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - ERCOT’s collection of Generation Resource weatherization information is required by statute and P.U.C. Subst. R. 25.362. |

| Sponsor |  |
| --- | --- |
| Name | Isabel Flores and Chad V. Seely |
| E-mail Address | iflores@ercot.com, cseely@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6531, 512-225-7035 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 081612 | Recommended that PRS table NPRR473 to allow time for review by the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG). |
| Calpine 083112 | Proposed language to clarify the nature of the required attestation of current weatherization plan for each Generation Resource. |
| Luminant 092812 | Proposed language to align with the intent of P.U.C. Subst. R. 25.53, Electric Service Emergency Operations Plans; proposed an attestation in Section 22K; and proposed other clarifying changes. |
| ERCOT 100912 | Clarified the contents of the weatherization plan submission; proposed an attestation in Section 22K; and proposed other clarifying changes based on input received at the 10/1/12 NPRR473 Workshop. |
| CPS Energy 101712 | Expressed concern regarding confidentiality of weatherization plans, the intent of the attestation, and clarified that the requirement in paragraph (1) of Section 3.21 does not apply to Mothballed Generation Resources. |
| Topaz 101812 | Proposed language changes for consistency with prudent industry practices. |

Proposed Protocol Language Revision

- 1.3.1.1	Items Considered Protected Information

Subject to the exclusions set out in Section 1.3.1.2, Items Not Considered Protected Information, and in Section 3.2.5, Publication of Resource and Load Information, “Protected Information” is information containing or revealing any of the following:

(a)	Base Points, as calculated by ERCOT.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(b)	Bids, offers, or pricing information identifiable to a specific Qualified Scheduling Entity (QSE) or Resource.  The Protected Information status of part of this information shall expire 60 days after the applicable Operating Day, as follows:

(i)	Ancillary Service Offers by Operating Hour for each Resource for all Ancillary Services submitted for the Day-Ahead Market (DAM) or any Supplemental Ancillary Services Market (SASM);

(ii)	The quantity of Ancillary Service offered by Operating Hour for each Resource for all Ancillary Service submitted for the DAM or any SASM; and

(iii)	Energy Offer Curve prices and quantities for each Settlement Interval by Resource.  The Protected Information status of this information shall expire within seven days after the applicable Operating Day if required to be posted as part of paragraph (5) of Section 3.2.5 and within two days after the applicable Operating Day if required to be posted as part of paragraph (6) of Section 3.2.5;

(c)	Status of Resources, including Outages, limitations, or scheduled or metered Resource data.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(d)	Current Operating Plans (COPs).  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(e)	Ancillary Service Trades, Energy Trades, and Capacity Trades identifiable to a specific QSE or Resource.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(f)	Ancillary Service Schedules identifiable to a specific QSE or Resource.  The Protected Information status of this information shall expire 60 days after the applicable Operating Day;

(g)	Dispatch Instructions identifiable to a specific QSE or Resource, except for Reliability Unit Commitment (RUC) commitments and decommitments as provided in Section 5.5.3, Communication of RUC Commitments and Decommitments.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(h)	Raw and Adjusted Metered Load (AML) data (demand and energy) identifiable to a specific QSE, Load Serving Entity (LSE), or Customer.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(i)	Settlement Statements and Invoices identifiable to a specific QSE.  The Protected Information status of this information shall expire 180 days after the applicable Operating Day;

(j)	Number of Electric Service Identifiers (ESI IDs) identifiable to a specific LSE.  The Protected Information status of this information shall expire 365 days after the applicable Operating Day;

(k)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available.  The Protected Information status of this information shall expire when the generation interconnection agreement is executed or a financial arrangement for transmission construction is completed with a Transmission Service Provider (TSP);

(l)	Resource-specific costs, design and engineering data;

(m)	Congestion Revenue Right (CRR) credit limits, the identity of bidders in a CRR Auction, or other bidding information identifiable to a specific CRR Account Holder.  The Protected Information status of this information shall expire as follows:

(i)	The Protected Information status of the identities of CRR bidders that become CRR Owners and the number and type of CRRs that they each own shall expire at the end of the CRR Auction in which the CRRs were first sold; and

(ii)	The Protected Information status of all other CRR information identified above in item (m) shall expire six months after the end of the year in which the CRR was effective.

(n)	Renewable Energy Credit (REC) account balances.  The Protected Information status of this information shall expire three years after the REC Settlement period ends;

(o)	Credit limits identifiable to a specific QSE;

(p)	Any information that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information that is expressly designated not to be Protected Information by Section 1.3.1.2, Items Not Considered Protected Information, or that, pursuant to Section 1.3.3, Expiration of Confidentiality, is no longer confidential

;

(q)	Any information compiled by a Market Participant on a Customer that in the normal course of a Market Participant’s business that makes possible the identification of any individual Customer by matching such information with the Customer’s name, address, account number, type of classification service, historical electricity usage, expected patterns of use, types of facilities used in providing service, individual contract terms and conditions, price, current charges, billing record, or any other information that a Customer has expressly requested not be disclosed (“Proprietary Customer Information”) unless the Customer has authorized the release for public disclosure of that information in a manner approved by the Public Utility Commission of Texas (PUCT).  Information that is redacted or organized in such a way as to make it impossible to identify the Customer to whom the information relates does not constitute Proprietary Customer Information;

(r)	Any software, products of software, or other vendor information that ERCOT is required to keep confidential under its agreements;

(s)	QSE, TSP, and Distribution Service Provider (DSP) backup plans collected by ERCOT under the Protocols or Other Binding Documents;

(t)	Direct Current Tie (DC Tie) information provided to a TSP or DSP under Section 9.17.2, Direct Current Tie Schedule Information;

(u)	Any Texas Standard Electronic Transaction (TX SET) transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This paragraph does not apply to ERCOT’s compliance with:

(i)	PUCT Substantive Rules on performance measure reporting;

(ii)	These Protocols or Other Binding Documents; or

(iii)	Any Technical Advisory Committee (TAC)-approved reporting requirements;

(v)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 3.14.1.9, Generation Resource Return to Service Updates;

(w)	Information provided by Entities under Section 10.3.2.4, Reporting of Net Generation Capacity;

(x)	Alternative fuel reserve capability and firm gas availability information submitted pursuant to Section 6.5.9.3.1, Operating Condition Notice, Section 6.5.9.3.2, Advisory, and Section 6.5.9.3.3, Watch, and as defined by the Operating Guides;

(y)	Non-public financial information provided by a Counter-Party to ERCOT pursuant to meeting its credit qualification requirements as well as the QSE’s form of credit support;

(z)	ESI ID, identity of Retail Electric Provider (REP), and MWh consumption associated with transmission-level Customers that wish to have their Load excluded from the Renewable Portfolio Standard (RPS) calculation consistent with Section 14.5.3, End-Use Customers, and subsection (j) of P.U.C. Subst. R. 25.173, Goal for Renewable Energy; or

(aa)	Generation Resource emergency operations plans and weatherization plans

[NPRR438: Insert the following item (bb) on January 1, 2013:] (bb) Information provided by a Counter-Party under Section 16.16.3, Verification of Risk Management Framework.

3.21	Submission of Emergency Operations Plans, Weatherization Plans, and Declarations of Summer and Winter Weather Preparedness

(1)	Each Resource Entity shall provide ERCOT a complete copy of the emergency operations plan for each Generation Resource under the Resource Entity’s control.  For any jointly owned Generation Resource, the emergency operations plan shall be submitted by the Master Owner designated in the Resource registration form.  Each Resource Entity shall provide ERCOT with any updated versions of the emergency operations plan within 30 days after such updates take effect.  Resource Entities shall submit all plans and updates electronically.  This paragraph does not apply to any currently Mothballed Generation Resource.

(2)	For each emergency operations plan submitted, a Resource Entity shall either specifically designate which portions of the plan address weatherization, or shall separately submit a weatherization plan.  At a minimum, the emergency operation plan or weatherization plan, as applicable, shall include a description of the Generation Resource’s practices and procedures undertaken in preparation for winter and summer weather and during specific occurrences of extreme weather.    If a weatherization plan is submitted separately, the Resource Entity shall provide ERCOT with any updated versions of this weatherization plan within 30 days after such updates take effect.  Resource Entities shall submit all such plans and updates electronically.

(3)	No earlier than November 1 and no later than December 1 of each year, each Resource Entity shall submit the declaration in Section 22, Attachment K, Declaration of Completion of Generation Resource Weatherization Preparations, to ERCOT stating that, at the time of submission, each Generation Resource under the Resource Entity’s control has completed or will complete all weather preparations required by the weatherization plan for equipment critical to the reliable operation of the Generation Resource during the winter time period (December through February).  If the work on the equipment that is critical to the reliable operation of the Generation Resource is not complete at the time of filing the declaration, the Resource Entity shall provide a list and schedule of remaining work to be completed.  The declaration shall be executed by an officer or executive with authority to bind the Resource Entity.  This declaration shall not apply to any Generation Resource for any part of the above designated winter time period for which the Resource Entity expects the Generation Resource to be mothballed, and a Resource Entity is not required to submit an declaration for any Generation Resource that is expected to be mothballed for the entire winter time period.  However, if a Generation Resource was not included on the declaration because it was mothballed at the time the declaration was submitted and was not intended to be operational during the winter time period, a Resource Entity shall provide the declaration for that Generation Resource prior to changing its status from mothballed to operational during the winter time period.

(4)	No earlier than May 1 and no later than June 1 of each year, each Resource Entity shall submit the declaration in Section 22, Attachment K, to ERCOT stating that, at the time of submission, each Generation Resource under the Resource Entity’s control has completed or will complete all weather preparations required by the weatherization plan for equipment critical to the reliable operation of the Generation Resource during the summer time period (June through September).  If the work on the equipment that is critical to the reliable operation of the Generation Resource is not complete at the time of filing the declaration, the Resource Entity shall provide a list and schedule of remaining work to be completed.  The declaration shall be executed by an officer or executive with authority to bind the Resource Entity.  This declaration shall not apply to any Generation Resource for any part of the above designated summer time period for which the Resource Entity expects the Generation Resource to be mothballed, and a Resource Entity is not required to submit an declaration for any Generation Resource that is expected to be mothballed for the entire summer time period designated above.  However, if a Generation Resource was not included on the declaration because it was mothballed at the time the declaration was submitted and was not intended to be operational during the summer time period, a Resource Entity shall provide the declaration for that Generation Resource prior to changing its status from mothballed to operational during the summer time period.

(5)	On or before January 15 each year, ERCOT shall report to the Public Utility Commission of Texas (PUCT) the names of Resource Entities failing to provide the declaration required by paragraph (3) above.

(6)	On or before July 15 each year, ERCOT shall report to the PUCT the names of Resource Entities failing to provide the declaration required by paragraph (4) above.

ERCOT Nodal Protocols

Section 22

- Attachment K:  Declaration of Completion of Generation Resource Weatherization Preparations

Declaration of Completion of Generation Resource Weatherization Preparations

Time Period:

 Winter: December 20___ through February 20___

 Summer: June through September 20___

Resource Entity (or Entities):

This declaration applies to the following Generation Resources (list by Resource Site Code):

I hereby attest that all weatherization preparations for equipment critical to the reliable operation of each of the above-listed Generation Resources during the time period stated above are complete or will be completed, as required by the weatherization plan applicable to each Generation Resource.  For Generation Resources on Outage, any outstanding weatherization preparations are summarized in the attached document and include the name of the Generation Resource, a brief description of the remaining weatherization task(s) if any, and an associated target completion date for each task.

By signing below, I certify that I am an officer or authorized executive of each Resource Entity listed above, that I am authorized to execute and submit this declaration on behalf of each Resource Entity listed above, and that, to the best of my knowledge, the statements contained herein are true and correct.

______________________________________

Signature

______________________________________

Name

______________________________________

Title

______________________________________

Date