# ERCOT STEADY STATE WORKING GROUP (SSWG)

## December 6th, 2012 Report to ROS

### SSWG will have met once since the November ROS meeting.

### SSWG 2012 Calendar Year Case Building [Completed]:

- 13DSB Cases Finalized and Posted on Schedule [10/15/2012]

- 12DSA and 13DSA September TPIT Updated Cases Finalized and Posted [11/16/2012]

- 2016 High-Wind/Low-Load [16HWLL] Case:  Completed and Posted to POI [11/16/2012]

- Noteworthy:  The September TPIT updates complete SSWG case-building and case-updating efforts for the 2012 calendar year!

### 13DSA Transmission Loss Factor Calculation

- Calculates transmission losses for each of the 13DSA cases

- Currently In-Progress:  Pass 1 TSP submissions due 12/3/2012

- Anticipated Completion:  12/21/2012

### ERCOT Filed Contingency Definition Updates

- Updates contingency definitions on file with ERCOT for all active SSWG cases

- Currently In-Progress:  Pass 0 TSP submissions due on 11/30/2012

- Anticipated Completion:  12/19/2012

### Planning Data Dictionary Update

- Updates data dictionary with anticipated future bus definitions as identified in SSWG cases

- Anticipated Start:  12/12/2012

- Anticipated Completion:  01/11/2013

### Other Upcoming SSWG Activity:

- December TPIT Report: Initial TSP submissions due to ERCOT by 11/30/2012

  - Anticipated Posting:  ~12/31/2012 – 1/4/2013

  - Dec TPIT Case Updates:  Jan – Feb, 2013

- SSWG Procedure Manual Updates: Generator Area Assignments and Extraordinary Dispatch Methodology

  - SSWG Draft, Review, and Finalization of Required Updates [Jan, 2013]

  - Present Procedure Manual Updates to ROS for Approval [Feb, 2013]

- Noteworthy:  SSWG intends to transition to PSSE V33 with the 14DSA case-building effort to begin in March-April, 2013.

Brad Myers	Julius Horvath

2012 SSWG Chair	2012 SSWG Vice-Chair