## Slide 1: Protocol Revision Subcommittee
Tom Burke
November 29, 2012

## Slide 2
Summary of Revision Requests
8 NPRRs Recommended for Approval
Notes: <number>

## Slide 3: Items for a Vote
Unopposed Recommendations
NPRR473, Process for Submission of Generation Resource Weatherization Information*
NPRR483, REC Program Renewable Resource Self-Reporting MWH Production Data and Metering Requirements*
NPRR488, Resource Entity and LSE QSE Designation or Change*
NPRR489, Planning Reserve Margin*
NPRR497, Corrections to NPRR400 – URGENT*
NPRR501, Correct ERS Self-Provision Settlement Calculation – URGENT*
Recommendations with Opposing Votes
NPRR385, Security Violation Analysis and Reporting and Negative Price Floor
NPRR461, Energy Storage Settlements Consistent With PUCT Project 39917 – URGENT
(* denotes no impacts)
Notes: <number>

## Slide 4: NPRR Descriptions
NPRRs Recommended for Approval

## Slide 5: NPRR385, Negative Price Floor
Purpose (Luminant) | This NPRR adds an administrative Real-Time Settlement Point Price floor of negative $251/MWh for Resource Nodes, Hubs and Load Zones.
PRS Vote | On 7/21/11, PRS unanimously voted to recommend approval of NPRR385 as amended by the 6/21/11 Luminant Energy comments. On 10/18/12, PRS voted via roll call vote to endorse the 7/21/11 PRS Report for NPRR385 as amended by the 10/16/12 Luminant Energy comments and to request that NPRR385 return to the 11/15/12 PRS meeting with an Impact Analysis. There were six opposing votes from the Consumer (3) and Municipal (3) Market Segments. On 11/15/12, PRS endorsed and forwarded the 10/18/12 PRS Report as amended by the 11/14/12 ERCOT comments and Impact Analysis for NPRR385 to TAC with a recommended priority of 2013 and rank of 367. There was one opposing vote from the Consumer Market Segment.
Effective Date/Priority | Upon System Implementation – Priority 2013; Rank 367
ERCOT Impact | $70k - $90k; impacts to MMS, PVT, and EMMS.
Business Case Highlights | Capture of costs of congestion for ERCOT and Market Participants use in effective planning and investment decisions; and Improvement in market efficiency results in accurate pricing signals and improved consumer confidence
ERCOT Public
Notes: <number>

## Slide 6: NPRR461, Energy Storage Settlements Consistent With PUCT Project 39917 – URGENT
Purpose (ERCOT) | This NPRR modifies the Protocols to implement the process for Settlement of energy storage consistent with PUCT Project No. 39917, Rulemaking on Energy Storage Issues, as adopted in P.U.C. Subst. R. 25.192, Transmission Service Rates and P.U.C. Subst. R. 25.501, Wholesale Market Design.
PRS Vote | On 11/15/12, PRS voted to grant NPRR461 Urgent status. There was one opposing vote from the Consumer Market Segment and one abstention from the Independent Generator Market Segment. PRS then voted to recommend approval of NPRR461 as amended by the 11/12/12 ERCOT comments and as revised by PRS with a recommended priority of 2013 and rank of 60 and to forward to TAC. There was one opposing vote from the Consumer Market Segment and two abstentions from the Consumer and Independent Generator Market Segments.
Effective Date/Priority | Upon System Implementation – Priority 2013; Rank 60
ERCOT Impact (preliminary) | $200k - $300k; impacts to MMS, EMS, S&B, CSI, NMMS, and EIS. ERCOT will update its business functions. Impacts to Grid Operations and Practices are currently being assessed.
Business Case Highlights | Aligns ERCOT business practices with PUCT Project No. 39917; and clearly defines process for energy storage Settlement.
Notes: <number>

## Slide 7: NPRR473, Process for Submission of Generation Resource Weatherization Information
Purpose (ERCOT) | This NPRR creates a process to accommodate the legislatively mandated submission of generator emergency operations plans; requires separate submission of weatherization plans for each Generation Resource; proposes a semi-annual weatherization declaration to determine ERCOT System preparedness; and clarifies that all information designated as Protected Information is considered Protected Information, unless it is expressly deemed otherwise by by Protocol.
PRS Vote | On 10/18/12, PRS voted to recommend approval of NPRR473 as amended by the 10/9/12 ERCOT comments and as revised by PRS. There was one abstention from the Independent Generator Market Segment. On 11/15/12, PRS voted to endorse and forward the 10/18/12 PRS Report as revised by PRS and Impact Analysis for NPRR473 to TAC. There was one abstention from the Consumer Market Segment.
Effective Date/Priority | January 1, 2013
ERCOT Impact | No impacts to budget or systems. ERCOT business functions will be updated.
Business Case Highlights | ERCOT’s collection of Generation Resource weatherization information is required by statute and P.U.C. Subst. R. 25.362.
Notes: <number>

## Slide 8: NPRR483, REC Program Renewable Resource Self-Reporting MWH Production Data and Metering Requirements
Purpose (ERCOT) | This NPRR provides an option for a renewable All-Inclusive Generation Resource to self-report quarterly MWh production data to ERCOT for use in the REC Trading Program; and establishes metering requirements for any renewable All-Inclusive Generation Resource choosing to self-report MWh production data for use in the REC Trading Program.
PRS Vote | On 10/18/12, PRS voted to recommend approval of NPRR483 as amended by the 9/20/12 CenterPoint Energy comments. There was one abstention from the Independent Generator Market Segment. On 11/15/12, PRS unanimously voted to endorse and forward the 10/18/12 PRS Report and Impact Analysis for NPRR483 to TAC.
Effective Date/Priority | January 1, 2013
ERCOT Impact | No impacts.
Business Case Highlights | Alignment of ERCOT Protocols with P.U.C. SUBST. R. 25.173; provides option for self-reporting generation data; provides option for Renewable All-Inclusive Generation Resource Facilities to self-report their Settlement quality MWh production data; defines metering requirements for Renewable All-Inclusive Generation Resource Facilities that elect to self-report their Settlement quality MWh production data to ERCOT.
Notes: <number>

## Slide 9: NPRR488, Resource Entity and LSE QSE Designation or Change
Purpose (ERCOT) | This NPRR revises the timing for when a Resource Entity or LSE is required to designate or change a QSE and secure ERCOT approval of the QSE acknowledgment prior to commencing with operations.
PRS Vote | On 10/18/12, PRS voted to recommend approval of NPRR488 as amended by the 10/17/12 ERCOT comments. There was one abstention from the Independent Power Marketer (IPM) Market Segment. On 11/15/12, PRS unanimously voted to endorse and forward the 10/18/12 PRS Report and Impact Analysis for NPRR488 to TAC.
Effective Date/Priority | January 1, 2013
ERCOT Impact | No impacts.
Business Case Highlights | Proposed revisions acknowledges that the Market Participant may need a period of time to prepare for market entry as a new LSE or Resource Entity with new Resource prior to the start of business and operational transactions in the ERCOT Market or during periods the LSE or Resource Entity have no market activity; and provides clarification when the QSE must be designated.
Notes: <number>

## Slide 10: NPRR489, Planning Reserve Margin
Purpose (NRG) | This NPRR adds the Planning Reserve Margin methodology, currently in the Planning Guide, to the Protocols.
PRS Vote | On 10/18/12, PRS voted to recommend approval of NPRR489 as amended by the 10/17/12 ERCOT comments and as revised by PRS. There were two abstentions from the Municipal and IPM Market Segments. On 11/15/12, PRS endorsed and forwarded the 10/18/12 PRS Report and Impact Analysis for NPRR489 to TAC. There was one abstention from the IPM Market Segment.
Effective Date/Priority | January 1, 2013
ERCOT Impact | No impacts.
Business Case Highlights | Improves the transparency and approval process for the Planning Reserve Methodology calculations performed by ERCOT for the semi-annual Capacity, Demand and Reserve report.
Notes: <number>

## Slide 11: NPRR497, Corrections to NPRR400 – URGENT
Purpose (ERCOT) | This NPRR corrects language within NPRR400, Eliminate Unsecured Credit for CRR Auctions and for Future Credit Exposure and Eliminate Netting of FCE with CCE, which was approved by the ERCOT Board on October 18, 2011.
PRS Vote | On 11/15/12, PRS voted to grant NPRR497 Urgent status. There was one abstention from the Independent Generator Market Segment. PRS then unanimously voted to recommend approval of NPRR497 as submitted and to forward NPRR497 to TAC.
Effective Date/Priority | December 12, 2012
ERCOT Impact | No impacts.
Business Case Highlights | Align the Protocols with the system implementation of calculating a Counter-Party’s Available Credit Limit.
Notes: <number>

## Slide 12: NPRR501, Correct ERS Self-Provision Settlement Calculation – URGENT
Purpose (ERCOT) | This NPRR corrects the formula for the Self-Procured Amount per QSE per Emergency Response Service (ERS) Contract Period per ERS Time Period (SPAMTqc(tp)), which affects Settlement payment amounts for ERS Self-Provision.
PRS Vote | On 11/15/12, PRS unanimously voted to grant NPRR501 Urgent status. PRS then unanimously voted to recommend approval of NPRR501 as submitted and to forward to TAC.
Effective Date/Priority | December 12, 2012
ERCOT Impact | No impacts to budget or systems. ERCOT business functions will be updated.
Business Case Highlights | Maintain consistency between Protocol language and as-built systems and processes.
Notes: <number>