## Slide 1: 30-Minute ERS Pilot update to TAC
Presented By: Mark Patterson
ERCOT Manager, Demand Integration
November 29, 2012
1

## Slide 2: 30-Minute ERS Pilot Summary
Implemented 2 Contract Periods
  July 15, 2012 through Sep 2012
  Oct 2012 through Jan 2013
No EEA Level Deployment Events
ERCOT has Conducted 5 Test Deployments
  3 test deployments during 1st Contract Period
  2 test deployments during 2nd Contract Period (to-date)
Completed Availability Analysis for 1st Contract Period
Estimated Pilot Cost (2 Contract Periods) - $ 2,142,768.54
11/29/2012

## Slide 3: Stated Objectives for Pilot Project
The described purposes for ERCOT requesting this Pilot Project are listed as follows and addressed in this initial assessment.
  Assess the operational benefits and challenges of deploying an ERS product with a thirty-minute ramp period;
  Study the optimal means of deploying 30-Minute ERS in an EEA;
  Gather data to analyze the execution and benefits of a clearing price mechanism;
  Gather data to assist ERCOT in determining the appropriate price to pay for 30-Minute ERS;
  Gather data to compare costs and benefits relative to 10-Minute ERS; and
  Determine overall market interest in 30-Minute ERS before making appropriate ERCOT rule changes.
11/29/2012

## Slide 4
 | Test Date | Contract Period | Time Period | Fleet Obligation (MW) | Fleet Load Reduction (MW)
Test #1 | Sept 5 | Jul-Sep | BH1 | 18.01 | 9.09
Test #2 | Sept 13 | Jul-Sep | BH1 | 19.4 | 24.13
Test #3 | Sept 26 | Jul-Sep | BH2 | 16.25 | 22.44
Test #4 | Oct 30 | Oct-Jan | BH2 | 58.832 | 33.822
Test #5 | Nov 20 | Oct-Jan | BH1 | 80.28 | Not Avail3
Notes: 1 Represents the BH1 obligation for those resources that had an obligation at the time of the VDI (NBH)
2Obligation and Load Reduction includes only for those ERS Resources with data available at time of this assessment
3 No data available at time of this assessment
11/29/2012
Objective #1: Assess the operational benefits and challenges of deploying an ERS product with a thirty-minute ramp period

## Slide 5
11/29/2012
Objective #1: Assess the operational benefits and challenges of deploying an ERS product with a thirty-minute ramp period

## Slide 6
11/29/2012
Objective #1: Assess the operational benefits and challenges of deploying an ERS product with a thirty-minute ramp period

## Slide 7
11/29/2012
Objective #1: Assess the operational benefits and challenges of deploying an ERS product with a thirty-minute ramp period

## Slide 8
11/29/2012
Objective #1: Assess the operational benefits and challenges of deploying an ERS product with a thirty-minute ramp period
Note: Only about 60% of metered load available at time of assessment. Remaining data may change the fleet results. One Resource which is on an alternate baseline met performance criteria for the test, but had low load levels (and thus relatively low load reduction) on that day.

## Slide 9
11/29/2012
Objective #1: Assess the operational benefits and challenges of deploying an ERS product with a thirty-minute ramp period
Note: For Settlement purposes the availability factor is limited to 1.0

## Slide 10
Findings from Deployment Test and Availability
  Additional Demand Response capacity available with a 30-minute ramp period.
  The September 5th test has shown that ERCOT needs to reinforce the concept that QSEs need to honor their obligations as they change from time period to time period.
  Other tests in which the event occurred in a single time period results showed a tendency to over-provide which is comparable to the event history for 10-Minute ERS.
11/29/2012
Objective #1: Assess the operational benefits and challenges of deploying an ERS product with a thirty-minute ramp period

## Slide 11
11/29/2012
There have been no EEA events since start of pilot program
ERCOT believes deploying a 30-minute product as early as EEA Level 1 is optimal to allow ramp to complete and increase the chances of averting EEA level 3 (firm load shed)
Objective #2: Study the optimal means of deploying 30-Minute ERS in an EEA

## Slide 12
11/29/2012
Observed the existence of offers as price takers
Using a clearing price mechanism without a predetermined capacity limit requires some level of subjectivity by the ERCOT Procurement Committee when setting maximum price to pay for the service.
ERCOT is reviewing alternatives that could be used to establish a capacity limit per time period for ERS
Objective #3: Gather data to analyze the execution and benefits of a clearing price mechanism

## Slide 13
11/29/2012
 | Time Period | Bus. Hrs. 1 HE 0900 – 1300 M-F except Holidays | Bus. Hrs. 2 HE 1400 – 1600 M-F except Holidays | Bus. Hrs. 3 HE 1700 – 2000 M-F except Holidays | Non-Bus. Hrs. All Other Hours
10-Minute ERS June – September12 | Highest Offer Accepted | $16.00 | $16.00 | $16.00 | $12.75
 | Average Price Accepted | $8.70 | $9.67 | $9.97 | $8.83
30-Minute ERS Pilot July 15th – September12 | Clearing Price | $11.00 | $16.00 | $16.00 | $11.00
10-Minute ERS October 12 – January13 | Highest Offer Accepted | $8.75 | $9.75 | $9.75 | $8.75
 | Average Price Accepted | $8.22 | $8.77 | $9.06 | $8.15
30-Minute ERS Pilot October 12 – January13 | Clearing Price | $8.10 | $9.20 | $9.50 | $8.20
Objective #4 & 5:Gather data to assist ERCOT in determining the appropriate price to pay for 30-Minute ERS & compare costs and benefits relative to 10-Minute ERS

## Slide 14
11/29/2012
Time Period | Bus. Hrs. 1 HE 0900 – 1300, M-F except Holidays | Bus. Hrs. 2 HE 1400 – 1600, M-F except Holidays | Bus. Hrs. 3 HE 1700 – 2000, M-F except Holidays | Non-Bus. Hrs. All Other Hours
Capacity Offered | 93.68 MW | 95.58 MW | 89.01 MW | 75.15 MW
Capacity Procured | 80.28 MW | 82.33 MW | 82.01 MW | 71.15 MW
October 2012 – January 2013
Time Period | Bus. Hrs. 1 HE 0900 – 1300, M-F except Holidays | Bus. Hrs. 2 HE 1400 – 1600, M-F except Holidays | Bus. Hrs. 3 HE 1700 – 2000, M-F except Holidays | Non-Bus. Hrs. All Other Hours
Capacity Offered | 19.4 MW | 16.25 MW | 15.80 MW | 9.5 MW
Capacity Procured | 19.4 MW | 16.25 MW | 15.80 MW | 9.5 MW
July 15th – September 2012
Note: Feedback from DR providers have stated that there is additional MWs waiting until a 30-Minute Service in implemented into the protocols.
Objective #6: Determine Overall market interest in 30-Minute ERS before making appropriate ERCOT rule changes.

## Slide 15
11/29/2012
New ERS Providers
  July – September
    1 new QSE
    2 new DR providers represented by an existing QSE.
  October – January
    3 new QSEs
Types of sites offered
  July – September: 393 sites offered for 30-Minute ERS
  October – January: 635 sites offered for 30-Minute ERS
Total first time sites offered for 30-Minute ERS: 532
First ever ERS Residential aggregation
  July – September: 284 sites
  October – January: 347 sites
Objective #6: Determine Overall market interest in 30-Minute ERS before making appropriate ERCOT rule changes.

## Slide 16: Estimated Cost of 30-Minute ERS Pilot
11/29/2012
Contract Term |  | Projected Cost
Jul 2012 - Sep 2012 |  | $ 282,250.80
Oct 2012-Jan 2013 |  | $ 1,860,517.74
 |  | $ 2,142,768.54
Total estimated cost for both 10-Minute ERS and 30-Minute ERS Pilot for calendar year 2012:
Contract Term |  | Projected Cost
10-Minute ERS |  | $ 30,700,217.46
30-Minute ERS Pilot |  | $ 2,142,768.54
 |  | $ 32,843,986.00

## Slide 17: Next Steps
Request BOD approval for Feb-May 2013 Contract Period
    November 26, 2012 – ERS Resource ID (ERID) process began - Submittal of Resources for baseline assignment & capacity pre-screening
    January 11, 2013 – Offers Due to ERCOT
2. Discuss with Board the initiation of an NPRR for 30-Minute ERS
11/29/2012