ERCOT System Protection Working Group (SPWG)

monthly report to

ERCOT Reliability Operation Subcommittee (ROS)

December 6, 2012

SPWG meetings since last ROS meeting:

SPWG last met on 11/5/12 & 11/6/12.  Draft meeting notes and action items were distributed to the membership on 11/20/12.  The SPWG 2013 meeting calendar was developed & posted.  The 2013 CY & FY short circuit case building schedule was developed.  Major topics of discussion at the November meeting included: FERC Order 754, interconnection study short circuit guidelines, RARF data needs & utilizing RARF data in the short-circuit cases, the 2013 short-circuit case building process, relay remote access best practices/challenges, 345kV event model validation, generator model validation efforts by ERCOT, relay misoperation trends as reported by TRE, and an update on NERC PRC standards activities.  Candidates for the SPWG 2013 Chair and Vice-chair have been identified.

Current group activity/updates:

SPWG has drafted NOGRR107 to clarify disturbance monitoring requirements.  Section 6 of the Nodal Operating Guides will be impacted.  SPWG has been working with Yvette Landin on this.  The latest draft version was edited at the November SPWG meeting and has been provided to Yvette.  An OWG review will occur on 12/19/12.

Several SPWG members participated in a RARF workshop hosted by ERCOT on 10/29/12.  This workshop addressed data needs associated with modeling generator resources in the planning cases.

Several SPWG members participated in the building of a CREZ-region “max export” short circuit case.  The case was initially based on the SPWG FY2017 short circuit case, but also includes some anticipated generation in the CREZ region in order to gauge future expected short circuit fault duties and the potential impact on transmission relay settings.  This effort was completed on 10/19/12.  The output of this effort has been distributed to the SPWG membership as a courtesy but will not be considered (or published) as an “official” ERCOT SPWG case.

The Texas RE Misoperation Policy is in effect as of 4/1/12, and was modified most recently on 10/31/12.

- Per PRC-004-2a (effective 4/1/12), Texas RE has developed a Regional Entity procedure for relay misoperation reporting.  Originally, the procedure/reporting method was substantially similar to the procedure developed last year via NOGGR069.

- However, the latest modification to the TRE policy (effective 11/1/12) diverges further from the ERCOT Nodal Operating Guides and will require entities to provide two different submittals.

- NOGRR099 was submitted to remove similar language out of the scope of the Nodal Operating Guides in order to prevent overlap and/or confusion, but it was withdrawn.

SPWG 2013 Meetings

- Scheduled for: March 21 & 22, July 18 & 19, and November 21 & 22.

- All meetings will be held at the ERCOT Met Center facility in a Thursday full day/Friday half day format.  Dates & meeting rooms have been confirmed.

Submitted by Kris Koellner, SPWG 2012 Chair, 11/27/12