| NOGRR Number | 101 | NOGRR Title | Market Transparency for DC Tie Outage Information |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | November 14, 2012 |  |  |
| Proposed Effective Date |  | Upon system implementation. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Operating Guide Sections Requiring Revision |  | 10, Market Data Transparency (new) 10.1, Direct Current Tie Outage Information (new) |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) provides that ERCOT shall produce a detailed report regarding any Outage of a Direct Current Tie (DC Tie) in a timely manner. |  |  |
| Reason for Revision |  | Outages of interconnection points between the ERCOT and non-ERCOT Control Areas have market implications on both the ERCOT market and the interconnected market. Detailed information regarding such Outages is necessary for Market Participants on both sides of the interconnection point to be able to manage risk associated with such outages. |  |  |
| Procedural History |  | - On 7/24/12, NOGRR101 was posted. - On 7/30/12, Calpine comments were posted. - On 8/13/12, ERCOT comments were posted. - On 8/15/12, the Operations Working Group (OWG) considered NOGRR101. - On 8/16/12, WMS comments were posted. - On 10/17/12, a second set of ERCOT comments were posted. - On 10/17/12, OWG considered the 8/15/12 OWG Report for NOGRR101. - On 10/22/12, Tenaska Power Services Co. comments were posted. - On 11/7/12, an Impact Analysis was posted. - On 11/14/12, OWG considered the 10/17/12 OWG Report and Impact Analysis for NOGRR101. |  |  |
| OWG Decision |  | On 8/15/12, OWG was in consensus to recommend approval of NOGRR101 as revised by the 8/13/12 ERCOT comments. On 10/17/12, OWG was in consensus to recommend approval of NOGRR101 as amended by the 10/17/12 ERCOT comments. On 11/14/12, OWG was in consensus to endorse and forward the 10/17/12 OWG Report and Impact Analysis for NOGRR101 to ROS. |  |  |
| Summary of OWG Discussion |  | On 8/15/12, it was stated that this NOGRR increases transparency of DC Tie Outage information. The 8/13/12 ERCOT comments were also discussed. On 10/17/12, ERCOT Staff explained that development of an Impact Analysis is pending further clarification to Section 10 and that the language added to the grey-box for NOGRR084, Daily Grid Operations Summary Report, should be removed from the grey-box in Section 10.2, Daily Grid Operations Report. On 11/14/12, ERCOT Staff reviewed the Impact Analysis for NOGRR101. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Qualitative benefits: - Increases transparency of market and reliability related data. - Allows Market Participants to manage risk associated with interconnection Outages. - Removes potential issues between interconnected markets. |
|  | 2 | Impacts to Market Segments: - Potential positive impact to Market Participants who are active in multiple markets. |

| Sponsor |  |
| --- | --- |
| Name | Jeremy Carpenter |
| E-mail Address | jcarpenter@tnsk.com |
| Company | Tenaska Power Services Co. |
| Phone Number | 817-303-1869 |
| Cell Number |  |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Calpine 073012 | Proposed changes to clarify how DC Tie Outages are reported. |
| ERCOT 081312 | Proposed changes to require Transmission Service Providers (TSPs) to enter additional DC Tie Outage details and to clarify when specific DC Tie Outage information will be provided. |
| WMS 081612 | Endorsed NOGRR101 as revised by the 8/13/12 ERCOT comments. |
| ERCOT 101712 | Deferred filing an Impact Analysis pending further clarification of NOGRR101 and removed language inserted into the grey-box of Section 10.2 regarding approval or cancellation of Outages. |
| Tenaska Power Services Co. 102212 | Proposed changes to include that all Outage types in the ERCOT Control Area should be reported. |

Proposed Guide Language Revision

- 10	Market Data Transparency

Information in this section provides reporting transparency for operational level data.  The information in this section is provided in addition to those required in the other sections of the Protocols or these Operating Guides.  Pursuant to Protocol Section 12.2 ERCOT Responsibilities, ERCOT shall post information to the Market Information System (MIS) as directed throughout these Operating Guides.

- 10.1 	Direct Current Tie Outage Information

- (1)	In addition to requirements in Protocol Sections 3.1.4.5, Management of Resource or Transmission Forced Outages or Maintenance Outages, and 3.1.5.1, ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities, Transmission Service Providers (TSPs) shall also enter the following information into the Outage Scheduler:

(a)	Specific work being performed; and

(b)	If the outage is due to work being performed on the DC Tie or if there is a transmission outage which also requires an outage on the DC Tie.

(2)	As soon as practicable, ERCOT shall provide the DC Tie name, start date/time, and end date/time for Forced Outages and Derates on the MIS Public Area.

(3)	One Business Day following the approval or cancellation of a Planned, Maintenance, or Forced Outage, ERCOT shall provide the following information on the MIS Public Area:

(a)	Equipment name;

(b)	Start date and time;

(c)	End date and time;

(d)	General work being performed; and

(e)	If the outage is due to work being performed on the DC Tie or if there is a transmission outage which also requires an outage on the DC Tie..

[NOGRR101: Delete paragraph (3) above, upon system implementation:]

[NOGRR084: Insert Section 10.2, Daily Grid Operations Report, below upon system implementation:] - 10.2 Daily Grid Operations Report For each Operating Day, ERCOT shall post to the Market Information System (MIS) Public Area on the following Business Day, a summary level report of the prior day’s operational information that shall include the following data elements: (a) Peak Load; (b) Peak hour; (c) Planned peak Load from the Day Ahead Load Forecast; (d) Planned peak hour from the Day Ahead Load Forecast; (e) Amount, duration, time deployed and time recalled for each deployment of Responsive Reserve (RRS) from Generation Resources and Controllable Load Resources; (f) Each instance of Verbal Dispatch Instruction (VDI) deployment of Load Resources providing RRS; (g) Amount, duration, time deployed, and time recalled for each Non-Spinning Reserve (Non-Spin) deployment with designation as Off-Line if available; (h) Security-Constrained Economic Dispatch (SCED) offset (including SCED timestamp, offset timestamp and amount); (i) Summary of Reliability Unit Commitment (RUC) intervals for which a RUC commitment or decommitment occurred; (j) Summary of intervals for which Reliability Must-Run (RMR) Resources are committed; (k) List of SCED intervals which reached the Shadow Price cap and constraint associated with each; (l) Number of Resources with manual High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs) manual overrides and a list of the constraints which were the cause of the override; (m) List of Emergency Condition Notifications; and (n) A frequency deviation event equal to or greater than .10 Hz which shall include: (i) ERCOT Load at the time of each event; (ii) Time of each event; (iii) Amount of generation and Load lost contributing to the event; and (iv) Approximate lowest frequency.