| NOGRR Number | 101 | NOGRR Title | Market Transparency for DC Tie Outage Information |
| --- | --- | --- | --- |

| Date | August 13, 2012 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Colleen Frosch |
| E-mail Address | cfrosch@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-4219 |
| Cell Number |  |
| Market Segment | Not applicable |

Comments

ERCOT submits these comments to:

- Require Transmission Service Providers (TSPs) to provide detailed information regarding each Direct Current Tie (DC Tie) Outage into the Outage Scheduler in paragraph (1); and

- Codify ERCOT’s process of posting the DC Tie Planned or Forced Outage information to the Market Information System (MIS) Public Area in paragraph (2) of Section 10.1, Direct Current Tie Outage Information.

ERCOT also proposes to include a portion of the report in the Daily Grid Operations Report which is currently under development as part of Nodal Operating Guide Revision Request (NOGRR) 084, Daily Grid Operations Summary Report.

Revised Cover Page Language

| Nodal Operating Guide Section Requiring Revision | 10, Market Data Transparency (new) 10.1, Direct Current Tie Outage Information (new) |
| --- | --- |

Revised Proposed Guide Language

- 10	Market Data Transparency

Information in this section provides reporting transparency for operational level data.  The information in this section is provided in addition to those required in the other sections of the Protocols or these Operating Guides.  Pursuant to Protocol Section 12.2 ERCOT Responsibilities, ERCOT shall post information to the Market Information System (MIS) as directed throughout these Operating Guides.

- 10.1 	Direct Current Tie Outage Information

- (1)	In addition to requirements in Protocol Sections 3.1.4.5, Management of Resource or Transmission Forced Outages or Maintenance Outages, and 3.1.5.1, ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities, Transmission Service Providers (TSPs) shall also enter the following information into the Outage Scheduler:

(a)	Specific work being performed; and

(b)	Any other Outages related to or causing the Direct Current Tie (DC Tie) Outage, including the physical location, and whether the related Outage is within the ERCOT Control Area or a non-ERCOT Control Area.

(2)	As soon as practicable, ERCOT shall provide the DC Tie name, start date/time, and end date/time for Forced Outages and Derates on the MIS Public Area.

(3)	One Business Day following the approval or cancellation of a Planned, Maintenance, or Forced Outage, ERCOT shall provide the following information on the MIS Public Area:

(a)	Equipment name;

(b)	Start date and time;

(c)	End date and time;

(d)	Specific work being performed; and

(e)	Any other Outages related to or causing the DC Tie Outage, including the physical location, and whether the related Outage is within the ERCOT Control Area or a non-ERCOT Control Area.

[NOGRR101: Delete paragraph (3) above, upon system implementation:]

[NOGRR084 and NOGRR101: Insert Section 10.2, Daily Grid Operations Report, below upon system implementation:] - 10.2 Daily Grid Operations Report For each Operating Day, ERCOT shall post to the Market Information System (MIS) Public Area on the following Business Day, a summary level report of the prior day’s operational information that shall include the following data elements: (a) Peak Load; (b) Peak hour; (c) Planned peak Load from the Day Ahead Load Forecast; (d) Planned peak hour from the Day Ahead Load Forecast; (e) Amount, duration, time deployed and time recalled for each deployment of Responsive Reserve (RRS) from Generation Resources and Controllable Load Resources; (f) Each instance of Verbal Dispatch Instruction (VDI) deployment of Load Resources providing RRS; (g) Amount, duration, time deployed, and time recalled for each Non-Spinning Reserve (Non-Spin) deployment with designation as Off-Line if available; (h) Security-Constrained Economic Dispatch (SCED) offset (including SCED timestamp, offset timestamp and amount); (i) Summary of Reliability Unit Commitment (RUC) intervals for which a RUC commitment or decommitment occurred; (j) Summary of intervals for which Reliability Must-Run (RMR) Resources are committed; (k) List of SCED intervals which reached the Shadow Price cap and constraint associated with each; (l) Number of Resources with manual High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs) manual overrides and a list of the constraints which were the cause of the override; (m) List of Emergency Condition Notifications; and (n) A frequency deviation event equal to or greater than .10 Hz which shall include: (i) ERCOT Load at the time of each event; (ii) Time of each event; (iii) Amount of generation and Load lost contributing to the event; and (iv) Approximate lowest frequency; (o) The approval or cancellation of each DC Tie Planned, Maintenance, or Forced Outage including: (i) Equipment name; (ii) Start date and time; (iii) End date and time; (iv) Specific work being performed; and (v) Any other Outages related to or causing the DC Tie Outage, including the physical location, and whether the related Outage is within the ERCOT Control Area or a non-ERCOT Control Area.