| NOGRR Number | 101 | NOGRR Title | Market Transparency for DC Tie Outage Information |
| --- | --- | --- | --- |
| Date Posted |  | July 24, 2012 |  |

| Requested Resolution | Normal |
| --- | --- |
| Nodal Operating Guide Section Requiring Revision | 10.2, Direct Current Tie Outage Report (new) |
| Protocol Section(s) Requiring Revision (If applicable) | None. |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) provides that ERCOT shall produce a detailed report regarding any outage of a Direct Current Tie (DC Tie) in a timely manner. |
| Reason for Revision | Outages of interconnection points between the ERCOT and non-ERCOT Control Areas have market implications on both the ERCOT market and the interconnected market. Detailed information regarding such outages is necessary for Market Participants on both sides of the interconnection point to be able to manage risk associated with such outages. |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Qualitative benefits: - Increases transparency of market and reliability related data. - Allows Market Participants to manage risk associated with interconnection outages. - Removes potential issues between interconnected markets. |
|  | 2 | Impacts to Market Segments: - Potential positive impact to Market Participants who are active in multiple markets. |

| Sponsor |  |
| --- | --- |
| Name | Jeremy Carpenter |
| E-mail Address | jcarpenter@tnsk.com |
| Company | Tenaska Power Services Co. |
| Phone Number | 817-303-1869 |
| Cell Number |  |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

Proposed Guide Language Revision

- 10.2 	Direct Current-Tie Outage Report

For each Direct Current Tie (DC-Tie) outage, ERCOT shall post a report on the Market Information System (MIS) Public Area within one Business Day following the proposal, confirmation, or cancellation of a Planned or Maintenance Outage, or within six hours following the confirmation of a Forced Outage that shall include the following data elements:

(a)	Equipment Name;

(b)	Start Date;

(c)	End Date;

(d)	Specific work being performed; and

(e)	Any other associated outages related to or causing the DC Tie outage, including the physical location, including whether the outage within the ERCOT Control Area or a non-ERCOT Control Area, in which the associated outage occurs.