| PGRR Number | 018 | PGRR Title | Clarify the Prerequisites for Adding a New Generation Resource to the Planning Models and Capacity Demand and Reserves Report |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | November 29, 2012 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Planning Guide Sections Requiring Revision |  | 3.1.4.2, Use of Five-Year Transmission Plan 5.3.2, Modifications to Request 5.5.1, Standard Generation Interconnection Agreement 5.5.4, Notification to ERCOT Concerning Certain Project Developments (new) 6.1, Steady-State Model Development 6.3, Process for Developing Short Circuit Cases 6.9, Addition of Proposed Generation Resources to the Planning Models (new) 8.3.2, Total Capacity Estimate |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) clarifies that ERCOT will add proposed Generation Resources to the planning models and include these Resources in the calculation of the Planning Reserve Margin only after the Interconnecting Entity (IE) has first: (a) notified ERCOT that it has given the Transmission Service Provider (TSP) a financial commitment sufficient to fund the interconnection facilities and notice to proceed with the construction of the interconnection; (b) notified ERCOT that it has obtained all requisite air permits from the Texas Commission on Environmental Quality (TCEQ); and (c) demonstrated that it has obtained the rights to sufficient water to operate the facility. This PGRR also requires the IE to submit all data necessary for including the proposed Generation Resource in the planning models. |  |  |
| Reason for Revision |  | Currently, new Generation Resources are added to the planning models once an IE signs a Standard Generation Interconnection Agreement (SGIA). In the past it was assumed that signing an SGIA meant that the IE had provided a financial commitment for the interconnection facilities and that the proposed Generation Resource was likely to be constructed. However, there have been several instances where IEs signed SGIAs with no financial commitment. This has led to proposed Generation Resources being modeled in the planning cases when, in fact, these proposed Generation Resources have made no commitment to construct. Counting on these proposed Generation Resources can negatively impact the planning studies which could lead to future reliability problems. Additionally, the air permit requirement is added to synchronize with the existing prerequisite for inclusion of new Generation Resources in the calculation of the Planning Reserve Margin. Finally, a water supply requirement is also included to ensure that proposed Generation Resources will be able to operate. |  |  |
| Procedural History |  | - On 2/21/12, PGRR018 and the associated Impact Analysis were posted. - On 2/24/12, Luminant Energy Company LLC comments were posted. - On 3/12/12, WMS comments were posted. - On 3/27/12, Oncor Electric Delivery comments were posted. - On 3/29/12 the Planning Working Group (PLWG) considered PGRR018. - On 4/26/12, the PLWG again considered PGRR018. - On 6/12/12, a second set of Oncor Electric Delivery comments were posted. - On 6/14/12, ROS considered PGRR018. - On 6/14/12, a second set of WMS comments were posted. - On 7/12/12, ROS considered the 6/14/12 ROS Report and Impact Analysis for PGRR018. - On 9/7/12, TAC considered PGRR018. - On 11/13/12, the ERCOT Board considered PGRR018. - On 11/29/12, TAC again considered PGRR018. |  |  |
| PLWG Decision |  | On 3/29/12, the PLWG was in consensus to table PGRR018. On 3/29/12, the PLWG could not reach consensus on PGRR018, but was in agreement to forward PGRR018 as amended by the 3/27/12 Oncor Electric Delivery comments and as revised by PLWG, including options in paragraph (1)(a) of Section 6.9, to ROS. |  |  |
| Summary of PLWG Discussion |  | On 3/29/12, it was requested that PGRR018 be tabled to allow time for interested parties to review the 3/27/12 Oncor Electric Delivery comments and for the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) to review and comment on PGRR018. On 4/26/12, the 3/27/12 Oncor Electric Delivery comments were discussed. There was concern that incorporating the proposed Generation Resource into the planning cases without a financial commitment to construct posed reliability issues. One option discussed would be to require the IE to provide financial security to fund the facilities in addition to a signed SGIA and a notice to proceed with the construction. An alternative option was proposed that would also require IEs to provide an affidavit to ERCOT confirming that a financially binding agreement to construct has been executed. It was agreed that both options should be presented to ROS for consideration. |  |  |
| ROS Decision |  | On 6/14/12, ROS voted via roll call vote to recommend approval of PGRR018 as amended by the 6/12/12 Oncor Electric Delivery comments and as revised by ROS. There were seven abstentions from the Cooperative, Investor Owned Utility (IOU), Independent Generator (2), Independent Retail Electric Provider (IREP) (2), and Independent Power Marketer (IPM) Market Segments. All Market Segments were present for the vote. On 7/12/12, ROS voted to endorse and forward the 6/14/12 ROS Report as revised by ROS and Impact Analysis for PGRR018 to TAC. There were four opposing votes from the Independent Generator (3) and IPM Market Segments and one abstention from the IREP Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 6/14/12, it was noted that WMS reviewed PGRR018 at its 6/13/12 meeting and voted to endorse Option 2. It was reiterated that incorporating a proposed Generation Resource into the planning cases before a clear financial commitment to construct has been demonstrated poses reliability issues, and that the two options in PGRR018 are intended to increase the credibility of new generation additions in the ERCOT models used for planning assessments and in the calculation of the Capacity, Demand and Reserves (CDR) Report. Some participants expressed concern that Option 2 does not require a full financial commitment from IEs to build and could increase financial exposure for Transmission Service Providers (TSPs) and consumers. Other participants countered that Option 1 could pose difficulty for IEs due to the additional up-front financial requirements. Whether Option 1 could be feasible if it included a more detailed mechanism for a tiered financial commitment was also discussed. On 7/12/12, it was noted that the proposed language requires IEs to be fully funded prior to being included in the planning cases. An administrative change was also proposed. |  |  |
| TAC Decision |  | On 9/7/12, TAC voted to recommend approval of PGRR018 as recommended by ROS in the 7/12/12 ROS Report. There were two abstentions from the Independent Generator Market Segment. All Market Segments were present for the vote. On 11/29/12, TAC unanimously voted to table PGRR018 until January and to refer the issue to WMS and ROS. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 9/7/12, it was reiterated that the proposed language will require IEs to be fully funded prior to being included in the planning cases. On 11/29/12, participants discussed whether the CDR and planning cases and should align with respect to financial security requirements and requested that WMS and ROS review PGRR018 to determine the feasibility of separating the issues associated with the CDR and to provide a recommendation to TAC in January. ERCOT Staff stated that in order to complete the studies in time for the next quarterly update of the CDR, PGRR018 should be considered by the ERCOT Board no later than March 2013. It was reiterated that incorporating a proposed Generation Resource into the planning cases before a clear financial commitment to construct has been demonstrated poses reliability issues. |  |  |
| ERCOT Opinion |  | ERCOT supports approval of PGRR018. |  |  |
| Board Decision |  | On 11/13/12, the ERCOT Board voted to remand PGRR018 to TAC. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | This PGRR should lead to more accurate planning models, which in turn should lead to a more reliable system. |

| Sponsor |  |
| --- | --- |
| Name | Jeff Billo |
| E-mail Address | jbillo@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-6334 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | (512) 248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Luminant Energy Company LLC 022412 | Proposed uses of “water rights” be replaced with “water supplies” so as to not limit the way that a Generation Resource owner might go about securing the supply of water to cool a new generating facility. |
| WMS 031212 | Referred PGRR018 to QMWG to consider the wholesale market impacts. |
| Oncor Electric Delivery 032712 | Proposed language changes to consolidate all notification requirements into Section 5.5.4. |
| Oncor Electric Delivery 061212 | Proposed language changes to clarify paragraph (c) of Section 5.5.4. |
| WMS 061412 | Endorsed Option 2. |

Comments

Please note that the baseline Planning Guide language has been updated due to the incorporation of the following PGRRs into the Planning Guide:

- PGRR008, New Planning Guide Section 5, Generation Resource Interconnection or Change Request (Incorporated March 1, 2012)

  - Section 5.3.2

  - Section 5.5.1

- PGRR013, New Section 6.3, Process for Developing Short Circuit Cases (Portion of SPWG Procedures) (Incorporated May 1, 2012)

  - Section 6.3

- PGRR015, New Section 3, Regional Planning (Incorporated June 1, 2012)

  - Section 3.1.4.2

- PGRR017, New Planning Guide Section 6.1, Steady-State Model Development (Incorporated August 1, 2012)

  - Section 6.1

Please also note that the following PGRRs also proposed revisions to the following sections:

- PGRR022, Removal of Planning Reserve Margin Calculation Methodology

  - Section 8.3.2

- PGRR026, Addition of Year 6 to the SSWG Base Cases

  - Section 3.1.4.2

  - Section 6.1

Additionally, Nodal Protocol Revision Request (NPRR) 489, Planning Reserve Margin, includes revisions proposed by PGRR018.

Proposed Guide Language Revision

- 3.1.4.2	Use of Five-Year Transmission Plan

(1)	The Five-Year Transmission Plan will generally serve as the basis for all subsequent RPG Project Reviews, both of projects included within the Five-Year Transmission Plan and of other proposed projects.  Stakeholders are encouraged to submit, at the start of the Five-Year Transmission Plan development process, any known transmission projects that are not in the current SSWG base cases and are likely to be submitted within the next year, as work on RPG Project Reviews will be limited while the Five-Year Transmission Plan is being developed and documented.  Projects submitted for RPG Project Review after the Five-Year Transmission Plan development has begun and which need ERCOT Independent Review may be delayed.  Inputs to the Five-Year Transmission Plan, such as new Generation Resources and updated local transmission projects, may be updated at the time these subsequent studies are performed if ERCOT or stakeholders identify such updates as being needed to appropriately consider the need for the specific project under review.  If the project under review is included in the Five-Year Transmission Plan, and no changes are identified which would affect the need for the proposed project through the 21-Day Comment Period described in Section 3.1.6, Regional Planning Group Comment Process, then the Five-Year Transmission Plan will serve as the ERCOT Independent Review of the proposed project, if required.

(2)	Tier 1, 2, and 3 projects that are included in the Five-Year Transmission Plan should be submitted for RPG Project Review at an appropriate lead time.  Generally, this lead time should be sufficient to allow the Review to be completed before the TSP reaches the decision point at which it must initiate the engineering and procurement in order to meet the required in-service date, but not farther in advance than is necessary.  In general, these lead times will be three to four months for Tier 3 projects and six to seven months for Tier 1 and 2 projects.

(3)	Tier 1, 2 and 3 projects that are included in the Five-Year Transmission Plan but do not reach this decision point before the development of the next year’s Five-Year Transmission Plan begins will be removed from the case used to develop the Five-Year Transmission Plan and will be re-evaluated as a part of the development of this subsequent Five-Year Transmission Plan.

- 5.3.2	Modifications to Request

(1)	The IE shall maintain communication with ERCOT and the TSP at all stages of the generation interconnection process.  The IE must immediately notify both ERCOT (via email at GINR@ercot.com) and the TSP of any changes that would affect the technical attributes and/or timeline of the project, including, but not limited to the following elements:

(a)	Capacity;

(b)	In-service date;

(c)	Location;

(d)	Generator type;

(e)	Interconnection agreement execution;

(f)	Status of the acquisition of any necessary rights to water supplies; and

(g)	Status of the acquisition of any necessary air permits.

(2)	The IE shall update the Resource registration form as soon as possible following any change to the proposed facility and shall submit the updated information to ERCOT and the TSP.  On March 1 and September 1 of each year, any IE that has submitted an FIS request shall submit to ERCOT, for each proposed facility, an electronic copy of a notarized attestation that, to the best of the attesting party’s knowledge, the Resource registration form data are correct.  The attestation shall be sent by email to GINR@ercot.com.  This obligation to update continues even after any interconnection agreement is signed.  IEs must immediately notify ERCOT and the relevant TSP(s) of any change in ownership and shall provide conclusive documentary evidence of the ownership change (such as a purchase/sale agreement).

(3)	If, after receipt of the updated Resource registration form, ERCOT or the TSP determines that any subsequent changes to the project may affect the reliable operation of the ERCOT System or otherwise warrant new studies, then ERCOT may require additional studies to be performed before the proposed Generation Resource is allowed to interconnect to the ERCOT System.  The IE and TSP(s) shall develop a schedule for completing the additional studies.  The TSP shall provide the FIS studies to ERCOT and the other TSPs through the confidential email list.  If these additional studies show that the project would not meet the operational standards specified in the Protocols, this Planning Guide, the Operating Guides, or Other Binding Documents, ERCOT may require the IE to demonstrate its compliance with these standards as a condition for energization of the proposed Generation Resource.

(4)	If the IE increases the requested amount of capacity of the proposed Generation Resource by more than 20% of the amount requested in the screening study, ERCOT shall require the IE to submit a new GINR for the additional capacity or for the entire project.  ERCOT may, at its discretion, require the IE to submit a new GINR for significant capacity decreases or capacity increases of less than 20%, particularly if other changes to the request are also made, such as changes to the in-service date.  ERCOT’s determination as to whether new studies are needed in no way affects the ongoing obligations of the IE and TSP to comply with North American Electric Reliability Corporation (NERC) Reliability Standards, Protocols, this Planning Guide and the Operating Guides.

(5)

- 5.5.1	Standard Generation Interconnection Agreement

(1)	If the Interconnecting Entity (IE) decides to proceed with the construction and completion of the proposed generation project and interconnection within the 180-day period following the completion of the Full Interconnection Study (FIS), it shall execute a Standard Generation Interconnection Agreement (SGIA) with its respective Transmission Service Provider (TSP) as a condition for obtaining transmission service, as required by P.U.C. Subst. R. 25.195, Terms and Conditions for Transmission Service.  The IE and the TSP shall use the SGIA.  A template of the SGIA can be found on the ERCOT website.

(2)	Before an SGIA is signed, all studies included in the FIS scope must be completed, unless mutually agreed by the IE and the TSP.  The IE and TSP must meet and maintain compliance with all North American Electric Reliability Corporation (NERC) Reliability Standards, Protocols, and the requirements of this Planning Guide and the Operating Guides concerning interconnection.

(3)	ERCOT does not participate in the IE’s and TSP’s negotiation of the SGIA.

- 5.5.4	Notification to ERCOT Concerning Certain Project Developments

The following notifications shall be provided to ERCOT at GINR@ercot.com:

(a)	The IE shall notify ERCOT within ten Business Days of when it has given the TSP notice to proceed with the FIS.

(b)	The TSP must transmit a copy of the signed SGIA to ERCOT within ten Business Days of execution.

(c)	The TSP must transmit to ERCOT within a ten Business Days of execution a copy of any financially binding agreement between the IE and the TSP under which the interconnection for a Generation Resource will be constructed.

(d)	The TSP must transmit a written notice to ERCOT within ten Business Days after it receives both a notice to proceed with construction of the interconnection for the Generation Resource and the financial security sufficient to fund the interconnection facilities pursuant to either agreement addressed in (b) or (c) above.

(e)	A Municipally Owned Utility (MOU) or Electric Cooperative (EC) must transmit a letter from a duly authorized official to ERCOT confirming the Entity’s intent to construct and operate a proposed Generation Resource and interconnect such Generation Resource to its own transmission system.

- 6.1	Steady-State Model Development

(1)	To adequately simulate steady-state system conditions, it is necessary to establish and maintain steady-state data and simulation ready study cases in accordance with the Steady State Working Group Procedure Manual.  These case models, known as steady-state base cases, shall contain appropriate equipment characteristics and system data, and shall represent projected system conditions that provide a starting point for each required season and year.

(a)	The Annual Planning Model base cases, which represent the annual peak load conditions, as prescribed in Protocol Section 3.10.2, Annual Planning Model, shall be developed annually,  updated on a quarterly basis, and may be updated as needed on an interim basis.  Each Annual Planning Model base case, quarterly updates, and interim updates shall be posted on the Market Information System (MIS) Secure Area and the Planning and Operations Information website to ensure availability of the most accurate steady-state base cases.

(b)	Additional steady-state base cases, such as seasonal base cases, shall also be developed annually, updated on a quarterly basis, and may also be updated as needed on an interim basis.  These derivative base cases, quarterly updates, and interim updates shall be posted on the Planning and Operations Information website to ensure availability of the most accurate steady-state base cases.

(c)	Interim updates that are posted as described in paragraph (1)(a) and (1)(b) above shall be in the form of a Power System Simulator for Engineering (PSS/E) formatted incremental change file.

(d)	All steady-state base cases and incremental change files on the MIS Secure Area and Planning and Operations Information website shall be available for use by Market Participants.

(e)	The Steady State Working Group Procedure Manual describes each base case that is required to be built.  The schedule for posting all steady-state base cases shall be made available on the MIS Secure Area.

(2)	Transmission Service Providers (TSPs) and ERCOT shall develop the steady-state base cases.  The steady-state base cases are derived from the Network Operations Model to ensure consistency of key characteristics, including Ratings, impedance and connectivity for Transmission Facilities that are common between the Network Operations Model and each steady-state base case.  Minor differences between the models will occur for several reasons.  For example:

(a)	The Network Operations Model is converted from a “breaker, switch, and AC line segment” convention to an equivalent steady-state base case “bus and branch” convention.  This conversion reduces the number of breakers/switches that may be included in the steady-state base case model and may combine buses separated by breakers/switches in the Network Operations Model.

(b)	Additional detailed modeling may be added to the converted Network Operations Model for planning purposes.

(c)	Future projects are added to the converted Network Operations Model that do not exist in the Network Operations Model past the model build date used to extract a snapshot from the Network Operations Model.

(3)	Using the Network Model Management System (NMMS), ERCOT and TSPs shall create steady state models that represent current and planned system conditions from the following data elements:

(a)	Each TSP, or its Designated Agent, shall provide its respective transmission network steady-state model data, including load data.

(b)	ERCOT shall utilize the latest available Resource Entity and Private Use Network model data submitted to ERCOT by the Resource Entity and the Private Use Network owners through the Resource registration process for Resource Entities.

(c)	ERCOT shall utilize proposed Generation Resource model data provided by the Interconnecting Entity (IE) during the generation interconnection process in accordance with Section 5, Generation Resource Interconnection or Change Request.

(d)	ERCOT shall determine the operating state of Generation Resources (MW, MVAr) using a security-constrained economic dispatch tool.

(e)	ERCOT shall determine the import/export levels of asynchronous transmission interconnections based on historical data.

- 6.3		Process for Developing Short Circuit Cases

This Section describes the process for the development of the short circuit cases used for planning purposes.  Section 6, Disturbance Monitoring and System Protection, of the Operating Guides describes other non-planning aspects relating to system protection and disturbance monitoring requirements.

(a)	ERCOT shall collect the short circuit data sets or data updates developed by each Transmission Service Provider (TSP) and shall compile and maintain the short circuit cases.

(b)	During the first quarter of each calendar year, ERCOT shall compile and distribute the Current Year (CY) short circuit case to the System Protection Working Group (SPWG).

(c)	During the second quarter of each calendar year, ERCOT shall compile and distribute the Future Year (FY) short circuit cases for years two through five to the SPWG.

(d)	The transmission and generation systems of each Facility owner in ERCOT shall be represented completely including positive and zero sequence data.  Generation Resource data shall be provided by the Resource Entity.

(e)	Each common bus within both the short circuit case and the corresponding steady-state load flow case shall have a matching bus name and matching bus number.  Each additional bus added to the short circuit case as necessary to perform short circuit studies shall be assigned a name and bus number that does not conflict with pre-existing names and bus numbers used in the current set of load flow cases.

(f)	The positive sequence impedance of Transmission Elements used in both the load flow and short circuit cases shall be the same.

(g)	Zero sequence data shall include mutual impedance of multi-circuit transmission lines and of adjacent circuits within the same right-of-way, unless the TSP considers such impedance to be insignificant for studies made from this data.

- 6.9	Addition of Proposed Generation Resources to the Planning Models

(1)	ERCOT will include a proposed Generation Resource in the base cases created and maintained by the Steady State Working Group (SSWG), the System Protection Working Group (SPWG), and the Dynamics Working Group (DWG), once the Interconnecting Entity notifies ERCOT that it has received a Texas Commission on Environmental Quality (TCEQ)-approved air permit (if necessary) and demonstrates that it has obtained water rights sufficient for plant operation (if necessary), and ERCOT receives one of the following:

(a)	A signed Standard Generation Interconnection Agreement (SGIA) from the Transmission Service Provider (TSP) and a written notice from the TSP that the Interconnecting Entity (IE) has provided:

(i)	a notice to proceed with the construction of the interconnection; and

(ii)	the financial security required to fund the interconnection facilities; or

(b)	A public, financially binding agreement between the IE and the TSP under which the interconnection for the Generation Resource will be constructed along with:

(i)	a written notice from the TSP that the IE has provided notice to proceed with the construction of the interconnection; and

(ii)	the required financial security; or

(c)	A letter from a duly authorized official from a Municipally Owned Utility (MOU) or Electric Cooperative (EC) confirming the Entity’s intent to construct and operate a proposed Generation Resource and interconnect such Generation to its own transmission system.

(2)	The IE shall provide to ERCOT the data necessary to model the Generation Resource in the base cases created and maintained by SSWG, SPWG, and the DWG, as directed by ERCOT.

(3)	Once the IE has met these requirements, ERCOT will notify the SSWG, SPWG, and the DWG, and the proposed Generation Resource will be included in the base cases created and maintained by these working groups.

- 8.3.2	Total Capacity Estimate

The total capacity estimate shall be determined based on the following equation:

TOTCAPs ,i	=	INSTCAPs, i + PUNCAP s, i + WINDCAP s, i  + RMRCAPs, i + DCTIECAP s, i + SWITCHCAP s, i + MOTHCAP s, i + PLANNON s, i + PLANWIND s, i – UNSWITCH s, i – RETCAP s, i

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| INSTCAPs, i | MW | Seasonal Net Max Sustainable Rating—The Seasonal net max sustainable rating for the Peak Load Season s as reported in the approved Resource asset registration process for each operating Generation Resource for the year i excluding Wind-powered Generation Resources (WGRs), Resources operating under Reliability Must-Run (RMR) Agreements, and Generation Resources capable of “switching” from ERCOT Region to another power region. |
| PUNCAPs, i | MW | Private Use Network Capacity—The Private Use Network capacities as provided to ERCOT pursuant to Protocol Section 3.10.7.3, Modeling of Private Use Networks. |
| WINDCAPs, i | MW | Effective Load Carrying Capability of WGRs—The effective Load carrying capability of all existing WGRs as determined by ERCOT for the Peak Load Season s for the year i. |
| RMRCAPs, i | MW | Seasonal Net Max Sustainable Rating for Generation Resource providing RMR Service—The seasonal net max sustainable rating for the peak Load Season s as reported in the approved Resource asset registration process for each Generation Resource providing RMR Service for the year i until the approved exit strategy for the RMR Resource is expected to be completed. |
| DCTIECAPs, i | MW | Seasonal Net Max Sustainable Rating for Direct Current Tie (DC Tie) Resource—The seasonal net max sustainable rating for the peak Load Season s as reported in the approved Resource asset registration process for each DC Tie Resource for the year i multiplied by 50%. |
| SWITCHCAPs, i | MW | Seasonal Net Max Sustainable Rating for Switching Generation Resource—The seasonal net max sustainable rating for the Peak Load Season s as reported in the approved Resource asset registration process for each Generation Resource for the year i that can electrically connect (i.e., “switch”) from the ERCOT Region to another power region. |
| MOTHCAPs, i | MW | Seasonal Net Max Sustainable Rating for Mothballed Generation Resource—The seasonal net max sustainable rating for the Peak Load Season s as reported in the approved Resource asset registration process for each Mothballed Generation Resource for the year i based on the lead time and probability information furnished by the owners of Mothballed Generation Resources pursuant to Protocol Section 3.14.1.9, Generation Resource Return to Service Updates. |
| PLANNONs, i | MW | New, non-Wind Generating Capacity—The amount of new, non-wind generating capacity for the peak Load Season s and year i that for which an Interconnecting Entity (IE) provided the information required by paragraph (1) of Section 6.9, Addition of Proposed Generation Resources to the Planning Models. |
| PLANWINDs, i | MW | Effective Load Carrying Capability of New Intermittent Renewable Resource (IRR) Capacity—The effective Load carrying capability of new IRR capacity as determined by ERCOT for the Peak Load Season s and year i for which an IE has provided the information required by paragraph (1) of Section 6.9, Addition of Proposed Generation Resources to the Planning Models. |
| UNSWITCHs, i | MW | Capacity of Unavailable Switchable Generation Resource—The amount of capacity reported by the owners of a switchable Generation Resource that will be unavailable to ERCOT during the Peak Load Season s and year i pursuant to paragraph (2) of Protocol Section 16.5.4, Maintaining and Updating Resource Entity Information. |
| RETCAPs, i | MW | Capacity Pending Retirement—The amount of capacity in Season s of year i that is pending retirement based on information that has been submitted on a Notification of Suspension of Operations form pursuant to Protocol Section 3.14.1.11, Budgeting Eligible Costs, but is under review by ERCOT pursuant to Protocol Section 3.14.1.2, ERCOT Evaluation, that has not otherwise been considered in any of the above defined categories. |
| i | None | Year. |
| s | None | Peak Load Season (summer or winter as defined in Section 8.1, ERCOT Planning Reserve Margin). |