| NPRR Number | 508 | NPRR Title | Setting of Real-Time LMPs During EEA ERS/Load Resource Deployment |
| --- | --- | --- | --- |
| Date Posted |  | December 6, 2012 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Sections Requiring Revision |  | 6.3, Adjustment Period and Real-Time Operations Timeline 6.5.7.3, Security Constrained Economic Dispatch 6.5.9.4.2, EEA Levels 6.6.12, EEA ERS/Load Resource Deployment Pricing Make-Whole (new) 6.6.12.1, EEA ERS/Load Resource Deployment Pricing Payments (new) 6.6.12.2, EEA ERS/Load Resource Deployment Pricing Charges (new) |  |
| Nodal Operating Guide Section Requiring Revision |  | 4.5.3.3, EEA Levels |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) will administratively set Locational Marginal Prices (LMPs) at the System-Wide Offer Cap (SWCAP) during Security-Constrained Economic Dispatch (SCED) executions in which ERCOT has deployed Emergency Response Service (ERS) Resources and/or Responsive Reserve (RRS) Service supplied by Load Resources. |  |
| Reason for Revision |  | Currently during SCED executions in which ERCOT has deployed ERS Resources and/or RRS supplied by Load Resources, the deployments could create a price reversal. Real-Time prices are vital to sending the correct signals to both Generation Resources and loads on when to react in a manner that ensures ERCOT System reliability. Price reversals send the incorrect signal during these vital intervals and this NPRR is designed to mitigate these price reversals. |  |
| Credit Implications |  | Yes. This NPRR is designed to mitigate price reversals when the above services are deployed. |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - Provides Market Participants with appropriate Real-Time price signals by mitigating price reversals during Energy Emergency Alert (EEA) conditions. |

| Sponsor |  |
| --- | --- |
| Name | Robert Helton |
| E-mail Address | Robert.helton@gdfsuezna.com |
| Company | GDF Suez Marketing NA |
| Phone Number | 713-636-1814 |
| Cell Number | 832-435-7815 |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

Comments

It is the intent of the sponsor that the X and Y variables contained in paragraph (3)(a) of Section 6.6.12.1 be assigned values during stakeholder consideration of NPRR508.

In addition, please note that the following NPRRs also propose revisions to the following sections:

- NPRR444, Supplemental Reliability Deployments

  - Section 6.3

  - Section 6.5.7.3

- NPRR474, Clarification of Price Correction Principles and Associated Timelines

  - Section 6.3

- NPRR486, Calculation of Generation to be Dispatched

  - Section 6.5.7.3

Proposed Protocol Language Revision

6.3	Adjustment Period and Real-Time Operations Timeline

(1)	The figure below highlights the major activities that occur in the Adjustment Period and Real-Time operations:

(2)	Activities for the Adjustment Period begin at 1800 in the Day-Ahead and end one full hour before the start of the Operating Hour.  The figure above is intended to be only a general guide and not controlling language, and any conflict between this figure and another section of the Protocols is controlled by the other section.

(3)	ERCOT shall monitor Real-Time Locational Marginal Prices (LMPs), Supplemental Ancillary Services Market (SASM) Market Clearing Prices for Capacity (MCPCs), and Real-Time Settlement Point Prices for errors and if there are conditions that cause the price to be questionable, ERCOT shall notify all Market Participants that the Real-Time LMPs, SASM MCPCs, and Real-Time Settlement Point Prices are under investigation as soon as practicable.

(a)	If it is determined that the Real-Time Settlement Point Prices are erroneous and correcting such prices will not affect the Base Points that were received by Qualified Scheduling Entities (QSEs), then ERCOT shall correct the prices before the prices are considered final in paragraph (4) below.

(b)	If it is determined that correcting the Real-Time Settlement Point Prices will affect the Base Points that were received by QSEs, then ERCOT shall correct the prices before the prices are considered final in paragraph (4) below and settle the Security-Constrained Economic Dispatch (SCED) executions as failed in accordance with Section 6.5.9.2, Failure of the SCED Process.

(c)	If the Base Points received by QSEs are inconsistent with the Real-Time Settlement Point Prices, and this is not a result of LMP adjustments described in paragraph (6) of Section 6.5.7.3, Security Constrained Economic Dispatch, then ERCOT shall consider those Base Points as due to manual override from the ERCOT Operator and settle the relevant Settlement Interval(s) in accordance with Section 6.6.9, Emergency Operations Settlement.

(4)	All Real-Time LMPs, SASM MCPCs, and Real-Time Settlement Point Prices are final at 1600 of the next Business Day after the Operating Day.  After Real-Time LMPs, SASM MCPCs, and Real-Time Settlement Point Prices are final, if ERCOT determines that prices are in need of correction, it shall notify Market Participants and describe the need for such correction.  Real-Time LMPs, SASM MCPCs, and Real-Time Settlement Point Prices cannot be changed unless the ERCOT Board finds that the Real-Time LMPs, SASM MCPCs, or Real-Time Settlement Point Prices are significantly affected by a software or data error.

6.5.7.3	Security Constrained Economic Dispatch

(1)	The SCED process is designed to simultaneously manage energy, the system power balance and network congestion through Resource Base Points and calculation of LMPs every five minutes.  The SCED process uses a two-step methodology that applies mitigation prospectively to resolve network Non-Competitive Constraints for the current Operating Hour.  The SCED process evaluates Energy Offer Curves and Output Schedules to produce a least cost dispatch of On-Line Generation Resources to the total current generation requirement determined by LFC, subject to power balance and network constraints.  The SCED process uses the Resource Status provided by SCADA telemetry under Section 6.5.5.2, Operational Data Requirements, and validated by the Real-Time Sequence, instead of the Resource Status provided by the COP.

[NPRR257: Replace paragraph (1) above with the following upon system implementation:] (1) The SCED process is designed to simultaneously manage energy, the system power balance and network congestion through Resource Base Points and calculation of LMPs every five minutes. The SCED process uses a two-step methodology that applies mitigation prospectively to resolve Non-Competitive Constraints for the current Operating Hour. The SCED process evaluates Energy Offer Curves and Output Schedules to produce a least cost dispatch of On-Line Generation Resources to the total current generation requirement determined by LFC, subject to power balance and network constraints. The SCED process uses the Resource Status provided by SCADA telemetry under Section 6.5.5.2, Operational Data Requirements, and validated by the Real-Time Sequence, instead of the Resource Status provided by the COP.

(2)	The SCED solution must monitor cumulative deployment of Regulation Services and ensure that Regulation Services deployment is minimized over time.

(3)	For use as SCED inputs, ERCOT shall use the available capacity of all committed Generation Resources by creating proxy Energy Offer Curves for certain Resources as follows:

(a)	Non-WGRs and Dynamically Scheduled Resources (DSRs) without Energy Offer Curves

ERCOT shall create a monotonically increasing proxy Energy Offer Curve as described below for:

(i)	Each non-WGR for which its QSE has submitted an Output Schedule instead of an Energy Offer Curve; and

(ii)	Each DSR that has not submitted Incremental and Decremental Energy Offer Curves.

| MW | Price (per MWh) |
| --- | --- |
| HSL | System-Wide Offer Cap (SWCAP) |
| Output Schedule MW plus 1 MW | SWCAP minus $0.01 |
| Output Schedule MW | -$249.99 |
| LSL | -$250.00 |

(b)	DSRs with Energy Offer Curves

For each DSR that has submitted incremental and decremental Energy Offer Curves, ERCOT shall create a monotonically increasing proxy Energy Offer Curve.  That curve must consist of the incremental Energy Offer Curve that reflects the available capacity above the Resource’s Output Schedule to its HSL and the decremental Energy Offer Curve that reflects the available capacity below the Resource’s Output Schedule to the LSL.  The curve must be created as described below:

| MW | Price (per MWh) |
| --- | --- |
| Output Schedule MW plus 1 MW to HSL | Incremental Energy Offer Curve |
| LSL to Output Schedule MW | Decremental Energy Offer Curve |

(c)	Non-WGRs without full-range Energy Offer Curves

For each non-WGR for which its QSE has submitted an Energy Offer Curve that does not cover the full range of the Resource’s available capacity, ERCOT shall create a proxy Energy Offer Curve that extends the submitted Energy Offer Curve to use the entire available capacity of the Resource using the SWCAP above the highest point on the Energy Offer Curve to the Resource’s HSL and the offer floor from the lowest point on the Energy Offer Curve to its LSL, using these points:

| MW | Price (per MWh) |
| --- | --- |
| HSL (if more than highest MW in Energy Offer Curve) | SWCAP |
| 1 MW above highest MW in Energy Offer Curve (if less than HSL) | SWCAP minus $0.01 |
| Energy Offer Curve | Energy Offer Curve |
| 1 MW below lowest MW in Energy Offer Curve (if more than LSL) | -$249.99 |
| LSL (if less than lowest MW in Energy Offer Curve) | -$250.00 |

(d)	WGRs

(i)	For each WGR that has not submitted an Energy Offer Curve, ERCOT shall create a monotonically increasing proxy Energy Offer Curve as described below:

| MW | Price (per MWh) |
| --- | --- |
| HSL | SWCAP |
| HSL minus 1 MW | -$249.99 |
| LSL | -$250.00 |

(ii)	For each WGR for which its QSE has submitted an Energy Offer Curve, ERCOT shall create a monotonically increasing proxy Energy Offer Curve as described below:

| MW | Price (per MWh) |
| --- | --- |
| HSL (if more than highest MW in Energy Offer Curve) | SWCAP |
| 1 MW above highest MW in Energy Offer Curve (if less than HSL) | SWCAP minus $0.01 |
| Energy Offer Curve | Energy Offer Curve |
| 1 MW below lowest MW in Energy Offer Curve (if more than LSL) | -$249.99 |
| LSL (if less than lowest MW in Energy Offer Curve) | -$250.00 |

(4)	The Entity with decision making authority, as more fully described in Section 3.19.1, Annual Competitiveness Test, over how a Resource or Split Generation Resource is offered or scheduled, shall be responsible for all offers associated with each Resource, including offers represented by a proxy Energy Offer Curve.

[NPRR469: Replace paragraph (4) above with the following upon system implementation:] (4) The Entity with decision making authority, as more fully described in Section 3.19.1, Constraint Competitiveness Test Definitions, over how a Resource or Split Generation Resource is offered or scheduled, shall be responsible for all offers associated with each Resource, including offers represented by a proxy Energy Offer Curve.

[NPRR240: Insert paragraph (5) and renumber accordingly upon system implementation:] (5) Energy Offer Curves that were constructed in whole or in part with proxy Energy Offer Curves shall be so marked in all ERCOT postings or references to the energy offer.

(5)	The two-step SCED methodology referenced in paragraph (1) above is:

(a)	The first step is to execute the SCED process to determine Reference LMPs.  In this step, ERCOT executes SCED using the full Network Operations Model while only observing limits of Competitive Constraints.  Energy Offer Curves for all On-Line Generation Resources, whether submitted by QSEs or created by ERCOT under this Section, are used in the SCED to determine “Reference LMPs.”

(b)	The second step is to execute the SCED process to produce Base Points, Shadow Prices, and LMPs, subject to security constraints (including Competitive and Non-Competitive Constraints) and other Resource constraints.  The second step must:

(i)	Use Energy Offer Curves for all On-Line Generation Resources, whether submitted by QSEs or created by ERCOT.  Each Energy Offer Curve must be capped at the greater of the Reference LMP (from Step 1) at the Resource Node or the appropriate Mitigated Offer Cap and bounded at the lesser of the Reference LMP (from Step 1) at the Resource Node or the appropriate Mitigated Offer Floor; and

(ii)	Observe all Competitive and Non-Competitive Constraints.

(c)	ERCOT shall archive information and provide monthly summaries of security violations and any binding transmission constraints identified in Step 2 of the SCED process.  The summary must describe the limiting element (or identified operator-entered constraint with operator’s comments describing the reason and the Resource-specific impacts for any manual overrides).  ERCOT shall provide the summary to Market Participants on the MIS Secure Area and to the Independent Market Monitor (IMM).

(6)	During SCED executions in which ERCOT has implemented firm load shedding and/or deployed Emergency Response Service (ERS) Resources and/or manually deployed RRS supplied by Load Resources, as described in Section 6.5.9.4.2, EEA Levels, LMPs calculated in Step 2 of the SCED process will be adjusted and set equal to the SWCAP.  This LMP adjustment shall be performed after the SCED process has completed, but prior to the posting of LMPs to the MIS Public Area.  The LMP adjustment shall remain in effect until all firm load, ERS Resources and/or manually deployed RRS supplied by Load Resources have been recalled by ERCOT.

(7)	For each SCED process, in addition to the binding Base Points and LMPs, ERCOT shall calculate a non-binding projection of the Base Points and Resource Node LMPs, Hub LMPs and Load Zone LMPs at a frequency of every five minutes for at least 15 minutes into the future based on the same inputs to the SCED process as described in this Section, except that the Resource’s HDL and LDL and the total generation requirement will be as estimated at future intervals.  The Resource’s HDL and LDL will be calculated for each interval of the projection based on the ramp rate capability over the study period.  ERCOT shall estimate the projected total generation requirement by calculating a Load forecast for the study period.  During periods in which ERCOT has implemented firm load shedding and/or deployed ERS Resources and/or manually deployed RRS supplied by Load Resources, as described in Section 6.5.9.4.2, the projected non-binding LMPs shall be adjusted and set equal to the SWCAP.  The LMP adjustment shall remain in effect until all firm load, ERS Resources and/or manually deployed RRS supplied by Load Resources have been recalled by ERCOT.  ERCOT shall post the projected non-binding Base Points for each Resource for each interval study period on the MIS Certified Area and the projected non-binding LMPs for Resource Nodes, Hub LMPs and Load Zone LMPs on the MIS Public Area pursuant to Section 6.3.2, Activities for Real-Time Operations.

6.5.9.4.2	EEA Levels

(1)	EEA Level 1 - Maintain a total of 2,300 MW of PRC (Section 6.5.7.5, Ancillary Services Capacity Monitor).

(a)	ERCOT shall:

(i)	Notify the Southwest Power Pool Reliability Coordinator;

(ii)	Request available Generation Resources that can perform within the expected timeframe of the emergency to come On-Line by initiating manual HRUC or through Dispatch Instruction;

(iii)	Use available DC Tie import capacity not already being used; and

(iv)	Issue a Dispatch Instruction for Resources to remain On-Line which, before start of emergency, were scheduled to come Off-Line.

(b)	QSEs shall:

(i)	Ensure COPs and telemetered HSLs are updated and reflect all Resource delays and limitations; and

(ii)	Suspend any ongoing ERCOT required Resource performing testing.

(2)	EEA Level 2 - Maintain system frequency at 60 Hz or maintain a total of 1,750 MW of PRC.

(a)	In addition to the measures associated with EEA Level 1, ERCOT shall take the following steps:

(i)	Instruct TSPs and DSPs or their agents to reduce Customers’ Load by using distribution voltage reduction measures, if deemed beneficial by the TSP, DSP, or their agents;

(ii)	Instruct QSEs to deploy available contracted ERS Resources and/or deploy RRS supplied from Load Resources (controlled by high-set under-frequency relays).  ERCOT may deploy ERS or RRS without deploying the other, and may deploy both services simultaneously or separately, and in any order.  ERCOT shall issue such Dispatch Instructions in accordance with the deployment methodologies described in paragraphs (iii) and (iv) below.  During SCED executions in which these deployments have occurred, LMPs shall be determined as described in paragraphs (6) and (7) of Section 6.5.7.3, Security Constrained Economic Dispatch.

(iii)	ERCOT shall deploy ERS via an XML message followed by a VDI to the all-QSE Hotline.  The VDI shall represent the official start of the ten-minute ERS ramp period.

(A)	If less than 500 MW of ERS is available for deployment, ERCOT shall deploy all ERS Resources as a single block.

(B)	If the amount of ERS available for deployment equals or exceeds 500 MW, ERCOT, at its discretion, may deploy ERS Resources as a single block or by group designation.  ERCOT shall develop a random selection methodology for determining how to place ERS Resources into groups, and shall describe the methodology in a document posted to the MIS Public Area.  Prior to the start of an ERS Contract Period, ERCOT shall notify QSEs representing ERS Resources of their ERS Resources’ group assignments.

(C)	ERS may be deployed at any time in a Settlement Interval.

(D)	Upon deployment, QSEs shall instruct ERS Resources to perform at contracted levels consistent with the criteria described in Section 8.1.3.1.4, Event Performance Criteria for Emergency Response Service Resources, until ERCOT releases the ERS deployment.

(E)	ERCOT shall notify QSEs of the release of ERS via an XML message followed by VDI to the all-QSE Hotline.  The VDI shall represent the official notice of ERS release.

(F)	Upon release, an ERS Resource shall return to a condition such that it is capable of meeting its ERS performance requirements as soon as practical, but no later than ten hours following the release.

(G)	Unless a media appeal is already in effect, ERCOT shall issue an appeal through the public news media for voluntary energy conservation.

(H)	With the approval of the affected non-ERCOT Control Area, TSPs, DSPs, or their agents may implement BLTs, which transfer Load from the ERCOT Control Area to non-ERCOT Control Areas in accordance with BLTs as defined in the Operating Guides.

(iv)	ERCOT shall deploy RRS capacity supplied by Load Resources (controlled by high-set under-frequency relays) in accordance with the following:

(A)	Instruct QSEs to deploy half of the RRS that is supplied from Load Resources (controlled by high-set under-frequency relays) by instructing the QSE representing the specific Load Resource to interrupt Group 1 Load Resources providing Responsive Reserve.  QSEs shall deploy Load Resources according to the group designation and will be given some discretion to deploy additional Load Resources from Group 2 if Load Resource operational considerations require such.  ERCOT shall issue notification of the deployment via XML message.  ERCOT shall follow this XML notification with a Hotline VDI, which shall initiate the ten-minute deployment period;

(B)	At the discretion of the ERCOT Operator, instruct QSEs to deploy the remaining Responsive Reserve that is supplied from Load Resources (controlled by high-set under-frequency relays) by instructing the QSE representing the specific Load Resource to interrupt Group 2 Load Resources providing Responsive Reserve. ERCOT shall issue notification of the deployment via XML message.  ERCOT shall follow this XML notification with a Hotline VDI, which shall initiate the ten-minute deployment period;

(C)	The ERCOT Operator may deploy both of the groups of Load Resources providing Responsive Reserves at the same time.  ERCOT shall issue notification of the deployment via XML message.  ERCOT shall follow this XML notification with a Hotline VDI, which shall initiate the ten-minute deployment period; and

(D)	ERCOT shall post a list of Load Resources on the MIS Certified Area immediately following the DRUC for each QSE with a Load Resource obligation which may be deployed to interrupt under paragraph (A), Group 1 and paragraph (B), Group 2.  ERCOT shall develop a process for determining which individual Load Resource to place in Group 1 and which to place in Group 2.  ERCOT procedures shall select Group 1 and Group 2 based on a random sampling of individual Load Resources.  At ERCOT’s discretion, ERCOT may deploy all Load Resources at any given time during EEA Level 2.

(b)	Confidentiality requirements regarding transmission operations and system capacity information will be lifted, as needed to restore reliability.

(3)	EEA Level 3 - Maintain system frequency at 59.8 Hz or greater.

(a)	In addition to measures associated with EEA Levels 1 and 2, ERCOT will direct all TSPs and DSPs or their agents to shed firm Load, in 100 MW blocks, as documented in the Operating Guides in order to maintain a steady state system frequency of 59.8 Hz.

(b)	In addition to measures associated with EEA Levels 1 and 2, TSPs and DSPs or their agents will keep in mind the need to protect the safety and health of the community and the essential human needs of the citizens.  Whenever possible, TSPs and DSPs or their agents shall not manually drop Load connected to under-frequency relays during the implementation of the EEA.

6.6.12	EEA ERS/Load Resource Deployment Pricing Make-Whole

As a result of the LMP adjustments described in paragraph (6) of Section 6.5.7.3, Security Constrained Economic Dispatch, there may be SCED executions in which a Generation Resource’s Base Points are not in alignment with its mitigated Energy Offer Curves used in SCED Step 2 and the adjusted LMPs.  During such SCED intervals, additional compensation may be awarded to the QSE representing the Generation Resource.

6.6.12.1	EEA ERS/Load Resource Deployment Pricing Payments

(1)	ERCOT shall pay an eligible Generation Resource that follows ERCOT Dispatch Instructions an additional payment during binding SCED intervals in which LMPs have been adjusted as described in paragraph (6) of Section 6.5.7.3, Security Constrained Economic Dispatch.

(2)	This payment shall only be applicable to a Generation Resource during the affected SCED intervals when the Generation Resource’s HDL that was used as an input by the SCED process is greater than the Generation Resource’s Base Point produced in Step 2 of that same SCED process.

(3) 	A Generation Resource does not qualify for this payment in the affected SCED interval if:

(a)	The Base Point Deviation of the Generation Resource integrated over the SCED intervals is calculated to be greater than X% of the average of the Base Points in the 15-minute Settlement Interval adjusted for any Ancillary Service deployments or Y MW; or

(b)	The Generation Resource is deployed for RMR Service in the interval.

(4)	The additional payment for each qualifying Generation Resource, for a 15-minute Settlement Interval that includes at least one SCED interval in which LMPs were adjusted as described in paragraph (6) of Section 6.5.7.3 and the HDL used by the SCED process is greater than the resulting Base Point, is calculated as follows;

ERSLRDPAMTq, r, i	 =	(-1) * (Σy (WFy * ERSLRDPAR q, r, y)) / 4

Where the 15-minute Settlement Interval weighting factor is:

WFy	=	TLMPy / ΣyTLMPy

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| ERSLRDPAMTq, r, i | $/15-minute Settlement Interval | ERS/Load Resource Deployment Pricing Payment—The ERS/Load Resource Deployment Pricing Payment to QSE q for Resource r for the 15-minute Settlement Interval i. When one or more Combined Cycle Generation Resources are contemplated for payment, payment is made to the Combined Cycle Train for all Combined Cycle Generation Resources. |
| WFy | none | Weighting Factor per intervalThe weight used in the calculation for the portion of the SCED interval y within the Settlement Interval. |
| ERSLRDPARq, r, y | $/hour | ERS/Load Resource Deployment Pricing Additional Revenue—The additional revenue to QSE q for Resource r due to SCED interval y in which the HDL used by the SCED process was greater than the resulting Base Point when LMPs were adjusted for SCED interval y pursuant to paragraph (6) of Section 6.5.7.3. |
| TLMPy | second | Duration of SCED interval per intervalThe duration of the portion of the SCED interval y within the Settlement Interval. |
| q | none | A QSE. |
| i | none | A 15-minute Settlement Interval. |
| r | none | A Generation Resource. |
| y | none | A SCED interval. |

LSL                                      BP       HDL        MW

$/MWh

LMPadj.

(SWCAP)

LMPunadj.

Mitigated Offer Cap curve used by SCED Step 2

This area is ERSLRDPAR

(5)	The total compensation to each QSE for EEA ERS/Load Resource deployment pricing make-whole for Generation Resources for the 15-minute Settlement Interval is calculated as follows:

ERSLRDPQSETOTq, i	=	Σr ERSLRDPAMTq, r, i

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| ERSLRDPQSETOTq, i | $ | ERS/Load Resource Deployment Pricing QSE Total per QSEThe total of the payments to QSE q for an EEA ERS/Load Resource deployment pricing make-whole for the 15-minute Settlement Interval i. |
| ERSLRDPAMTq, r, i | $/15 minute interval | ERS/Load Resource Deployment Pricing Payment—The ERS/Load Resource Deployment Pricing Payment to QSE q for Resource r for the 15-minute Settlement Interval i. When one or more Combined Cycle Generation Resources are contemplated for payment, payment is made to the Combined Cycle Train for all Combined Cycle Generation Resources. |
| q | none | A QSE. |
| r | none | A Generation Resource. |
| i | none | A 15-minute Settlement Interval. |

(6)	The methodologies of the ERS/Load Resource Deployment Pricing Additional Revenue (ERSLRDPAR) calculation are presented below.

(a)	Mitigated Energy Offer curve used in SCED Step 2:

| Index (i) | MW | $/MWh |
| --- | --- | --- |
| 1 | Q1 | P1 |
| 2 | Q2 | P2 |
| N (N35) | QN | PN |

(b)	Incremental energy price (ERSLRDPBPCOST) on the mitigated Energy Offer Curve corresponding to the Base Point from SCED Step 2 (BP):

ERSLRDPBPCOST ($/MWh) = Pj + [[(Pj+1 – Pj) / (Qj+1 – Qj)] * (BP – Qj)]

Where:

Qj ≤ BP ≤ Qj+1

(c)	Incremental energy price (ERSLRDPHDLCOST) on the mitigated Energy Offer Curve corresponding to the HDL used in the SCED process (HDL):

ERSLRDPHDLCOST ($/MWh) = Pk + [[(Pk+1 – Pk) / (Qk+1 – Qk)] * (HDL – Qk)]

Where: Qk ≤ HDL ≤ Qk+1

(d)	Area below mitigated Energy Offer Curve between the SCED Base Point (BP) and the HDL:

If l ≥ m

ARMEOCBPHDL = ½ * [(Qm – BP)(Pm + ERSLRDPBPCOST)] +

j=ml−1½[(Qj+1 – Qj)(Pj+1 + Pj)] + ½[(HDL – Ql)(ERSLRDPHDLCOST + Pl)]

If l = m-1

ARMEOCBPHDL = ½ * [(HDL – BP)( ERSLRDPHDLCOST + ERSLRDPBPCOST)]

Where:

BP < Qm

HDL > Ql

The index m corresponds to the first break point on the mitigated Energy Offer Curve (as one goes up the curve) where the quantity Qm is greater than the SCED Base Point (BP)

The index l corresponds to the last break point on the mitigated Energy Offer Curve (as one goes up the curve) where the quantity Ql is less than the HDL

(e)	The ERS/Load Resource Deployment Pricing Additional Revenue (ERSLRDPAR) for a given SCED interval:

ERSLRDPARq, r, y = RTLMP * (HDL – BP) – ARMEOCBPHDL

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| ERSLRDPARq, r, y | $/hour | ERS/Load Resource Deployment Pricing Additional Revenue—The additional revenue to QSE q for Resource r due to SCED interval y in which the HDL used by the SCED process was greater than resulting Base Point when LMPs were adjusted for SCED interval y per paragraph (6) of Section 6.5.7.3. |
| RTLMP | $/MWh | Real-Time Locational Marginal PriceThe Real-Time LMP at the Settlement Point for the SCED interval. |
| ARMEOCBPHDL | $/hour | Area below mitigated Energy Offer Curve between SCED Base Point and the HDL used by the SCED process. |
| ERSLRDPBPCOST | $/MWh | Incremental energy price on the mitigated Energy Offer Curve corresponding to the SCED Base Point. |
| ERSLRDPHDLCOST | $/MWh | Incremental energy price on the mitigated Energy Offer Curve corresponding to the HDL used by the SCED process. |
| BP | MW | Base Point from SCEDThe Base Point from SCED for a Generation Resource for a whole SCED interval. |
| HDL | MW | HDL from the SCED processThe HDL used in the SCED process for a Generation Resource. |
| q | none | A QSE. |
| r | none | A Generation Resource. |
| y | none | A SCED interval. |

6.6.12.2	EEA ERS/Load Resource Deployment Pricing Charges

The total cost for additional compensation for EEA ERS/Load Resource deployment pricing payments is allocated to the QSEs representing Loads based on their LRS.  The charge to each QSE for a given 15-minute Settlement Interval is calculated as follows:

LAERSLRDPAMTq	=	(-1) * ERSLRDPTOTi * LRSq, i

Where:

ERSLRDPTOTi	=	ΣqERSLRDPQSETOTq, i

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| LAERSLRDPAMTq | $ | Load-Allocated ERS/Load Resource Deployment Pricing Amount per QSE—The QSE q’s Load-allocated amount of the total payments for the EEA ERS/Load Resource deployment pricing make-whole. |
| ERSLRDPTOTi | $ | ERS/Load Resource Deployment Pricing TotalThe total of the payments to all QSEs for an EEA ERS/Load Resource deployment pricing make-whole for the 15-minute Settlement Interval i. |
| ERSLRDPQSETOTq, i | $ | ERS/Load Resource Deployment Pricing QSE Total per QSEThe total of the payments to QSE q for an EEA ERS/Load Resource deployment pricing make-whole for the 15-minute Settlement Interval i. |
| LRSq, i | none | Load Ratio Share per QSEThe LRS calculated for QSE q for the 15-minute Settlement Interval. See Section 6.6.2.2, QSE Load Ratio Share for a 15-Minute Settlement Interval i. |
| Q | none | A QSE. |
| i | none | A 15-minute Settlement Interval. |