| NPRR Number | 500 | NPRR Title | Posting of Generation that is Off but Available |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | December 13, 2012 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Requiring Revision |  | 3.2.3, System Adequacy Reports |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) adds to the Short-Term System Adequacy Report a field showing the aggregate Generation Resource capacity that is schedule in the Current Operating Plan (COP) as “Off” and can be started in time to be available each Operating Hour. |  |  |
| Reason for Revision |  | Showing the capacity that is Off-Line but available to the market will provide far better transparency for Resources that are making decisions on whether to commit units or for Loads that are making decisions to purchase from the market or sources outside of the ERCOT market. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 11/2/12, NPRR500 was posted. - On 12/13/12, PRS considered NPRR500. |  |  |
| PRS Decision |  | On 12/13/12, PRS voted to recommend approval of NPRR500 as revised by PRS. There were two opposing votes from the Independent Generator and Independent Retail Electric Provider (IREP) Market Segments and three abstentions from the Consumer, Independent Power Marketer (IPM) and Municipal Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 12/13/12, concern was expressed regarding the accuracy of COP data, and whether the benefits of NPRR500 outweigh the anticipated cost. It was noted that the information requested through NPRR500 is already being generated by ERCOT but is not currently included in the Short-Term System Adequacy Report. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Improves transparency of Resource capacity available to the market but not “On”. |
|  | 2 | No negative impacts to security of the ERCOT System or operation of Resources within the ERCOT System. |
|  | 3 | As this information is already available on ERCOT systems, minimal cost and impact to ERCOT resources and systems is expected. |
|  | 4 | No negative impacts to any Market Segment. |
|  | 5 | Corrects a chronic problem in the way external markets handle information currently available in the Short-Term System Adequacy Report. |

| Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | Clayton.greer@morganstanley.com |
| Company | Morgan Stanley Capital Group, Inc. |
| Phone Number | 512-497-2986 |
| Cell Number |  |
| Market Segment | IPM |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Comments

Please note that NPRR479 also proposes revisions to Section 3.2.3.

Proposed Protocol Language Revision

3.2.3	System Adequacy Reports

(1)	ERCOT shall publish system adequacy reports to assess the adequacy of Resources and Transmission Facilities to meet the projected Demand.  ERCOT shall provide reports on a system-wide basis and by Forecast Zone, where applicable.

(2)	ERCOT shall generate and post a “Medium-Term System Adequacy Report” on the MIS Secure Area.  ERCOT shall update the report monthly using the latest aggregate Generation Resource capacity and Load Resource capacity.  The data will be provided for each week, starting with the second week, of a rolling 36-month period.  The Medium-Term System Adequacy Report will provide:

(a)	Generation Resource capacity at the time of forecasted weekly peak Demand;

(b)	Load Resource capacity at the time of the forecasted weekly peak Demand;

(c)	Weekly peak forecast Demand described in Section 3.2.2, Demand Forecasts;

(d)	Calculated system reserve, highlighting any deficiency hours, that excludes Load Resource capacity;

(e)	Calculated system reserve, highlighting any deficiency hours, that includes Load Resource capacity shown as a reduction in forecast Demand;

(f)	Ancillary Service requirements; and

(g)	Transmission constraints that have a high probability of being binding in the Security-Constrained Economic Dispatch (SCED) or Day-Ahead Market (DAM) given the forecasted system conditions for each week excluding the effects of any transmission or Resource Outages.

(3)	ERCOT shall generate and post a “Short-Term System Adequacy Report” on the MIS Public Area.  ERCOT shall update this report hourly following updates to the Seven-Day Load Forecast and on detection of a change to Resource Status that changes the availability of a Resource.  The Short-Term System Adequacy Report will provide:

(a)	For Generation Resources, the available On-Line Resource capacity for each hour, using the COP for the first seven days;

(b)	For Load Resources, the available capacity for each hour using the COP;

(c)	Forecast Demand for each hour described in Section 3.2.2;

(d)	Ancillary Service requirements for the Operating Day and subsequent days;

(e)	Transmission constraints that have a high probability of being binding in SCED or DAM given the forecasted system conditions for each week including the effects of any transmission or Resource Outages.  The binding constraints may not be updated every hour; and

(f)	For Generation Resources, the available Off-Line Resource capacity that can be started for each hour, using the COP for the first seven days.