| NPRR Number | 474 | NPRR Title | Clarification of Price Correction Principles and Associated Timelines |
| --- | --- | --- | --- |
| Timeline | Normal | Action | Recommended Approval |
| Date of Decision | December 13, 2012 |
| Proposed Effective Date | April 1, 2013 |
| Priority and Rank Assigned | Not applicable. |
| Nodal Protocol Sections Requiring Revision | 4.5.3, Communicating DAM Results 6.3, Adjustment Period and Real-Time Operations Timeline |
| Market Guide Section(s) Requiring Revision | None. |
| Revision Description | This Nodal Protocol Revision Request (NPRR) provides general principles on the types of errors for which ERCOT may perform a price correction. Additionally, the NPRR provides greater regulatory certainty around the associated timelines for price corrections, including ERCOT notice to Market Participants for a price correction request to the ERCOT Board of Directors (ERCOT Board). The general concepts contained within this NPRR were discussed at the May 11, 2012 Joint Communications and Settlements Work Group (CSWG) and Resource Cost Working Group (RCWG) meeting. Specifically, the NPRR does the following: Adds one more Business Day to the Real-Time Market (RTM) and Day-Ahead Market (DAM) price correction deadline to allow ERCOT additional time to complete price validation by the time such prices are considered final. The current timeline only gives ERCOT until 1600 on the next Business Day (seven Business Hours) to correct prices for the RTM, which is barely enough time to verify the results, identify issues, calculate new prices, get management approval, do data transfer and post the data. The timeline becomes extremely tight during the weekend, when ERCOT must validate and if needed correct prices for multiple Operating Days (Friday / Saturday/ Sunday) and until 1000 on Monday morning (two Business Hours) to correct prices for the DAM for Sunday. Adds details around the reasons that would support an ERCOT or ERCOT Board price correction when such prices in the DAM and/or in the RTM are in error. Proposes a maximum 30-day period beyond any Operating Day for which ERCOT notifies Market Participants of a need for a price correction and request to the ERCOT Board for review of such price correction. |
| Reason for Revision | The current Protocols do not provide sufficient details about the types of errors for which price corrections may be justified. Further, the current Protocols lack time certainty for ERCOT to request a price correction to the ERCOT Board once a price is deemed final. This NPRR will provide greater regulatory certainty for Market Participants on the processes and timelines for price corrections. |
| Credit Impacts | The Credit Work Group (Credit WG) has reviewed NPRR474 and believes that it has positive credit implications. |
| Procedural History | On 8/8/12, NPRR474 and an Impact Analysis were posted. On 8/16/12, WMS comments were posted. On 8/23/12, PRS considered NPRR474. On 9/17/12, XO Energy-SESCO comments were posted. On 11/8/12, WMS comments were posted. On 11/13/12, Reliant and Noble comments were posted. On 11/15/12, PRS again considered NPRR474. On 12/13/12, PRS considered the 11/15/12 PRS Report and Impact Analysis for NPRR474. |
| PRS Decision | On 8/23/12, PRS unanimously voted to table NPRR474. All Market Segments were present for the vote. On 11/15/12, PRS unanimously voted to recommend approval of NPRR474 as amended by the 11/13/12 Reliant and Noble comments and as revised by PRS. All Market Segments were present for the vote. On 12/13/12, PRS unanimously voted to endorse and forward the 11/15/12 PRS Report as revised by PRS and Impact Analysis for NPRR474 to TAC. All Market Segments were present for the vote. |
| Summary of PRS Discussion | On 8/23/12, it was noted that WMS requested that NPRR474 be tabled to allow time for RCWG to review. On 11/15/12, participants reviewed the 11/13/12 Reliant and Noble comments and discussed the need to specify that violations of Protocol intent are sufficient grounds for price corrections. ERCOT Staff expressed support for the 11/8/12 WMS comments and 11/13/12 Reliant and Noble comments. Concern was raised that the scope of NPRR474 as amended by the 11/13/12 Reliant and Noble comments is still too broad and that the price correction window is still too long at 30 days. On 12/13/12, concern was again raised that the price correction window is still too long at 30 days. |

| Business Case |
| --- |
| Business Case | 1 | Qualitative benefits Benefits Market Participants by providing more clarity and certainty regarding the price correction process and the circumstances under which a price correction shall be performed. Reduced disputes from Market Participants. |

| Sponsor |
| --- |
| Name | Resmi Surendran / Chad V. Seely |
| E-mail Address | rsurendran@ercot.com / cseely@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3033 / 512-225-0288 |
| Cell Number | 512-289-7131 (Resmi) |
| Market Segment | Not applicable |

| Market Rules Staff Contact |
| --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |
| --- |
| Comment Author | Comment Summary |
| WMS 081612 | Recommended that PRS table NPRR474 to allow time for the RCWG to review. |
| XO Energy-SESCO 091712 | Opined that the price correction provisions are not based on an objective standard; that price corrections should not be permitted for violations of Protocol “intent”; and that the price correction notification window should be shorter. |
| WMS 110812 | Endorsed NPRR474 as revised by WMS. |
| Reliant and Noble 111312 | Proposed revisions to remove the language allowing price corrections for violations of Protocol intent. |

Comments

Please note that the following NPRRs also propose revisions to the following sections:

- NPRR444, Supplemental Reliability Deployments

  - Section 6.3

- NPRR494, Load Resource Proration Report

  - Section 4.5.3

- NPRR508, Setting of Real-Time LMPs During EEA ERS/Load Resource Deployment

  - Section 6.3

Proposed Protocol Language Revision

4.5.3	Communicating DAM Results

(1)	As soon as practicable, but no later than 1330 in the Day-Ahead, ERCOT shall notify the parties to each cleared DAM transaction (e.g., the buyer and the seller) of the results of the DAM as follows:

(a)	Awarded Ancillary Service Offers, specifying Resource, MW, Ancillary Service type, and price, for each hour of the awarded offer;

(b)	Awarded energy offers from Three-Part Supply Offers and from DAM Energy-Only Offers, specifying Resource (except for DAM Energy-Only Offers), MWh, Settlement Point, and Settlement Point Price, for each hour of the awarded offer;

(c)	Awarded DAM Energy Bids, specifying MWh, Settlement Point, and Settlement Point Price for each hour of the awarded bid;

(d)	Awarded CRR Offers (PTP Options and PTP Options with Refund), specifying CRR identifier(s), number of CRRs in MW, source and sink Settlement Points, and price, for each Settlement Interval of the awarded offer; and

[NPRR322: Delete item (1)(d) above and renumber accordingly upon system implementation:]

(e)	Awarded PTP Obligation Bids, number of PTP Obligations in MW, source and sink Settlement Points, and price for each Settlement Interval of the awarded bid.

(2)	As soon as practicable, but no later than 1330, ERCOT shall post on the Market Information System (MIS) Public Area the hourly:

(a)	Day-Ahead MCPC for each type of Ancillary Service for each hour of the Operating Day;

(b)	Day-Ahead Settlement Point Prices (DASPPs) for each Settlement Point for each hour of the Operating Day;

(c)	Day-Ahead hourly LMPs for each Electrical Bus for each hour of the Operating Day;

(d)	Shadow Prices for every binding constraint for each hour of the Operating Day;

(e)	Quantity of total Ancillary Service Offers received in the DAM, in MW by Ancillary Service type for each hour of the Operating Day;

(f)	Energy bought in the DAM consisting of the following:

(i)	The total quantity of awarded DAM Energy Bids (in MWh) bought in the DAM at each Settlement Point for each hour of the Operating Day;

(ii)	The total quantity of awarded PTP Obligation Bids (in MWh) cleared in the DAM that sink at each Settlement Point for each hour of the Operating Day; and

(iii)	The total quantity of PTP Options that were declared before DAM execution by the Non-Opt-In Entity (NOIE) to be settled in Real-Time and not cleared in the DAM (in MWh) that sink at each Settlement Point for each hour of the Operating Day.

(g)	Energy sold in the DAM consisting of the following:

(i)	The total quantity of awarded DAM Energy Offers (in MWh), from Three-Part Supply Offers and DAM Energy Only Offers, bought in the DAM at each Settlement Point for each hour of the Operating Day;

(ii)	The total quantity of awarded PTP Obligation Bids (in MWh) cleared in the DAM that source at each Settlement Point for each hour of the Operating Day; and

(iii)	The total quantity of PTP Options that were declared before DAM execution by the NOIE to be settled in Real-Time and not cleared in the DAM (in MWh) that source at each Settlement Point for each hour of the Operating Day.

[NPRR322: Replace items (2)(f) and (g) above with the following upon system implementation:] (f) Energy bought in the DAM consisting of the following: (i) The total quantity of awarded DAM Energy Bids (in MWh) bought in the DAM at each Settlement Point for each hour of the Operating Day; and (ii) The total quantity of awarded PTP Obligation Bids (in MWh) cleared in the DAM that sink at each Settlement Point for each hour of the Operating Day. (g) Energy sold in the DAM consisting of the following: (i) The total quantity of awarded DAM Energy Offers (in MWh), from Three-Part Supply Offers and DAM Energy Only Offers, bought in the DAM at each Settlement Point for each hour of the Operating Day; and (ii) The total quantity of awarded PTP Obligation Bids (in MWh) cleared in the DAM that source at each Settlement Point for each hour of the Operating Day.

(h)	Aggregated Ancillary Service Offer Curve of all Ancillary Service Offers for each type of Ancillary Service for each hour of the Operating Day;

(i)	Electrically Similar Settlement Points used during the DAM clearing process; and

(j)	Settlement Points that were de-energized in the base case.

(3)	ERCOT shall monitor Day-Ahead MCPCs and Day-Ahead hourly LMPs for errors and if there are conditions that cause the price to be questionable, ERCOT shall notify all Market Participants that the DAM prices are under investigation as soon as practicable.

(4)	ERCOT shall correct prices when: (i) a market solution is determined to be invalid or (ii) invalid prices are identified in an otherwise valid market solution, unless accurate prices cannot be determined.  The following are some reasons that may cause these conditions.

(a)	Data Input error:  Missing, incomplete, or incorrect versions of one or more data elements input to the DAM application may result in an invalid market solution and/or prices.

(b)	Software error:  Pricing errors may occur due to software implementation errors in DAM pre-processing, DAM clearing process, and/or DAM post processing.

(c)	Inconsistency with these Protocols or the Public Utility Commission of Texas (PUCT) Substantive Rules:  Pricing errors may occur when specific circumstances result in prices that are in conflict with such Protocol language or the PUCT Substantive Rules.

(5)	All DAM LMPs, MCPCs, and Settlement Point Prices are final at 1000 of the second Business Day after the Operating Day.

(a)	However, after DAM LMPs, MCPCs, and Settlement Point Prices are final, if ERCOT determines that prices are in need of correction and seeks ERCOT Board review of such prices, it shall notify Market Participants and describe the need for such correction as soon as practicable but no later than 30 days after the Operating Day.  Failure to notify Market Participants within this timeline precludes the ERCOT Board from reviewing such prices.

(b)	The ERCOT Board may review and change DAM LMPs, MCPCs, or Settlement Point Prices if ERCOT gave timely notice to Market Participants and the ERCOT Board finds that such prices are significantly affected by an error.

(c)	In review of DAM LMPs, MCPCs, or Settlement Point Prices, the ERCOT Board may rely on the same reasons identified in paragraph (4) above to find that the prices are significantly affected by an error.

(6)	As soon as practicable, but no later than 1330, ERCOT shall make available the Day-Ahead Shift Factors for binding constraints in the DAM and post to the MIS Secure Area.

6.3	Adjustment Period and Real-Time Operations Timeline

(1)	The figure below highlights the major activities that occur in the Adjustment Period and Real-Time operations:

(2)	Activities for the Adjustment Period begin at 1800 in the Day-Ahead and end one full hour before the start of the Operating Hour.  The figure above is intended to be only a general guide and not controlling language, and any conflict between this figure and another section of the Protocols is controlled by the other section.

(3)	ERCOT shall monitor Real-Time Locational Marginal Prices (LMPs), Supplemental Ancillary Services Market (SASM) Market Clearing Prices for Capacity (MCPCs), and Real-Time Settlement Point Prices, including Real-Time prices for energy metered, for errors and if there are conditions that cause the price to be questionable, ERCOT shall notify all Market Participants that the Real-Time LMPs, SASM MCPCs, and Real-Time Settlement Point Prices are under investigation as soon as practicable.

(4)	ERCOT shall correct prices when: (i) a market solution is determined to be invalid, (ii) invalid prices are identified in an otherwise valid market solution, or (iii) the Base Points received by Market Participants are inconsistent with the Base Points of a valid market solution, unless accurate prices cannot be determined.  The following are some reasons that may cause these conditions.

(a)	Data Input error:  Missing, incomplete, stale, or incorrect versions of one or more data elements input to the market applications may result in an invalid market solution and/or prices.

(b)	Data Output error:  These include: (i) incorrect or incomplete data transfer, (ii) price recalculation error in post-processing, and (iii) Base Points inconsistent with prices due to the Emergency Base Point flag remaining activated even when the Security-Constrained Economic Dispatch (SCED) solution is valid.

(c)	Hardware/Software error: These include unpredicted hardware or software failures, planned market system or database outages, planned application or database upgrades, software implementation errors, and failure of the market run to complete.

(d)	Inconsistency with the Protocols or Public Utility Commission of Texas (PUCT) Substantive Rules:  Pricing errors may occur when specific circumstances result in prices that are in conflict with such Protocol language or the PUCT Substantive Rules.

(5)	If it is determined that any Real-Time Settlement Point Prices, Settlement Point LMPs, Electrical Bus LMPs, Real-Time prices for energy metered, and/or constraint Shadow Prices are erroneous, ERCOT shall correct the prices before the prices are considered final in paragraph (6) below.  Specifically:

(a)	If it is determined that correcting the Real-Time Settlement Point Prices will not affect the Base Points that were received by Qualified Scheduling Entities (QSEs), then ERCOT shall correct the prices before the prices are considered final in paragraph (6) below.

(b)	If it is determined that correcting the Real-Time Settlement Point Prices will affect the Base Points that were received by QSEs, then ERCOT shall correct the prices before the prices are considered final and settle the SCED executions as failed in accordance with Section 6.5.9.2, Failure of the SCED Process.

(c)	If the Base Points received by QSEs are inconsistent with the Real-Time Settlement Point Prices, then ERCOT shall consider those Base Points as due to manual override from the ERCOT Operator and settle the relevant Settlement Interval(s) in accordance with Section 6.6.9, Emergency Operations Settlement.

(6)	All Real-Time LMPs, Real Time Settlement Point Prices, Real-Time prices for energy metered, and SASM MCPCs are final at 1600 of the second Business Day after the Operating Day.

(a)	However, after Real-Time LMPs, Real Time Settlement Point Prices, Real-Time prices for energy metered, and SASM MCPCs are final, if ERCOT determines that prices are in need of correction and seeks ERCOT Board review of such prices, it shall notify Market Participants and describe the need for such correction as soon as practicable but no later than 30 days after the Operating Day.  Failure to notify Market Participants within this timeline precludes the ERCOT Board from reviewing such prices.

(b)	The ERCOT Board may review and change Real-Time LMPs, Real-Time Settlement Point Prices, Real-Time prices for energy metered, and SASM MCPCs if ERCOT gave timely notice to Market Participants and the ERCOT Board finds that such prices are significantly affected by an error.

(c)	In review of Real-Time LMPs, Real Time Settlement Point Prices, Real-Time prices for energy metered, and SASM MCPCs, the ERCOT Board may rely on the same reasons identified in paragraph (4) above to find that the prices are significantly affected by an error.

# Comments

Please note that NPRR494 also proposes revisions to this section.

Please note that NPRR444 and NPRR508 also propose revisions to this section.