## Slide 1: NPRR461 – BOD Update
Mandy Bauld
ERCOT
December 14, 2012
Notes: <number>

## Slide 2: NPRR461 – Update on BOD Discussion
BOD approved NPRR461 (energy storage settlement)
BOD discussion regarding effective date for NPRR461, with regard to the required system implementation
ERCOT was requested to report on the issue at the January Board meeting
TAC was asked to weigh in
Here to share information that ERCOT shared with the BOD
Notes: <number>

## Slide 3: NPRR461 – Update on BOD Discussion
  The point of discussion:
    after system implementation, resettle all Operating Days from BOD approval to system implementation according to the NPRR461 methodology
  Background:
    There is not a feasible manual implementation option due to the greater risk that it puts on settlement for all QSEs that represent Load, as well as the effort that would be required to do so.
    Given the known storage installation, it is technically feasible to utilize the updated systems to apply the NPRR461 logic in a resettlement of the Operating Days in question
Notes: <number>

## Slide 4: NPRR461 – Update on BOD Discussion
ERCOT highlighted the following items to be considered
Question of precedent – the consistent and standard practice is that when a manual solution is not an option, the language remains grey-boxed until system implementation
Audit Risk – retroactive configuration of the generation site and the EPS metering points in the settlement system will require procedural actions which are inconsistent with standard practice and result in inconsistencies between the settlement system and upstream systems
Price Availability – prices for the WSL bus would not be available on normal timelines. Data is expected to be available to calculate RTRMPRES for the known installation, but this could be an issue if there are other installations prior to implementation
Increase project cost – due to the delay of R6, which included changes to Real-Time Energy Imbalance, a resettlement back to 1/1/13 would require NPRR461 logic to be developed and tested on an additional version of the code. This cost is not included in the current IA.
Market Impact
  TDSP – ERCOT will need the meter data for resettlement. Presumably this will require the TDSP to certify the meter earlier than the system implementation.
  All QSEs with load – upon resettlement a QSE representing load could expect changes to load-based charge types. Presumably, these changes would be small.
  All QSEs and CRRAHs – expect some resettlement after True-Up, however ERCOT preference would be to reflect changes on scheduled Finals and True-Ups to the extent possible.
Notes: <number>