| PGRR Number | 023 | PGRR Title | Contingency Filing Requirements |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | October 25, 2012 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Planning Guide Section Requiring Revision |  | 6.9, Contingency Filing Requirements (new) |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) adds a requirement for Transmission Service Providers (TSPs) to submit and annually review a list of contingencies for their portion of the ERCOT System. The language ensures that the appropriate contingencies are being submitted for ERCOT and North American Electric Reliability Corporation (NERC) planning criteria. |  |  |
| Reason for Revision |  | There are currently no requirements in the Protocols or Market Guides for TSPs to submit their contingency lists. The contingency definitions are critical for planning the ERCOT System. |  |  |
| Procedural History |  | - On 10/10/12, PGRR023 was posted. - On 10/25/12, the Planning Working Group (PLWG) considered PGRR023. |  |  |
| PLWG Decision |  | On 10/25/12, the PLWG was in consensus to recommend approval of PGRR023 as revised by PLWG. |  |  |
| Summary of PLWG Discussion |  | On 10/25/12, it was noted that the schedule for updating steady-state contingencies is addressed in the Steady State Working Group Procedure Manual. The minimum requirements for developing and updating the contingencies were also discussed. |  |  |

Business Case

| Business Case | 1 | Requires TSPs to submit the appropriate contingencies for planning analysis, which should ensure reliable planning of the ERCOT System. |
| --- | --- | --- |

| Sponsor |  |
| --- | --- |
| Name | Sergio Garza on behalf of the PLWG |
| E-mail Address | Sergio.garza@lcra.org |
| Company | LCRA |
| Phone Number | (512) 578-4149 |
| Cell Number |  |
| Market Segment | Cooperative |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

6.9	Contingency Filing Requirements

Each Transmission Service Provider (TSP), or its Designated Agent, shall provide updates to the ERCOT list of steady-state contingencies corresponding to the steady-state base cases for its’ existing system and planned future Transmission Facilities.  ERCOT shall post the list to the Planning and Operations Information website.  The list shall be reviewed and updated as described in the Steady State Working Group Procedure Manual.  At a minimum, the list shall contain North American Electric Reliability Corporation (NERC) Category B, C and D contingencies as described in the Steady State Working Group Procedure Manual and contingencies representing the Forced Outage of a double circuit (two circuits on the same structures in excess of 0.5 miles in length).