## Slide 1: PDCWG Report to ROS
David Kee Chair
CPS Energy
Sydney Niemeyer Vice Chair
NRG Energy

## Slide 2: Meetings
No meeting since end of November
Next meeting Jan 24, 2013

## Slide 3: NPRR 486 (from Dec report)
PDCWG recommends to continue to table this NPRR
ERCOT system tuning is scheduled for early January with analysis and report to PDCWG by February (tentative)
PDCWG will be prepared to provide ROS its report by the March 2013 ROS meeting (tentative)

## Slide 4: NOGRR 105
PDCWG submitted NOGRR
  Add CLRs to test forms
  Corrects errors in equations and examples
Request action from ROS – approve NOGRR 105 as revised by OWG.

## Slide 5: RRS
Compliance evaluation of performance is being combined between Qualification and Testing requirements
Clearly defining and separating of the two sets of requirements should be noted as new focus

## Slide 16
December 2012 was the first month with all days below 0.020 Hz RMS1.

## Slide 23
Questions?