## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Updates | List of files and items updated in each file
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
LoadZones | Monthly peak demand and energy data for this year by load zone
WeatherZones | Monthly peak demand and energy data for this year by weather zone
EnergybyFuelType | Actual energy and percentages by fuel type
EnergybyFuelChart | Stacked chart of MWh by fuel type by month
EnergyComparisons | Bar graphs comparing this year's energy with last year's and with forecasted
DemandComparison | Graphs comparing this year's monthly peaks with last year's and with forecasted

## Disclaimer
Disclaimer
DEMAND AND ENERGY REPORT
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided through the settlement process. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS.

## Updates
File Updated | 2013-01-08
Recalculated all 2012 data to account for ERCOT Interconnection Load as defined by NERC. DC Tie exports have been removed from consideration. | 2012-09-27
3.1.1 Net Energy for Load (Adjusted Metered Load)
To fairly allocate its expenses for all statutory functions among interconnections and regional entities, NERC provides a funding mechanism based on Net Energy for Load (NEL). NEL means net generation of an electric system plus energy received from other balancing authority areas less energy delivered to other balancing authority areas through an interchange or, in ERCOT terminology, Adjusted Metered Load (AML). FERC has determined that funding based on NEL is a fair, reasonable and uncomplicated method minimizing the possibility of double-counting. NERC allocates its costs so all Load bears an equitable share of such costs based on NEL.

## Demand
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND FOR 2012
[5 empty] | Updated | 2013-01-08
NET SYSTEM MAXIMUM HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2012 Demand, MW | 46908.4905 | 42090.0469 | 42611.0462 | 48774.0356 | 58947.0194 | 66548 | 65807.6913 | 66509 | 64862.2074 | 48274.2721 | 41625.6633 | 45544.7859 | 66548
Date | 13 | 13 | 31 | 25 | 29 | 26 | 31 | 1 | 5 | 4 | 2 | 26
Hour Ending | 08:00 | 08:00 | 18:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 10:00
Day of Week | Friday | Monday | Saturday | Wednesday | Tuesday | Tuesday | Tuesday | Wednesday | Wednesday | Thursday | Friday | Wednesday
Forecasted Demand, MW | 50992 | 45113 | 41363 | 49460 | 58312 | 59690 | 60815 | 66195 | 56625 | 53227 | 38478 | 52909 | 66195
Difference, percent | -8.008% | -6.701% | 3.017% | -1.387% | 1.089% | 11.49% | 8.21% | 0.4744% | 14.55% | -9.305% | 8.18% | -13.92% | 0.5333%
2011 Demand, MW | 50598 | 57265 | 40183 | 50709.6955 | 57311 | 62944 | 65315 | 68305 | 63082 | 49359.6291 | 41379 | 50046 | 68305
Date | 12 | 10 | 25 | 19 | 31 | 15 | 27 | 3 | 2 | 7 | 28 | 7
Hour Ending | 08:00 | 08:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 08:00 | 08:00
Day of Week | Monday | Thursday | Friday | Tuesday | Tuesday | Wednesday | Wednesday | Wednesday | Friday | Friday | Monday | Wednesday
Increase, MW | -3689.5095 | -15174.9531 | 2428.0462 | -1935.6598 | 1636.0194 | 3604 | 492.6913 | -1796 | 1780.2074 | -1085.357 | 246.6633 | -4501.2141
Increase, percent | -7.292% | -26.5% | 6.042% | -3.817% | 2.855% | 5.726% | 0.7543% | -2.629% | 2.822% | -2.199% | 0.5961% | -8.994%
Max All Time | 55877.8342 | 57265 | 43033 | 51800 | 57311 | 62944 | 65315 | 68305 | 63160.6176 | 54102 | 45143 | 50100
Date | 1/8/2010 at 0800 | 2/10/2011 at 0800 | 3/4/2002 at 0800 | 4/18/2006 at 1700 | 5/31/2011 at 1700 | 6/15/2011 at 1700 | 7/27/2011 at 1700 | 8/3/2011 at 1700 | 9/2/2011 at 1700 | 10/1/2007 at 1700 | 11/30/2006 2000 | 12/7/2011 at 0800
NET SYSTEM MAXIMUM DEMAND BASED ON 15-MINUTE INTERVALS
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2012 Demand, MW | 47558.6359 | 42528.3312 | 42703 | 48866.5947 | 59169.8625 | 66577 | 65889 | 66583 | 64958.6789 | 48352.4346 | 41714.3202 | 46237.0124 | 66583
Date | 13 | 13 | 31 | 25 | 29 | 26 | 31 | 1 | 5 | 4 | 2 | 12
Interval Ending | 07:15 | 07:30 | 17:00 | 17:30 | 17:00 | 16:30 | 17:00 | 17:00 | 17:00 | 16:45 | 16:30 | 07:15
Day of Week | Friday | Monday | Saturday | Wednesday | Tuesday | Tuesday | Tuesday | Wednesday | Wednesday | Thursday | Friday | Wednesday
Max All Time | 56191 | 57971 | 43983 | 52024 | 57478 | 63044 | 65375 | 68342 | 63138 | 54204 | 45297 | 50889
Date | 1/8/2010 at 0715 | 2/10/2011 at 0715 | 3/4/2002 at 0715 | 4/17/2006 at 1615 | 5/31/2011 at 1700 | 6/17/2011 at 1700 | 7/27/2011 at 1630 | 8/3/2011 at 1700 | 9/2/2011 at 1630 | 10/1/2007 at 1645 | 11/30/2006 1900 | 12/7/2011 at 0700
NET SYSTEM MINIMUM DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2012 Demand, MW | 23873.8785 | 23146 | 23169 | 22446 | 24028 | 28047 | 29780 | 30178 | 26299.6897 | 23434.5644 | 22885.0896 | 24169.9227
Date | 17 | 27 | 6 | 22 | 13 | 1 | 15 | 19 | 17 | 31 | 23 | 2
Interval Ending | 03:00 | 03:00 | 03:30 | 05:00 | 07:00 | 04:00 | 07:00 | 05:15 | 03:30 | 03:45 | 03:45 | 05:00
Day of Week | Tuesday | Monday | Tuesday | Sunday | Sunday | Friday | Sunday | Sunday | Monday | Wednesday | Friday | Sunday

## Energy
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY FOR 2012
[5 empty] | Updated | 2013-01-08
NET ENERGY FOR LOAD
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2012 Energy, MWh | 23992776.045 | 22129674.6662 | 23132814.6346 | 24359574.9053 | 28678073.1427 | 32034147.5971 | 33837815.1594 | 35062391.2076 | 29339963.0044 | 25120315.6981 | 22265195.3494 | 24906959.2762 | 324859700.6862
2012 YTD Energy, MWh | 23992776.045 | 46122450.7112 | 69255265.3458 | 93614840.2511 | 122292913.3938 | 154327060.991 | 188164876.1504 | 223227267.358 | 252567230.3624 | 277687546.0606 | 299952741.41 | 324859700.6862
Forecasted Energy, MWh | 25957273 | 22507578 | 23801751 | 23430021 | 28724436 | 31497601 | 34415951 | 35066989 | 29540383 | 25397534 | 22121999 | 25905916 | 328367432
Difference, percent | -7.568% | -1.679% | -2.81% | 3.967% | -0.1614% | 1.703% | -1.68% | -0.01311% | -0.6785% | -1.092% | 0.6473% | -3.856% | -1.068%
YTD Forecasted Energy, MWh | 25957273 | 48464851 | 72266602 | 95696623 | 124421059 | 155918660 | 190334611 | 225401600 | 254941983 | 280339517 | 302461516 | 328367432
YTD Difference, percent | -7.568% | -4.833% | -4.167% | -2.175% | -1.71% | -1.021% | -1.14% | -0.9646% | -0.9315% | -0.946% | -0.8295% | -1.068%
2011 Energy, MWh | 25765079.0189 | 23694073.4777 | 22503787.8399 | 24521429.5433 | 27672872.6633 | 33463125.4111 | 36289538.1945 | 38211201.5805 | 29867818.1792 | 24615398.5328 | 22228559.6409 | 25052273.9101 | 333885157.9921
Increase, MWh | -1772302.9739 | -1564398.8115 | 629026.7947 | -161854.638 | 1005200.4795 | -1428977.8139 | -2451723.035 | -3148810.3729 | -527855.1747 | 504917.1654 | 36635.7085 | -145314.6339 | -9025457.3058
Increase, percent | -6.879% | -6.602% | 2.795% | -0.6601% | 3.632% | -4.27% | -6.756% | -8.241% | -1.767% | 2.051% | 0.1648% | -0.58% | -2.703%
2011 YTD Energy, MWh | 25765079.0189 | 49459152.4966 | 71962940.3365 | 96484369.8798 | 124157242.5431 | 157620367.9541 | 193909906.1486 | 232121107.7291 | 261988925.9083 | 286604324.441 | 308832884.082 | 333885157.9921
YTD Increase, MWh | -1772302.9739 | -3336701.7854 | -2707674.9907 | -2869529.6287 | -1864329.1492 | -3293306.9632 | -5745029.9982 | -8893840.3711 | -9421695.5458 | -8916778.3805 | -8880142.6719 | -9025457.3058
YTD Increase, percent | -6.879% | -6.746% | -3.763% | -2.974% | -1.502% | -2.089% | -2.963% | -3.832% | -3.596% | -3.111% | -2.875% | -2.703%
NET SYSTEM LOAD FACTORS BASED ON HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2012 | 68.75% | 75.54% | 72.97% | 69.37% | 65.39% | 66.86% | 69.11% | 70.86% | 62.83% | 69.94% | 74.29% | 73.5% | 55.73%
2011 | 68.44% | 61.57% | 75.27% | 67.16% | 64.9% | 73.84% | 74.68% | 75.19% | 65.76% | 67.03% | 74.61% | 67.28% | 55.8%
NET SYSTEM LOAD FACTORS BASED ON 15-MINUTE DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2012 | 67.81% | 77.43% | 72.81% | 69.23% | 65.14% | 66.83% | 69.03% | 70.78% | 62.73% | 69.83% | 71.74% | 72.4% | 55.7%

## LoadZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY LOAD SETTLEMENT ZONE FOR 2012
[5 empty] | Updated | 2013-01-08
BASED ON 15-MINUTE INTERVALS
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 1732.6283 | 1641.5641 | 1781.5847 | 2031.114 | 2365.3621 | 2704.5303 | 2537.8019 | 2546.3252 | 2538.0062 | 2039.7551 | 1688.4437 | 1725.1955
LZ_CPS | 3249.074 | 2968.7416 | 3258.9421 | 3839.4004 | 4355.2964 | 4913.3587 | 4714.0852 | 4698.5334 | 4541.753 | 3872.8006 | 2991.5982 | 3301.5579
LZ_HOUSTON | 11585.6674 | 9725.5451 | 11885.0768 | 12759.5303 | 15996.4877 | 17016.6086 | 16762.0075 | 17034.7421 | 17123.2058 | 13543.2228 | 11764.7124 | 10485.3107
LZ_LCRA | 2923.0437 | 2492.7368 | 2325.7348 | 2557.8951 | 3064.5355 | 3609.0782 | 3441.9868 | 3450.4394 | 3399.1458 | 2643.8688 | 2092.1199 | 3026.525
LZ_NORTH | 18693.607 | 17660.6627 | 14882.2568 | 17963.5998 | 22428.6384 | 26103.3614 | 26489.4097 | 26855.623 | 25430.1831 | 17117.5822 | 14970.1971 | 18819.9291
LZ_RAYBN | 623.3517 | 480.1357 | 342.2808 | 338.5672 | 337.0846 | 694.0884 | 740.1166 | 728.2955 | 641.7873 | 336.6227 | 358.6753 | 604.6164
LZ_SOUTH | 5463.1885 | 4255.8168 | 5071.5384 | 5564.5096 | 6612.2388 | 7251.7911 | 6857.5309 | 6859.9107 | 6962.6969 | 5881.3626 | 4942.6544 | 4900.221
LZ_WEST | 3288.0753 | 3303.1283 | 3156.0278 | 3811.9086 | 4010.1141 | 4284.3766 | 4346.4078 | 4408.9186 | 4321.9007 | 2917.2198 | 2905.9191 | 3373.6567
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 1732.6283 | 1647.8297 | 1781.5847 | 2037.6404 | 2365.3621 | 2712.2973 | 2540.1019 | 2614.3628 | 2544.1531 | 2044.324 | 1731.1759 | 1725.1955
Date and time | 13 @ 07:15 | 13 @ 07:30 | 31 @ 17:00 | 25 @ 18:00 | 29 @ 17:00 | 26 @ 17:00 | 31 @ 18:00 | 13 @ 17:00 | 6 @ 17:00 | 4 @ 17:00 | 5 @ 15:45 | 12 @ 07:15
LZ_CPS | 3249.074 | 3106.6259 | 3267.6555 | 3845.5594 | 4358.5604 | 4922.619 | 4731.1174 | 4817.2095 | 4635.6674 | 3872.8006 | 3147.6106 | 3303.657
Date and time | 13 @ 07:15 | 12 @ 19:00 | 31 @ 17:30 | 25 @ 17:45 | 29 @ 17:30 | 26 @ 16:45 | 31 @ 18:00 | 10 @ 16:00 | 4 @ 18:00 | 4 @ 16:45 | 5 @ 15:30 | 12 @ 07:00
LZ_HOUSTON | 11903.0136 | 10253.1776 | 12267.9364 | 13095.2789 | 16004.7369 | 17584.5546 | 16769.4169 | 17363.0085 | 17137.2331 | 13932.5785 | 11922.7162 | 11130.951
Date and time | 12 @ 08:15 | 12 @ 19:15 | 26 @ 17:00 | 26 @ 16:00 | 29 @ 16:45 | 26 @ 15:15 | 30 @ 16:00 | 10 @ 16:30 | 5 @ 16:45 | 5 @ 16:15 | 1 @ 16:45 | 3 @ 18:00
LZ_LCRA | 2923.0437 | 2882.9034 | 2364.7529 | 2604.4788 | 3076.7779 | 3635.6222 | 3494.7505 | 3619.5368 | 3512.878 | 2643.8688 | 2307.3151 | 3026.525
Date and time | 13 @ 07:15 | 12 @ 08:45 | 9 @ 19:00 | 25 @ 18:00 | 29 @ 17:45 | 27 @ 17:00 | 31 @ 18:00 | 10 @ 16:00 | 7 @ 17:30 | 4 @ 16:45 | 28 @ 07:15 | 12 @ 07:15
LZ_NORTH | 18693.607 | 17685.5559 | 15036.6681 | 17974.7621 | 22428.6384 | 26103.3614 | 26489.4097 | 26858.0171 | 25563.0941 | 17206.8308 | 15507.7262 | 19030.2087
Date and time | 13 @ 07:15 | 13 @ 07:30 | 31 @ 17:45 | 25 @ 18:00 | 29 @ 17:00 | 26 @ 16:30 | 31 @ 17:00 | 1 @ 16:45 | 7 @ 16:30 | 5 @ 15:45 | 28 @ 07:15 | 26 @ 09:00
LZ_RAYBN | 641.9164 | 511.1359 | 450.6889 | 409.6664 | 530.2721 | 707.4076 | 753.3931 | 742.6983 | 645.1456 | 543.2297 | 499.8963 | 647.7395
Date and time | 3 @ 07:00 | 6 @ 07:15 | 3 @ 07:45 | 28 @ 17:30 | 25 @ 18:15 | 26 @ 18:00 | 29 @ 17:30 | 3 @ 18:00 | 5 @ 17:30 | 21 @ 17:30 | 28 @ 07:00 | 29 @ 08:00
LZ_SOUTH | 5463.1885 | 4626.8494 | 5080.9855 | 5766.3705 | 6614.5498 | 7251.7911 | 6864.4247 | 6962.3857 | 6972.0983 | 5908.8535 | 5062.8387 | 4900.221
Date and time | 13 @ 07:15 | 12 @ 20:00 | 31 @ 16:45 | 5 @ 17:00 | 29 @ 16:45 | 26 @ 16:30 | 31 @ 16:45 | 10 @ 16:30 | 5 @ 16:30 | 4 @ 16:30 | 5 @ 15:45 | 12 @ 07:15
LZ_WEST | 3323.5111 | 3303.1283 | 3164.866 | 3811.9086 | 4010.1141 | 4303.3645 | 4359.0736 | 4418.0721 | 4327.0874 | 3384.5881 | 3017.2343 | 3435.7314
Date and time | 18 @ 07:15 | 13 @ 07:15 | 31 @ 18:00 | 25 @ 17:30 | 29 @ 17:00 | 27 @ 16:30 | 31 @ 16:30 | 1 @ 16:30 | 5 @ 16:45 | 23 @ 17:00 | 28 @ 07:15 | 11 @ 07:30
NET ENERGY FOR LOAD, MWh
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
LZ_AEN | 940227.4222 | 886900.4673 | 956915.412 | 1020607.0337 | 1174964.7928 | 1309860.21 | 1344450.9731 | 1404733.68 | 1169244.6341 | 1021661.8072 | 902589.1474 | 967060.9502 | 13099216.53
LZ_CPS | 1569110.7972 | 1491156.3219 | 1572590.9845 | 1727539.3911 | 2005658.0408 | 2316291.2906 | 2385213.0659 | 2547386.2314 | 2053035.4365 | 1777348.8791 | 1515352.2495 | 1656167.1584 | 22616849.8467
LZ_HOUSTON | 6246975.0399 | 5719384.0922 | 6370486.2121 | 6794601.8781 | 7932527.038 | 8677594.8 | 8778894.7393 | 9522691.6222 | 8127181.3438 | 7011736.761 | 6000122.7145 | 6478281.0094 | 87660477.2505
LZ_LCRA | 1243745.1513 | 1138075.5859 | 1126886.2717 | 1191102.2227 | 1402044.1234 | 1636579.5057 | 1695857.0177 | 1802600.6671 | 1461007.1717 | 1258095.1013 | 1130259.7954 | 1332285.6297 | 16418538.2436
LZ_NORTH | 9217151.923 | 8416020.7324 | 8350219.7517 | 8631448.6773 | 10535698.1125 | 11899116.4697 | 13191916.9459 | 13141413.9337 | 10848447.8455 | 8934709.0969 | 8178490.5676 | 9447868.5681 | 120792502.6243
LZ_RAYBN | 252284.5638 | 218505.6918 | 186272.8052 | 179405.4146 | 215585.8903 | 287690.8754 | 327524.9881 | 332381.3719 | 246756.7011 | 209663.1083 | 199902.0812 | 248837.3845 | 2904810.8763
LZ_SOUTH | 2517442.5625 | 2408608.0235 | 2663895.412 | 2895207.1811 | 3263473.4017 | 3626574.8426 | 3694287.2795 | 3852598.2824 | 3334856.4642 | 2974225.5043 | 2502821.834 | 2706309.7067 | 36440300.4946
LZ_WEST | 2005838.5852 | 1851023.7512 | 1905547.7853 | 1919663.1067 | 2148121.7432 | 2280439.6032 | 2419670.15 | 2458585.419 | 2099433.4075 | 1932875.44 | 1835656.9598 | 2070148.8693 | 24927004.8203
Totals may not match the ERCOT values because of rounding.

## WeatherZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY WEATHER ZONE FOR 2012
[5 empty] | Updated | 2013-01-08
Based on 15-Minute Intervals
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 12360.1513 | 10330.834 | 12468.5926 | 13397.7291 | 16825.8932 | 17950.1413 | 17619.9465 | 17894.3247 | 18000.9365 | 14293.174 | 12458.4154 | 11185.3942
East | 1945.9809 | 1628.5319 | 1447.3611 | 1741.5452 | 2140.9848 | 2435.8285 | 2321.9425 | 2341.1478 | 2320.6556 | 1790.7254 | 1510.5131 | 1818.1792
Far West | 1654.6826 | 1645.2671 | 1589.4185 | 1935.6921 | 1984.6944 | 2085.2938 | 2091.5718 | 2124.6231 | 2168.4169 | 1521.2709 | 1535.7321 | 1716.7085
North Central | 17075.7781 | 16240.4908 | 13586.4206 | 16296.0137 | 20312.7014 | 23935.6572 | 24470.4462 | 24784.7514 | 23309.2353 | 15412.1984 | 13595.692 | 17328.5737
North | 1059.6406 | 1038.0322 | 865.5085 | 1077.7469 | 1234.6206 | 1426.7267 | 1507.4621 | 1545.5669 | 1430.5217 | 860.1292 | 844.723 | 1081.9971
South Central | 8056.1242 | 7276.1316 | 7611.2817 | 8720.1145 | 10133.315 | 11652.3631 | 11078.8594 | 11077.8918 | 10870.6987 | 8858.5444 | 7022.2197 | 8210.9223
South | 4018.053 | 3020.8037 | 3855.8683 | 4176.3804 | 4895.7674 | 5261.9127 | 4989.3969 | 4995.576 | 5090.9235 | 4394.4059 | 3667.5806 | 3501.005
West | 1388.2252 | 1348.24 | 1278.9908 | 1521.3031 | 1641.7808 | 1829.27 | 1809.721 | 1818.9063 | 1767.2907 | 1221.9864 | 1079.4444 | 1394.2324
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 12518.9244 | 10916.296 | 12880.0302 | 13736.384 | 16831.9425 | 18516.8379 | 17633.0141 | 18266.1649 | 18026.5862 | 14681.4039 | 12622.9546 | 11744.167
Date and time | 12 @ 08:15 | 12 @ 19:15 | 26 @ 17:00 | 26 @ 16:00 | 29 @ 16:45 | 26 @ 15:15 | 30 @ 16:00 | 10 @ 16:30 | 4 @ 16:00 | 12 @ 16:30 | 1 @ 16:45 | 3 @ 18:00
East | 1945.9809 | 1731.0306 | 1541.597 | 1770.8408 | 2140.9848 | 2452.1321 | 2403.4984 | 2477.9729 | 2421.5587 | 1815.7258 | 1596.5686 | 1818.1792
Date and time | 13 @ 07:15 | 12 @ 08:30 | 31 @ 18:15 | 26 @ 17:45 | 29 @ 17:00 | 26 @ 16:15 | 30 @ 16:30 | 14 @ 15:15 | 6 @ 16:00 | 5 @ 16:30 | 15 @ 07:00 | 12 @ 07:15
Far West | 1690.6481 | 1691.1931 | 1641.8491 | 1935.6921 | 1986.4985 | 2102.0412 | 2098.2007 | 2154.0431 | 2172.1439 | 1704.6185 | 1590.4238 | 1750.069
Date and time | 9 @ 18:45 | 12 @ 19:00 | 8 @ 19:15 | 25 @ 17:30 | 29 @ 16:45 | 27 @ 17:00 | 31 @ 16:30 | 2 @ 17:00 | 5 @ 16:45 | 23 @ 17:00 | 27 @ 07:30 | 21 @ 07:30
North Central | 17075.7781 | 16240.4908 | 13671.7051 | 16336.5443 | 20312.7014 | 23935.6572 | 24470.4462 | 24784.7514 | 23390.8682 | 15549.1996 | 14238.1626 | 17471.3984
Date and time | 13 @ 07:15 | 13 @ 07:15 | 31 @ 17:45 | 26 @ 16:45 | 29 @ 17:00 | 26 @ 16:30 | 31 @ 17:00 | 1 @ 17:00 | 7 @ 16:30 | 21 @ 17:00 | 28 @ 07:15 | 11 @ 07:15
North | 1093.5171 | 1063.3941 | 891.3032 | 1077.7469 | 1235.864 | 1426.7267 | 1509.2301 | 1553.0038 | 1437.2068 | 980.7032 | 932.2459 | 1125.9464
Date and time | 18 @ 07:00 | 11 @ 09:45 | 9 @ 07:15 | 25 @ 17:30 | 29 @ 16:45 | 26 @ 16:30 | 31 @ 16:30 | 1 @ 16:15 | 4 @ 16:30 | 21 @ 17:30 | 13 @ 07:15 | 11 @ 07:15
South Central | 8056.1242 | 7572.0115 | 7649.8967 | 8774.5083 | 10140.8988 | 11678.0711 | 11158.3696 | 11377.717 | 11055.3459 | 8858.5444 | 7239.2344 | 8210.9223
Date and time | 13 @ 07:15 | 12 @ 19:15 | 31 @ 17:30 | 25 @ 18:00 | 29 @ 17:45 | 26 @ 17:00 | 31 @ 18:00 | 10 @ 15:00 | 6 @ 18:00 | 4 @ 16:45 | 5 @ 15:30 | 12 @ 07:15
South | 4018.053 | 3313.6727 | 3864.6512 | 4474.3659 | 4903.1056 | 5261.9127 | 5001.883 | 5129.835 | 5104.1378 | 4445.6366 | 3778.8049 | 3607.3724
Date and time | 13 @ 07:15 | 12 @ 20:00 | 31 @ 16:45 | 5 @ 16:45 | 29 @ 16:45 | 26 @ 16:30 | 31 @ 16:30 | 29 @ 16:30 | 5 @ 15:45 | 17 @ 16:45 | 5 @ 15:00 | 4 @ 18:30
West | 1388.2252 | 1370.5201 | 1282.0082 | 1521.3031 | 1641.7808 | 1834.5225 | 1815.4186 | 1819.8538 | 1768.8292 | 1345.1282 | 1160.3945 | 1403.056
Date and time | 13 @ 07:15 | 12 @ 19:15 | 31 @ 17:30 | 25 @ 17:30 | 29 @ 17:00 | 27 @ 16:45 | 31 @ 16:45 | 7 @ 16:45 | 5 @ 16:45 | 23 @ 17:00 | 28 @ 07:15 | 11 @ 07:15
NET ZONE ENERGY, MWh
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Coastal | 6609735.5995 | 6059262.3172 | 6727017.4441 | 7179778.8285 | 8361281.7275 | 9168718.3859 | 9263586.9602 | 10020534.6441 | 8566302.3543 | 7416917.1891 | 6376890.2375 | 6865252.8579 | 92615278.5457
East | 892581.28 | 839580.401 | 855644.484 | 880120.3159 | 1027850.0809 | 1142819.621 | 1190589.1978 | 1253868.3657 | 1066470.4805 | 903628.7702 | 829781.5705 | 901128.0913 | 11784062.6589
Far West | 1044480.5188 | 967776.3875 | 1008637.7376 | 1018894.5335 | 1110909.6499 | 1176461.8221 | 1218002.3921 | 1266461.8975 | 1098409.7262 | 1022014.7693 | 1002284.6727 | 1098731.861 | 13033065.9682
North Central | 8433637.7486 | 7656678.7779 | 7559349.6429 | 7813058.1537 | 9575803.5751 | 10866840.437 | 12109497.0875 | 12011236.4269 | 9849663.2087 | 8099285.4859 | 7421297.539 | 8649696.9234 | 110046045.0066
North | 574971.4152 | 533565.4347 | 518340.6683 | 510965.9446 | 619243.693 | 686094.281 | 778878.8643 | 756985.4545 | 635305.1191 | 539926.354 | 510321.045 | 598107.0859 | 7262705.3597
South Central | 3861214.681 | 3620809.9184 | 3778047.6294 | 4078335.1969 | 4760678.6115 | 5450699.1454 | 5611747.1308 | 5956954.9597 | 4851651.8589 | 4190398.7934 | 3659253.2815 | 4067890.3492 | 53887681.556
South | 1828361.9318 | 1774865.3467 | 2006335.6009 | 2179221.685 | 2428150.3664 | 2667899.8568 | 2727167.3656 | 2847562.5794 | 2487203.1302 | 2232217.2559 | 1826660.4938 | 1976259.3988 | 26981905.0114
West | 747792.87 | 677136.0828 | 679441.4273 | 699200.2473 | 794155.4385 | 874614.048 | 938346.1611 | 948786.8799 | 784957.1265 | 715927.0804 | 638706.5095 | 749892.7088 | 9248956.5799
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## EnergybyFuelType
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY BY FUEL TYPE FOR 2012
[5 empty] | Updated | 2013-01-08
ENERGY BY FUEL TYPE, MWh
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Natural Gas | 10170076.1792 | 9568994.1369 | 10326702.094 | 12636642.639 | 13530992.682 | 15351573.227 | 16606568.077 | 17748663.628 | 12909064.972 | 9597673.927 | 7866003.0691 | 8688810.7163 | 145001765.3475
Coal | 7999726.274 | 7439474.215 | 7056485.297 | 5927113.1314 | 8499509.458 | 10395770.69 | 11411475.9 | 11541655.35 | 10653958.24 | 10217003.41 | 9402200.607 | 9202923.247 | 109747295.8194
Nuclear | 2820732.994 | 2635313.699 | 2768790.743 | 2807386.2268 | 3802528.931 | 3654339.86 | 3760741.154 | 3756244.785 | 3617977.124 | 2673506.064 | 2297240.87 | 3846056.936 | 38440859.3868
Wind | 2781231.879 | 2351288.021 | 3049535.912 | 2711540.1822 | 2607523.252 | 2369518.059 | 1975349.968 | 1748972.895 | 2046417.31 | 2563121.066 | 2553110.907 | 3045752.006 | 29803361.4572
Water | 43293.1543 | 38986.4992 | 52059.7591 | 67946.8675 | 54179.2688 | 29086.5663 | 24713.5258 | 37654.3672 | 37036.7056 | 23331.0742 | 19890.0888 | 28101.8158 | 456279.6926
Net DC/BLT | 128334.2558 | 55085.5381 | -166678.1705 | 161556.421 | 115264.735 | 116878.4862 | -30765.7381 | 86695.3335 | 19032.0344 | -21751.8119 | 76761.6394 | 49042.2262 | 589454.9492
Other | 49381.3087 | 40532.557 | 45919 | 47389.4373 | 68074.816 | 116980.7086 | 89732.2728 | 142504.849 | 56476.6184 | 67431.9717 | 49988 | 46272.3285 | 820683.8679
Total | 23992776.045 | 22129674.6662 | 23132814.6346 | 24359574.9053 | 28678073.1427 | 32034147.5971 | 33837815.1594 | 35062391.2076 | 29339963.0044 | 25120315.701 | 22265195.1813 | 24906959.2759 | 324859700.5207
ENERGY BY FUEL TYPE, PERCENT
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Natural Gas | 42.39% | 43.24% | 44.64% | 51.88% | 47.18% | 47.92% | 49.08% | 50.62% | 44% | 38.21% | 35.33% | 34.89% | 44.64%
Coal | 33.34% | 33.62% | 30.5% | 24.33% | 29.64% | 32.45% | 33.72% | 32.92% | 36.31% | 40.67% | 42.23% | 36.95% | 33.78%
Nuclear | 11.76% | 11.91% | 11.97% | 11.52% | 13.26% | 11.41% | 11.11% | 10.71% | 12.33% | 10.64% | 10.32% | 15.44% | 11.83%
Wind | 11.59% | 10.63% | 13.18% | 11.13% | 9.092% | 7.397% | 5.838% | 4.988% | 6.975% | 10.2% | 11.47% | 12.23% | 9.174%
Water | 0.1804% | 0.1762% | 0.225% | 0.2789% | 0.1889% | 0.0908% | 0.07304% | 0.1074% | 0.1262% | 0.09288% | 0.08933% | 0.1128% | 0.1405%
Net DC/BLT | 0.5349% | 0.2489% | -0.7205% | 0.6632% | 0.4019% | 0.3649% | -0.09092% | 0.2473% | 0.06487% | -0.08659% | 0.3448% | 0.1969% | 0.1814%
Other | 0.2058% | 0.1832% | 0.1985% | 0.1945% | 0.2374% | 0.3652% | 0.2652% | 0.4064% | 0.1925% | 0.2684% | 0.2245% | 0.1858% | 0.2526%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
These values are based on initial settlements and will not be updated with subsequent settlements.
"Other" includes petroleum coke, landfill gas, biomass solids, biomas gases, and any unknown fuel.

## EnergybyFuelChart
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Natural Gas | 10170.0762 | 9568.9941 | 10326.7021 | 12636.6426 | 13530.9927 | 15351.5732 | 16606.5681 | 17748.6636 | 12909.065 | 9597.6739 | 7866.0031 | 8688.8107
Coal | 7999.7263 | 7439.4742 | 7056.4853 | 5927.1131 | 8499.5095 | 10395.7707 | 11411.4759 | 11541.6554 | 10653.9582 | 10217.0034 | 9402.2006 | 9202.9232
Nuclear | 2820.733 | 2635.3137 | 2768.7907 | 2807.3862 | 3802.5289 | 3654.3399 | 3760.7412 | 3756.2448 | 3617.9771 | 2673.5061 | 2297.2409 | 3846.0569
Wind | 2781.2319 | 2351.288 | 3049.5359 | 2711.5402 | 2607.5233 | 2369.5181 | 1975.35 | 1748.9729 | 2046.4173 | 2563.1211 | 2553.1109 | 3045.752
Water | 43.2932 | 38.9865 | 52.0598 | 67.9469 | 54.1793 | 29.0866 | 24.7135 | 37.6544 | 37.0367 | 23.3311 | 19.8901 | 28.1018
DC Imports | 128.3343 | 55.0855 | -166.6782 | 161.5564 | 115.2647 | 116.8785 | -30.7657 | 86.6953 | 19.032 | -21.7518 | 76.7616 | 49.0422
Other | 49.3813 | 40.5326 | 45.919 | 47.3894 | 68.0748 | 116.9807 | 89.7323 | 142.5048 | 56.4766 | 67.432 | 49.988 | 46.2723
Diesel | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## EnergyComparisons
Energy, MWh
|  |  | Current | Previous | Prev, GWh |  | Previous source
|  | Jan | 23992.776 | 26072476.3698 | 25765.079 |  | 25765079.0189
|  | Feb | 22129.6747 | 23737721.6958 | 23694.0735 |  | 23694073.4777
|  | Mar | 23132.8146 | 22028910.172 | 22503.7878 |  | 22503787.8399
|  | Apr | 24359.5749 | 21502948.6826 | 24521.4295 |  | 24521429.5433
|  | May | 28678.0731 | 27221819.2111 | 27672.8727 |  | 27672872.6633
|  | Jun | 32034.1476 | 31781587.449 | 33463.1254 |  | 33463125.4111
|  | Jul | 33837.8152 | 32397557.5854 | 36289.5382 |  | 36289538.1945
|  | Aug | 35062.3912 | 35774778.982 | 38211.2016 |  | 38211201.5805
|  | Sep | 29339.963 | 28844061.793 | 29867.8182 |  | 29867818.1792
|  | Oct | 25120.3157 | 23933083.247 | 24615.3985 |  | 24615398.5328
|  | Nov | 22265.1953 | 21753399.2658 | 22228.5596 |  | 22228559.6409
|  | Dec | 24906.9593 | 24049056 | 25052.2739 |  | 25052273.9101
ytd | ytd |  | Energy, MWh
Actual | Forecast |  | Actual | Forecast |  | Difference from Actual
23992.776 | 25957.273 | Jan | 23992.776 | 25957.273 |  | 8.188% |  | 25957273
46122.4507 | 48464.851 | Feb | 22129.6747 | 22507.578 |  | 1.708% |  | 22507578
69255.2653 | 72266.602 | Mar | 23132.8146 | 23801.751 |  | 2.892% |  | 23801751
93614.8403 | 95696.623 | Apr | 24359.5749 | 23430.021 |  | -3.816% |  | 23430021
122292.9134 | 124421.059 | May | 28678.0731 | 28724.436 |  | 0.1617% |  | 28724436
154327.061 | 155918.66 | Jun | 32034.1476 | 31497.601 |  | -1.675% |  | 31497601
188164.8762 | 190334.611 | Jul | 33837.8152 | 34415.951 |  | 1.709% |  | 34415951
223227.2674 | 225401.6 | Aug | 35062.3912 | 35066.989 |  | 0.01311% |  | 35066989
252567.2304 | 254941.983 | Sep | 29339.963 | 29540.383 |  | 0.6831% |  | 29540383
277687.5461 | 280339.517 | Oct | 25120.3157 | 25397.534 |  | 1.104% |  | 25397534
299952.7414 | 302461.516 | Nov | 22265.1953 | 22121.999 |  | -0.6431% |  | 22121999
324859.7007 | 328367.432 | Dec | 24906.9593 | 25905.916 |  | 4.011% |  | 25905916
0
0
|  | EIA-411 forecast made in March 2004 |  | 0
0
YTD Actual 235,718,421 MWh
YTD Forecast 242,752,402 MWh
Difference -2.9%

## DemandComparisons
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Current | 46908.4905 | 42090.0469 | 42611.0462 | 48774.0356 | 58947.0194 | 66548 | 65807.6913 | 66509 | 64862.2074 | 48274.2721 | 41625.6633 | 45544.7859
Previous | 50598 | 57265 | 40183 | 50709.6955 | 57311 | 62944 | 65315 | 68305 | 63082 | 49359.6291 | 41379 | 50046
Forecast | 50992 | 45113 | 41363 | 49460 | 58312 | 59690 | 60815 | 66195 | 56625 | 53227 | 38478 | 52909