Like Day: (Look at UBP to see if definition) Actual reads Weekday is day for day, Holiday for Holiday, Weekend day for either Sat or Sun

|  | Questions regarding LSE files | AEP | CNP | Oncor | TNMP | Notes/Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | What is the process for Missing interval data (is the interval provided as zero or estimated?) | Estimated | Estimated | Estimated | Estimated |  |
|  | -- is missing usage shaped according to recent history? Are "like days" considered (week days vs weekends)? CNP – yes, like days are used | See Estimation Process Matrix below In Question 10. Q: Will intervals that are estimated with 0’s ever be replaced in the LSE file? This will follow the same process as replacing any type of estimated intervals as described in question 10 | Methods: The MIM (Missing Interval Monitor) Process will automatically make 5 attempts over 5 calendar days to check for actual data and retrieve the missing data. Manual estimation will be necessary if systematic estimation is not successful. If actual data becomes available greater than 5 calendar days after the consumption date a proactive inquiry is necessary to see if the meter has actual data available. Note: "0" is a valid interval value if there is an associated power outage or de-energized event/flag. (look back at CNP original response) | - What is the estimation process? What data is used to perform the estimation? For Residential, estimated interval reads are shaped, based on ERCOT load profiles. For Commercial, estimated interval reads are shaped based on the most recent 3 like days of historical usage (actuals or estimates) available for the premise. | - What is the estimation process? What data is used to perform the estimation? TNMP: The 2 week Like day historical estimation process replaces intervals needing estimation with data from "like-days" from the designated reference week and Like-Day set. For example, if the data needing estimation is Tuesday data, and Tuesday of the preceding week is considered a Like-Day, then the corresponding intervals from Tuesday of the preceding week are used in the estimation. If there is data for both weeks the most recent week’s data will be used. | See “California Historical Estimation” document from TNMP for more details. |
| 2 | Are any validations performed around Zero interval data? | No | Yes | No | No |  |
|  |  |  | -- validation is performed as it relates to power outages - What triggers this validation? i.e. is it run on all zero intervals or must certain other criteria be met? Each 0 read is checked to see if a reason exists to expect a 0. If no such reason exists, then an investigation is initiated. Followup: - Is this an automated process? - How is this validation performed? This is an automated process. The system looks to see if there is a Power Outage or De-energized Premise Flag on the premise to see if the 0 read is valid. If a flag is not present then an investigation will be necessary to determine why there is no usage registering. | Note: Oncor performs data analysis checks for Zero consumption after disconnects or MVOs on ESIIDs and initiates additional review where deemed appropriate The day after DNP performed a validation is done to make sure the register read is the same as when the DNP occurred to determine if tampering/diversion has taken place. |  |  |
| 3 | Under what circumstances do you estimate Interval Data? | Missing intervals for an active premise | Missing intervals for an active premise An estimate will also be rendered for an interval during which a time change (clock adjustment) occurred. | Missing intervals for an active premise or data fails VEE | Missing intervals for an active premise or data fails VEE |  |
| 4 | Is a Register Read always provided? | Yes. | No -- Missing register read will be left null | Yes. Oncor’s defines a Register Read as any “5-dial” read of the meter odometer. For example, the start and stop reads on an 867_03 are “register reads”. A “midnight read” is simply a Register Read that is taken at midnight. | Yes |  |
| 5 | If provided, under what circumstances do you estimate Register Reads? | When Register Read not received | When midnight register read not received There is a limit of two consecutive estimated midnight register reads | When Register Read not received or fails VEE. | When Register Read not received |  |
|  |  |  | . | If the collection process successfully passes all the daily interval values, the MDM will calculate a missed Register read using the"96 good" interval values. Estimated register reads are also provided when a cancel rebill occured. The rebill register reads are used to manually calculate the interval adjustments. |  |  |
| 6 | Do you provide Zero values for interval data? (Y/N) If so, what circumstances? | Yes Note: Zero is a valid value for both estimates and actuals | Yes Note: Zero is a valid value for both estimates and actuals | Yes Note: Zero is a valid value for both estimates and actuals | Yes Note: Zero is a valid value for both estimates and actuals |  |
| 7 | Do you provide Null values for Interval Data (Y/N) If so, what circumstances? | No as this is not acceptable in the intervals and would be rejected at ERCOT. | No as this is not acceptable in the intervals and would be rejected at ERCOT. | No as this is not acceptable in the intervals and would be rejected at ERCOT. | No as this is not acceptable in the intervals and would be rejected at ERCOT. |  |
| 8 | Do you provide Null values for Register Reads (Y/N) If so, what circumstances? | No | Yes, when the register reading is unavailable due to things such as communication failure. If the register read is not provided it will not be replaced at a later time. | No | No |  |
| 9 | What triggers the estimation process. | Any time there is a missing interval or register reads | Any time there is missing interval values or does not pass the VEE process. Do not estimate register reads. | Missing register read or interval values or the data does not pass VEE | Missing register read or interval(s) do not pass VEE |  |
|  | Please explain the estimation process --method(s) | Interval Gap Fill: Uses interpolation when the gap is 2 hours or less and averaging method when the gap is greater than 2 hours for intervals missing within a day. In the case of averaging method, like days are used. Partial Cut Estimated Process: - Daily interval cut received, that contains less than expected 96 intervals; missing interval(s) include the first expected interval – e.g. starting interval. - Daily interval cut received that contains less than expected 96 intervals; missing interval(s) include the last expected interval value - e.g. ending interval. Full Cut Estimation – used when all intervals are missing for a day --If register read is available, current day consumption distributed evenly over day’s 96 intervals. --If does not have the register read or any intervals for the current day, the intervals from yesterday are used to estimate the usage. AEP Texas’ process will look back for up to seven days for data to fulfill the logic for this process. --If does not have the register read for the current day or intervals from previous 7 days, the current day’s intervals are filled with estimated zeros. | See Uniformed Business Practices (UBP) procedures ** See note below | Register reads are estimated by using available historical data to determine the day’s consumption. Current day consumption distributed per the load shape over day’s 96 intervals See Answer in question 1. Also See note *** | 1. Linear Interpolation – used for intervals totaling 1 hr or less 2. 'California historical' – used for intervals totaling more than 1 hr. This process uses like day averaging to produce estimates. This uses the data from like days during the three weeks prior.. 3. If (1) and (2) are unsuccessful, then '2 week like day historical' estimation process is used, as described below. The 2 week Like day historical estimation process replaces intervals needing estimation with data from "like-days" from the designated reference week and Like-Day set. For example, if the data needing estimation is Tuesday data, and Tuesday of the preceding week is considered a Like-Day, then the corresponding intervals from Tuesday of the preceding week are used in the estimation. If the previous week is not available, the data from two weeks prior is used |  |
| 10 | If you receive an actual for an interval that was previously estimated do you always replace the estimate? | Only in the scenarios below: - AEP does not have a process that interrogates the meter for missing data that has not been previously sent. - Actual data will replace previously estimated data only if it had failed in MDM because of the following reasons: - System issues - Failed validation process - These are typically processed within 3 business days. - Upon REP request, another attempt to collect actual interval data will be made if data is not greater than 45 days old and the meter is communicating. - REPs should utilize MarkeTrak to alert AEP of the missing data after the third consecutive day of missing estimated data | Yes Except in the case of stopped (tampered or damaged) meter since these were estimated because the meter was not allowed to register the actual usage. | Upon request by the REP Oncor plans to eventually automate a process to check for missing actuals and send to SMT and ERCOT. | Yes, if actual reads are received within 70 days the estimate will be replaced with the actual read. |  |
| 11 | What is the timeline for replacing Estimated usage with Actual usage? TX SET will need to work on this question and make sure what it is really asking and make sure the answers all apply to the same question. | 1-2 business days - Is the 1-2 BD timeline in effect only after a REP (per case 2) has requested the Estimated usage be replaced by Actual? Yes, once the REP initiates the “3-day” MT process and AEP is able to locate and re-process the data, then the Actual usage will replace the Estimated usage within 1-2 business days. | Up to 6 business days (5 automated re-attempts to collect actuals, 24 hours apart) Actuals obtained through an on-demand read (when/if one occurs) will also replace an estimate -What determines when the Automated vs. Manual process will be used? --upon request | Dependent on the workload of the MarkeTrak team. | Upon receipt of actual data. |  |
| 12 | After what time period do you stop looking for actuals? | No automated process | 7 calendar days | N/A | 70 days because the meters only retain 70 days of data. |  |
| 13 | Do you validate that the intervals add up to equal the register read? | No | Yes | Yes | Yes |  |
|  |  | - Is there no SUM check? AEP plans to add the SUM check functionality in the future (see Q15). |  |  |  |  |
| 14 | What is the validation process? | N/A | industry standards for Validation, Estimation and Editing (VEE) | UBP guidelines | UBP guidlines |  |
|  | How often is the validation performed? | N/A | varies -- each time data passes through the cleaner | once -- during the preparation of each LSE file | once -- as data is imported to MDMS |  |
| 15 | What is the allowed variance between the sum of the interval data and the register read? 12/6/2012Link for the Uniform Business Practices (UBP) for Unbundled Electric Metering http://www.naesb.org/req/req_form.asp Then select the document and go to the appendix listed in TNMP’s column | N/A - Are there future plans to validate between sum and the register reads? - Yes, there are future plans to validate between the Sum and the register reads. Followup: - Will AEP use the 2 multipliers the other TDSPs are using? 12/6/2012 yes | 2 times the meter multipliers | 2 times the meter multipliers The 2 multiplier variance applies to both IDR and AMS and is an industry standard used for many years. Reasoning is based on the fact that interval reads are never rounded up. I.e. An interval read of 20.01 and 20.99 would both appear as “20”. | 2 times the meter multipliers TNMP: 2 Meter multipliers is used based on the UBP Unbundled Electric Metering Appendix 5 Interval Data VEE rules, Section 1.4.3 Perform sum Check Pass/Fail criteria on NAESB website. Variances are caused due to rounding. |  |
| 16 | Anytime usage is updated how will that be reflected in the LSE file? | Date stamp upon replacement -- will a new LSE be posted? Yes, a new LSE files will be posted with the create date and time stamp of the LSE file. | Date and time stamp upon replacement; new LSE will be posted | Date stamp upon replacement | Flagging update of actual data with “actual” TNMP: use of actual or estimated flag is used based on the RMG Appendix G: ERCOT Specified File Format for Submission of Interval Data for Advanced Metering Systems. Followup: - Will a new LSE file be posted? If so, will the LSE file come with a new date and time stamp? | --are all TDUs following same process (MARS TF)? - Which MARSTF documentation? |
| 17 | What reading do you use to complete a Switch? | Register read for effective date of switch Referring to Notes/Comment question: Midnight read is synonymous with Register Read. Switch example: the RR on 8/1 is used. “On demand” read is used for self-selected switch; RR is used for Standard switch (or estimated if no RR) Followup: - Why is an on-demand read used for a self-selected switch? Why not use the Register Read? 12/6/2012 AEP to review and give update | - Midnight read when available | - Midnight reads (going into the day) when available, otherwise on-demand read | - Midnight read TNMP: Switches always occur at the prior midnight to the day the switch effectuates. The CR takes possesion of the ESI ID at 00:00:01 on 9/1 in your example. The 867_03 should not be mis-aligned because the LSE files are obtained daily and contain data from 00:00:01 to 23:59:59. | Midnight read = register read? - And, for which day's midnight? (example: if the switch occurred at 9am on 8/2, is the RR on 8/1 used or is the RR on 8/2 used?) - why is the 'on demand' read not used? - How might this result in mis-alignment with the 867_03? |
| 18 | What reading do you use to complete a straight MVI? | On-demand read at time of completion | On-demand read at time of completion | Midnight reads (going into the day) when available, otherwise on-demand read | Read at the time of the MVI (when energized) Beginning 11/1/12 - will use midnight read |  |
| 19 | What reading do you use to complete a MVI Force Off? | Same read that is used for the forcing MVI | Midnight read when available | Midnight reads (going into the day) when available, otherwise on-demand read | Same read that is used for the forcing MVI Beginning 11/1/12 - will use midnight read |  |
| 20 | What reading do you use to complete a MVO? | On-demand read at time of completion | On-demand read at time of completion | Midnight reads (going into the day) when available, otherwise on-demand read | On-demand read at time of completion |  |
| 21 | Explain smoothing as it pertains to your entity. for reference: Tariff Section 4.8.1.4 – “When an Actual Meter Reading is taken after two or more consecutive months of estimation, Company shall allocate any over or under-estimated usage over the entire estimation period. The allocation shall be based on the average daily consumption for the Retail Customer for the period between Actual Meter Reads.” | per Tariff Section 4.8.1.4 – | per Tariff Section 4.8.1.4 – CNP's smoothing of usage only applies to the Monthly Usage 867_03 transaction and not the LSE files. Note: CNP will look within our MDM system to verify if actual readings are available before invoking this smoothing process to the 867_03 usage transactions. - Please explain/expand the process described in the "Note" -CNP performs a manual query to determine if any actuals are available in the MDM | Smoothing applies to traditional meter estimation processes where a manual daily average is calculated when an assumed quantity of energy is deemed to have occurred and an adjustment is made in the cancel / rebill process. | Interval data is not smoothed at this time. |  |

|  | General Questions | AEP | CNP | Oncor | TNMP | Notes/Comments |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Under what circumstances is an 867 cancel/rebilled due to changes in AMS data (such as receiving an actual for a previous estimate)? | None | None | None | None |  |
| 2 | How does Tampering impact the 867 vs LSE? | LSE will not be updated Followup: - Any plans to follow CNP and Oncor processes? We would like to understand how CNP and Oncor are handling this. And how is this different than other scenarios that generate cancel/rebills? | Both LSE and 867 will be updated | LSE data may be recalculated following a cancel/rebill of an 867 --Does the impacted LSE file with the recalculated interval values get re-posted? Usage that is re-billed via 867_03 is then put into LSE files and sent first to ERCOT and then the REP. Any files rejected by ERCOT are not posted to the REP’s ftp folder. | LSE will not be updated Followup: - Any plans to follow CNP and Oncor processes? |  |
| 3 |  |  |  |  |  |  |
| 4 | How are Inadvertent Gains handled in regards to the LSE files? | Daily REP of Record update to SMT will reflect ROR changes from IAGs | 12/6/2012 LSE files are always sent to the CR of Record. LSE files will be resent where restatements are required due to the Inadvertent Gain. See AMIT Issue 024 - OWG 115 Impacts of an Inadvertent Gain (IAG) on Interval Data (attached) where CNP's process has already been documented | Oncor does not provide LSE data after a production day(s) transmission as a result of an IAG event closure. | LSE files are always sent to the CR of Record. LSE files will be resent where restatements are required due to the Inadvertent Gain. |  |
| 5 | Under what scenarios is a REP of Record Update sent to SMT, for each TDU? Any differences for MVI, MVO, Switch? Or is the timing the same? | 12/6/2012 Any REP of record change initiated by a TX SET transaction. 12/6/2012 It is dependent upon when the 86703Final/86704Initial is processed which triggers a REP of Record change file to be sent to SMT. | 12/6/2012 Any REP of record change initiated by a TX SET transaction. 12/6/2012 It is dependent upon when the 86703Final/86704Initial is processed which triggers a REP of Record change file to be sent to SMT. Any gap days are provided as an LSE file when the 867 process is complete | 12/6/2012 Any REP of record change initiated by a TX SET transaction. 12/6/2012 It is dependent upon when the 86703Final/86704Initial is processed which triggers a REP of Record change file to be sent to SMT. | 12/6/2012 Any REP of record change initiated by a TX SET transaction. 12/6/2012 It is dependent upon when the 86703Final/86704Initial is processed which triggers a REP of Record change file to be sent to SMT. |  |

**Note

CenterPoint Energy’s estimation routine for AMS 15 minute interval data:

Systemic:

If section of data needing estimation is 2 hours or less in length, point-to-point linear interpolation is used to estimate the data.

Can be either:

- Single interval to be estimated:  Estimated value used = ((interval value immediately preceding + interval value immediately following) / 2)

- Greater than 1 interval/less than 8 intervals bound by register reads:  [Difference of the register reads (Ending Register – beginning register) less the sum of the actual intervals] divided by # of missing intervals.

If section of data needing estimation is greater than 2 hours, the first successful pattern found will be used.

[Limitation of 60 day look back; Residential attempts 2 days than 1 before moving onto the next pattern; Commercial attempts 3 days than 2 then 1 before moving onto the next pattern.]

- Average usage pattern of ‘X’ same weekdays all actual data (defined as the same day of week)

- Average usage pattern of ‘X’ like days all actual data (defined as the same day type)

- Average usage pattern of ‘X’ same weekdays allow estimate values (defined as the same day of week)

- Average usage pattern of ‘X’ like days allow estimate values (defined as the same day type)

If none are successful, the systems will exception the missing data for manual remediation.

If the missing gap is bound by two actual register reads, the difference of the registered usage will be applied to the missing intervals with the allocation based on the pattern identified.

If the missing gap is not bound by actual register reads, the pattern values will be used.

Manual:

Will be addressed by use of one of the following:

- Manual estimation using actual historical data (greater than 60 days)

- Manual estimation using estimated historical data (greater than 60 days)

- Manual estimation using actual historical data from a nearby address

- Manual estimation for special conditions (usually for external request)

- Manual scaled with register

***Note

If 1) TDU Misses intervals early in the day: I have the a thru d ordered slightly different than on the board.  This might be worded better but it’s still better than the hop-scotch matrix we had – I think.

And:

a) TDU collects  Actual Start Read and Actual Stop Read –

What does the TDU do for the Register Read?  Oncor would have NO change to Actual Reads

What does TDU do for the intervals values?  Oncor will estimate the consumption in the intervals utilizing the total consumption for the day from Register reads.

b) TDU collects Actual start read but  missed the Stop Read

What does the TDU do for the Register Read?  Oncor will estimate the Stop Read and that sets the kWh for the day

What does TDU do for the intervals values?  Oncor will use the kWh for the day and shape the interval values according to the ERCOT load profiles for Residential and Like day average shape for Non-residential.

C) TDU Misses the Start read but Collects the Actual Stop Read

What does the TDU do for the Register Read(s)?  Missed Start Read would be estimated at the conclusion of the prior day’s consumption.  The Start Read (yesterday’s stop read) may be adjusted today once the End of Day Read today is collected.

What does the TDU do for the interval values?  The missing interval values will be estimated based on the Register reads at the end of today’s production.  Shaping the interval values will be done according to ERCOT load shapes for Residential and Commercial ESIIDs will be shaped based on the ESIID’s 3 like days prior.

The prior Day’s LSE data will be recalculated for any previous Register read estimated and the interval values reset to the adjusted consumption.  The re-estimation only occurs after a later day gets an actual Register read that passes validations.  That later production day LSE data will contain current consumption and each prior day that had estimates.  The recalculated values will be resent along with today’s LSE data.

d) Miss start  - Miss Stop Read

What does the TDU do for the Register Read? Oncor Estimates the Stop Register read for the day and uses previously estimated register start read which was the prior day’s “stop read”.  The total consumption for the day is estimated kWh.

What does TDU do for the intervals values? Oncor will uses the estimated kWh and Shape the interval values as described above.

2) Miss intervals in the middle of the day: a)– d) – This will be the same as the scenarios above for Oncor

3) Miss intervals at end of day: a)– d)  Same as the scenarios above for Oncor.

4) Miss all data for the day:    Oncor will estimate the Register Reads and the Interval Values will be shaped as described earlier