| NPRR Number | 504 | NPRR Title | Removal of Language Related to LPGRR049 |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | January 17, 2013 |  |  |
| Proposed Effective Date |  | April 1, 2013 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Section Requiring Revision |  | 18.4.2, Load Profile ID Assignment |  |  |
| Load Profiling Guide Sections Requiring Revision |  | 11.2, Annual Validation of Load Profile Type Appendix D, Profile Decision Tree |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) requires Electric Service Identifiers (ESI IDs) with provisioned Advanced Meters to be included in the Annual Validation of the Load Profile Segment process. |  |  |
| Reason for Revision |  | Allows for Advanced Meters to be part of Annual Validation of the Load Profile ID. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR504 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 11/27/12, NPRR504 was posted. - On 12/13/12, PRS considered NPRR504. - On 1/11/13, an Impact Analysis was posted. - On 1/17/13, PRS considered the 12/13/12 PRS Report and Impact Analysis for NPRR504. |  |  |
| PRS Decision |  | On 12/13/12, PRS unanimously voted to recommend approval of NPRR504 as revised by PRS. All Market Segments were present for the vote. On 1/17/13, PRS unanimously voted to endorse and forward the 12/13/12 PRS Report and the Impact Analysis for NPRR504 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 12/13/12, PRS proposed revisions to the Revision Description to clarify the intent of NPRR504. On 1/17/12, it was stated that although NPRR504 has a budgetary impact due to costs for additional storage, it will be tracked under the ERCOT budget and would not require a project. |  |  |

Business Case

| Business Case | 1 | - Allows for Advanced Meters to be part of Annual Validation of the Load Profile ID. |
| --- | --- | --- |
|  | 2 | - Improves the accuracy of Load Profile Type codes, which are presently used by Market Participants and whose use shall be expanded into the ERCOT total Load forecasting functions by ERCOT Staff. |

| Sponsor |  |
| --- | --- |
| Name | Ernie Podraza on behalf of the Profiling Working Group (PWG) |
| E-mail Address | ernest.podraza@directenergy.com |
| Company | Direct Energy |
| Phone Number | 713-877-3517 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

18.4.2	Load Profile ID Assignment

(1)	ERCOT and the appropriate Technical Advisory Committee (TAC) subcommittee shall review the Load Profile ID assignment process on an annual basis, make recommendations for enhancements, and evaluate the integration of the validation and assignment processes.

(2)	Any Market Participant may request temporary changes to the yearly process for assigning and validating Load Profile IDs to address unusual circumstances.  Such requests shall be submitted to the appropriate TAC subcommittee.  If the request is approved by the TAC subcommittee, it shall then be submitted to the TAC.  Change requests as a result of an extreme event such as a hurricane or ice storm may be submitted directly to TAC.  Such requests, if approved by the TAC, shall be in effect only for the requested year.

(3)	Should there be any change in Load Profile ID assignment to any ESI ID, it will be the responsibility of the Transmission Service Provider (TSP) and/or Distribution Service Provider (DSP) to submit those changes to ERCOT.