- Section 3:

PGRR018 – Clarify the Prerequisites for Adding a New Generation Resource to the Planning Models (formerly “Clarify the Prerequisites for Adding a New Generation Resource to the Planning Models and Capacity Demand and Reserves Report”)

This Planning Guide Revision Request (PGRR) clarifies that ERCOT will add proposed Generation Resources to the planning models only after the Interconnecting Entity (IE) has first: (a) notified ERCOT that it has given the Transmission Service Provider (TSP) a financial commitment sufficient to fund the interconnection facilities and notice to proceed with the construction of the interconnection; (b) notified ERCOT that it has obtained all requisite air permits from the Texas Commission on Environmental Quality (TCEQ); and (c) demonstrated that it has obtained the rights to sufficient water to operate the facility.  This PGRR also requires the IE to submit all data necessary for including the proposed Generation Resource in the planning models.

- Revised Subsection:  3.1.4.2

- Section 5:

PGRR018 – Clarify the Prerequisites for Adding a New Generation Resource to the Planning Models (formerly “Clarify the Prerequisites for Adding a New Generation Resource to the Planning Models and Capacity Demand and Reserves Report”)

See Section 3 above.

- Revised Subsections:  5.3.2, 5.5.1, 5.5.4 (new)

- Section 6:

PGRR018 – Clarify the Prerequisites for Adding a New Generation Resource to the Planning Models (formerly “Clarify the Prerequisites for Adding a New Generation Resource to the Planning Models and Capacity Demand and Reserves Report”)

See Section 3 above.

- Revised Subsections:  6.1, 6.3, 6.9 (new)