Operations Working Group Meeting

Wednesday, 12/19/12
Austin - MET Center
In Attendance:
Rick Keetch – NRG Energy

Robert Bailey – NRG

Tip Tipton - Brazos

Kevin Morley – CNP

Robert Avila – BPUB

Walter Reid – Wind Coalition

Frank Owens - CTT
Jerry Willms - LST

Patrick Trevino – CPS

Brenda Hampton – Luminant

Shirley Mathew – Texas RE

John Warren – LCRA

Nick Henery - FERC

Yvette Landin – ERCOT (RC)
Jimmy Hartmann – ERCOT (RC)
Vijay Betanabhatla – ERCOT (RC)

Leo Villanueva – ERCOT (RC)

Dial-In Attendees:

Kris Koellner – LCRA 

Ross Owen – Oncor (TO)
Steven Moss – Brazos

Liz Zones – Oncor (TO)
Sandra Tindall –ERCOT
Isabel Flores - ERCOT

1. Antitrust Admonition – Meeting opened at 9:30 with a review of the Antitrust Admonition by Frank Owens.
2. ROS Meeting –
No updates
3. November OWG Meeting Notes - Notes approved.
4. NOGRR Reviews

a. 101NOGRR Market Transparency for DC Tie Outage Information
This NOGRR provides that ERCOT shall produce a detailed report regarding any outage of a Direct Current Tie (DC Tie) in a timely manner.  Outages of interconnection points between the ERCOT and non-ERCOT Control Areas have market implications on both the ERCOT market and the interconnected market.  
NOGR language was approved and sent to PRS. This table is tabled at PRS for ERCOT comments
b. 104NOGRR Removal of Transmission Operator Definition from the Nodal Operating Guide
This NOGRR proposes deleting the definition of Transmission Operator from the Nodal Operating Guides.
Tabled till January as the NPRRs associated with the NOGR is tabled at PRS. The submitter has withdrawn this NOGRR.

c. 106NOGRR Delegation of Firm Load Shedding Responsibility
This NOGRR clarifies that a Distribution Service Provider (DSP) may make an agreement with another Entity that delegates the responsibility for managing both automatic and Energy Emergency Alert (EEA) firm Load shed.  
Tabled till January as the NPRRs associated with the NOGR is tabled at PRS

d. 105NOGRRGeneration Resource Frequency Response Test Procedure, submitted by the Performance Disturbance Compliance Working Group
 This NOGRR adds a Governor Test form for Controllable Load Resources and proposes minor corrections to calculations.  (PDCWG) Language review and ERCOT comments

ERCOT IA – $30-40 K and will take about 3-5 months for completion
Minor changes made to the language (the term Combustion turbine changed to Generation resource in a number of places)

Isabel from ERCOT suggested some edits about online/offline testing of the units

OWG endorsed the IA and forwarded to ROS with a recommended priority of 2013 and rank of 840
e. 107NOGRR Disturbance Monitoring Requirements Clarification 

This NOGRR clarifies disturbance monitoring requirements.
Kris from LCRA made some edits (clarifications)

OWG approves the comments 

Send to ERCOT for IA

f. 108NOGRR QSE and TSP Hotline Responsibilities
This NOGRR adds the requirement for Qualified Scheduling Entities (QSEs) and Transmission Operators (TOs) to have a touchtone keypad on their Hotline phone.

OWG approves the comments 

Send to ERCOT for IA

5. Monthly Operations Report
Vijay reviewed the report, no comments or questions were received.
6. Operations Task Force Report

No Updates
7. Seminar Task Force Report

Frank gave a short update on behalf of Alan, NERC originally confirmed they would support all sessions for their presentation on the SW Blackout event and recently backed out and will only support the dry-run.  Texas RE will present for NERC; sessions 1-6.  The dry-run was re-scheduled for 1/28 to 1/31.  I am currently receiving the presentations and expect to have them all by the end of December.
8. Texas RE Update Report 
Shirley Mathew was in attendance from Texas RE and inquired about the suggestions from the San Diego event about SPS interactions. ERCOT responded that some changes have been made to the procedure while developing MPs/TOAPs. During the development of the MP/TOAP, ERCOT checks with the TO whether the plan will impact any relay operations. 
The group then discussed EEA/OCN language clarifications and Emergency Notice language in sections of OG. Jimmy stated Colleen sponsored NPRR480 to remove the issue raised in Section 6.5.9.1 Emergency and Short Supply Operation.  He said that NPRR480 was approved by the board in December. The group decided to review the previous work on EEA/OCN language and discuss it again in January. 

9. System Operations Report
No new procedures. 
The Substation break-ins and cooper theft notifications sent to the System Security Response Group members was discussed.   A TO thought that it was too much information and that only suspected sabotage should be reported.  The group discussed and decided that this was valuable information and that they want to continue to receive this information from ERCOT.

10. Other
Nick Henery from FERC addressed the group. He was very appreciative of the work done at OWG and ERCOT. He said he will follow the meetings closely and participate in the meetings if he sees any agenda items that interest him. He said he will be looking for inputs while making new standards.

Nominess for 2013 OWG Leadership and Vote


Frank Owens was elected for chair


John Warren was elected for vice chair
11. Future Meeting Date

Tuesday, January 15th, 2013 joint meeting with NDSWG to work on ROS directive. Location ERCOT Taylor facility. 1pm – 3:30pm.

Monday, January 28th, 2013 meeting prior to dry-run Operations Training Seminar. 8am – 12noon
Meeting Adjourned at 12:00.      Notes compiled by Vijay Betanabhatla
