PDCWG Issues list 2013

Summary: This document will serve to capture open items for PDCWG meetings.  Given the complex nature of the topics discussed, there is not ample time to fully vet an issue in a single meeting.  Meetings will be limited to two topics based on priority.  Priority will be based on the consensus of the PDCWG members.  Items will be submitted to the PDCWG chair for inclusion in this list.

- HSL/basepoint/generation deviation – under consideration

- Responsive Reserve requirements. (10min vs 16 second) – under consideration

  - NOGRR096 – potential to reserve less than expected min PFR capacity on generation (Sandip is reviewing)

- Formal (& documented) review/report of frequency responsiveness for Power Augmentation on Combined Cycle Resources (train not individual unit)

  - Requirements (what data is needed to analyze?).  What is needed from PDCWG/ROS/TAC/Board to finalize this issue?

- Standardized/consistent metrics for PFR analysis (BAL001-TRE). adopt the proposed Regional Standard methodology for PFR analysis? (add to protocols?).

- Standardized/reasonable expectations for extreme events (2750MW or larger lost)

- Sydney working with TRE on realistic measurement of combined cycles

- Increasing/Improving frequency response on the grid?  How much does ERCOT need?  New AS? Pay for Performance?  No performance required for nonpayment.

- Review regulation deployment effectiveness.

- Deliver EILS/ERS document & think about biocytes, emissions, voltage control requirements and PFR requirements.

- Request that TRE quarterly PFR report be posted to POI

- Correct the JOUs to allow view of whole unit.

- Dynamic model validation

- Pilot of fast frequency response – characterize & create evaluation process.

- PDC requests to participate in the pilot process to assist in vetting new processes and ensuring they are realistic.  Generator segment should advise board representatives of this.

- Pilot program impacts discussion.

- FRRS review