## Slide 1: 2013 Ancillary Services Methodology Update
Technical Advisory Committee Meeting
February 7 2013

## Slide 2: Proposed Changes
Remove Non-Spin Load Forecast Bias
  The NSRS Load Forecast Bias was implemented in Zonal due to the lack of an hour-ahead commitment tool (RPRS)
  With the addition of HRUC, ERCOT is now able to wait until closer to the Operating Hour to issue commitments, which provides QSEs the latitude to self-commit Resources in lieu of receiving an HRUC instruction
Consider Net-Load Error from all Intermittent Renewable Resources
  With the planned continued addition of non-wind IRRs, ERCOT believes it is necessary to incorporate the error that these technologies introduce into our analyses
  Continue to use the results of the 2007 GE study

## Slide 3: Timeline
Proposed changes presented to:
  QMWG on December 4 and January 8
  WMS on January 9 – Discussion Tabled
  ROS on January 10 – Discussion Tabled
Road Map
  Board Approval in March to meet the annual review requirement in the Nodal Protocols
  Seek WMS and ROS endorsement in February; TAC endorsement in March

## Slide 4: Stakeholder Forum Discussion and Concerns
Resource Adequacy
  Months where the load forecast bias has a large impact on the NSRS requirement may result in less NSRS being procured. Is this the proper direction the market should take with Resource Adequacy in mind?
How many more RUC commitments would ERCOT have issued if the bias had been removed in 2012?
  Unable to back cast the impact removing the bias would have on ERCOT-instructed or QSE self-commitment decisions
    Could impact the number of RUC commitments in either direction
  NPRR416 allows QSEs to self-commit in lieu of receiving a RUC commitment – implementation planned as part of R4 (07/29-08/02)
Lumping all IRR technologies together using the GE study is an incorrect assumption
  ERCOT is has removed the references to the GE study, and will bring that back to WMS and ROS this month

## Slide 5: ERCOT Comments
ERCOT’s proposal was intended to capture the following:
  Removing the Non-Spin Load Forecast Bias as ERCOT now has an HRUC tool which did not exist in Zonal
  Including net-load error from all IRR types to accommodate new renewable technologies into the analyses
ERCOT is comfortable pursuing a “no-change” re-affirmation of the current AS Methodology if that is what the stakeholder committees endorse
  ERCOT would still suggest administrative changes to the document, including updated Board approved and Effective dates